------------------------------------------------------------------------ 

   Draft - ISO/lEC Guide 25 (Published end August 1996) 

   

   GENERAL REQUIREMENTS FOR THE COMPETENCE OF TESTING 

   AND CALIBRATION LABORATORIES

   

   Contents

   

   Introduction

   

   Section 1: General

   

   1.1  Scope

   1.2  References

   1.3  Definitions

   

   Section 2: Management system requirements

   

   2.1  Quality management system

   2.2  Organization and management

   2.3  Document and information control 

   2.4  Request, tender and contract review

   2.5  Subcontracting of tests and calibrations 

   2.6  Procurement of services and supplies

   2.7  Service to and feedback from customers 

   2.8  Control of nonconforming work

   2.9  Corrective action

   2.10 Preventive action

   2.11 Records

   2.12 Internal audits

   2.13 Management reviews

   

   Section 3: Technical requirements

   

   3.1  Personnel

   3.2  Accommodation and environmental conditions 

   3.3  Test and calibration methods

   3.4  Equipment

   3.5  Measurement traceability

   3.6  Sampling

   3.7  Handling of test and calibration items

   3.8  Assuring the quality of test and calibration results 

   3.9  Reporting the results

   3.10 Records

   

   Annex 1: Cross-references between ISO/IEC Guide 25 and ISO 9001/2 (not yet 

   included)

   Annex 2: Guidance for establishing specific requirements for laboratory 

   competence

   Annex 3: Bibliography

   �

   Introduction

   Since ISO/IEC Guide 25 was last revised in 1990 the use of quality Systems in 

   laboratories has greatly increased. Many countries have adopted the 1990 

   edition as a national standard, thus forming the basis both for establishing 

   quality systems in laboratories and for recognizing their competence e.g. by 

   accreditation. In recent years there were many developments in the field of 

   quality assurance that it was felt necessary to revise ISOI/EC Guide 25 to 

   reflect these changes.

   

   This Guide should provide a mechanism for promoting confidence in testing and 

   calibration laboratories that can show that they operate in accordance with 

   its requirements.

   

   Acceptance of testing and calibration results between countries will 

   facilitate the removal of non-tariff barriers to trade.

   

   The use of this Guide will facilitate cooperation between laboratories and 

   other bodies to assist in the exchange of information and experience, and in 

   the harmonization of standards and procedures.

   

   

   SECTION 1: GENERAL

   

   

   1.1  Scope

   

   1.1.1 This Guide sets out the general requirements a laboratory, has to meet 

   if it is to be recognized as competent to carry out tests and/or 

   calibrations, including sampling. The Guide covers testing and calibration 

   that is performed using methods that have been published, methods that a 

   laboratory may use that are not covered by standard specifications and new 

   methods that it has developed.

   

   This Guide is applicable to all organizations performing tests and/or 

   calibrations. These include for example first party, second party and third 

   party laboratories, and laboratories where testing and/or calibration forms 

   part of inspection and certification.

   

   1.1.2        This Guide is applicable to all laboratories regardless of the 

   number of personnel or the extent of the scope of testing and/or calibration 

   activities.

   

   It is recognized that some of the requirements of this Guide may not apply to 

   all types of laboratory. Each laboratory must comply with all those 

   requirements that enable it to demonstrate its competence.

   

   1.1.3        The notes given provide clarification of the text, examples and 

   guidance and do not form an integral part of the Guide.

   

   1.1.4 Organizations granting recognition of laboratories will find it 

   necessary to amplify or interpret certain requirements in this Guide to 

   ensure that the requirements are applied in a consistent manner. Guidance 

   for amplifying or interpreting requirements is given in Annex 2.

   

   1.1.5 This Guide is for use by laboratories in developing their quality, 

   administrative and technical systems that govern their operations. It is 

   also for use by laboratory clients, regulatory authorities and accreditation 

   bodies involved in confirming or recogn izing the competence of 

   laboratories.�

   

   Notes

   1 If a laboratory wishes accreditation for part or all of its testing and 

   calibration activities it should select an accreditation body that operates 

   in accordance with ISO/IEC Guide 58

   2 When laboratories seek accreditation from a body operating in accordance 

   with ISO/fEC Guide

   58 the accreditation granted can only be for their competence to perform 

   testing and/or calibration

   services and can not include the competence of the laboratory to offer 

   professional judgements,

   opinions or interpretations based on the results obtained.

   

   1.1.6 Laboratories that comply with the requirements of this Guide comply 

   with the requirements of ISO 9001 or ISO 9002 for the scope of the testing 

   and/or calibration services covered by their quality management system. 

   Annex 1 gives cross-references between this Guide and 150 9001 and ISO 9002.

   

   1.1.7 The requirements in this Guide are set out in two sections: a section 

   specifying management system requirements and a section specifying technical 

   requirements. A laboratory has to comply with the requirements in both of 

   these sections if the quality management system it operates is to be complete 

   and effective and if the laboratory is to be able to provide assurance of its 

   competence and of the quality of its tests and/or calibrations.

   

   Notes

   It is the responsibility of the laboratory to carry out its testing and 

   calibration activities in such a way as to meet the requirements of this 

   Guide and to satisfy the needs of the client or an organization providing 

   recognition.

   

   1.1.8        It is the responsibility of the laboratory to comply with the 

   relevant regulatory health and safety requirements. These requirements, 

   however, are outside the scope of this Guide.

   

   1.2 References

   

   ISO/IEC Guide 2: 1996, General terms and their definitions concerning 

   standardization and related activities.

   ISO/IEC Guide 43: 1984, Development and operation of laboratory proficiency 

   testing.

   

   ISO/IEC Guide 58:1993, Calibration and testing laboratory accreditation 

   systems - General requirements for operation and recognition.

   

   International vocabulary of basic and general terms in metrology (VIM): 1993, 

   issued by BIPM, IEC, IFCC, ISO, IUPAC, IUPAP and OIML.

   

   Guide to the expression of uncertainty in measurement: 1993, issued by BIPM, 

   [EC, IFCC, ISO, IUPAC, IUPAP and OIML (revised in 1995).

   For further reading on related topics see annex 3.

   

   1.3 Definitions

   

   The relevant definitions from ISO/IEC Guide 2, and the International 

   vocabulary of basic and general terms in metrology (VlM) are applicable.�

   

   Note

   ISO 8402 sets out the general definitions related to quality whereas ISO/fEC 

   Guide 2 sets out the definition specifically related to laboratories, 

   standardization and accreditation. Where different definitions are given in 

   these publications the definition in ISO/IEC Guide 2 and the VIM are 

   preferred.

   

   1.3.1 Best measurement capability: the smallest uncertainty of measurement a 

   calibration laboratory can achieve for a stated calibration or type of 

   calibration under specified laboratory conditions.

   Note

   In determining the best measurement capability it is assumed that the 

   calibrated instrument behaves ideally.

   

   1.3.2        Verification: Confirmation by examination and provision of 

   objective evidence that specified requirements have been fulfilled (IS0 8402, 

   without the notes).

   

   Notes

   1 In connection with the management of measuring equipment, verification 

   provides a means of checking that the deviations between values indicated by 

   a measuring instrument and corresponding known values are consistently 

   smaller than the limits of permissible error defined in a standard, 

   regulation or specification relevant to the management of the measuring 

   equipment.

   2 In connection with measurement traceability, the meaning of the terms 

   "verification"  and  "verified " is that of a simplified calibration, giving 

   evidence that specified metrological requirements including the compliance 

   with given limits of error are met.

   

   1.3.3        Professional judgement: the ability of a single person or a team 

   to draw conclusions, give opinions and make interpretations based on 

   measurement results, knowledge, experience, literature and other sources of 

   information.

   

   Note

   Professional judgement does not cover evaluation, determination or assurance 

   of conformity, which are contained in the ISO/IEC Guides for certification 

   and inspection.

   

   SECTION 2: MANAGEMENT SYSTEM REQUIREMENTS

   

   2.1 Quality management system

   

   2.1.1 The laboratory shall establish, implement and maintain a quality 

   management system appropriate to the scope of its activities including the 

   type, range and volume of testing and/or calibration activities it 

   undertakes. The laboratory shall document all of its policies, systems, 

   programmes, procedures, instructions and findings, to the extent necessary 

   to enable the laboratory to assure the quality of the test and/or 

   calibration results it generates. Documentation used in this quality 

   management system shall be communicated to, understood by, available to and 

   implemented by the appropriate personnel.

   

   2.1.2 The laboratory shall identify the policies and objectives to be 

   achieved by implementing the quality management system. The laboratory 

   management shall ensure that these policies and objectives are documented in 

   a quality manual. The objectives shall be commonly set out in a quality 

   policy statement in the quality manual assuring that the required degree of 

   performance is obtained and maintained.�

   

    The quality policy statement shall be issued under the authority of the 

   chief executive. It should preferably be a concise statement an d shall 

   include the following:

   a) a statement of the laboratory's intentions with respect to the standard of 

   service it will provide;

   

   Note

   Such a statement may include that tests and/or calibrations shall always be 

   carried out in accordance with stated standard specifications and clients 

   requirements.

   

   b) the purpose of the quality management system;

   

   c)   a requirement that all personnel concerned with testing and calibration 

   activities within the laboratory familiarize themself with the quality 

   documentation and implement the policies and procedures at all times;

   

   d)   the laboratory's commitment to good professional practice and quality of 

   its testing and calibrations in servicing its client.

   

   2.1.3        The quality manual shall also describe or make reference to the 

   quality management system and all technical procedures and outline the 

   structure of the documentation used in the quality management system. The 

   quality manual shall be maintained current.

   

   2.1.4        The quality manual shall define the roles and responsibilities 

   of technical management and the quality manager including their 

   responsibility for ensuring compliance with this Guide.

   

   

   2.2 Organization and management

   

   2.2.1 The laboratory or the organization of which it is part shall be legally 

   identifiable.

   

   2.2.2        The laboratory shall be organized and shall operate in such a 

   way that it meets all the applicable requirements of this Guide whether 

   carrying Out work in its permanent facilities, at sites away from its 

   permanent facilities or in associated temporary or mobile facilities,

   

   2.2.3        If the laboratory is part of an organization performing 

   activities other than testing and/or calibration, the responsibilities of all 

   staff in the organization, that have an involvement or influence on the 

   testing and/or calibration activities of the laboratory, shall be defined in 

   order to identify potential conflicts of interest.

   

   2.2.4 The laboratory shall

   

   a)   have managerial personnel supported by technical personnel with the 

   authority and resources needed to discharge their duties and to identify the 

   occurrence of departures from the quality management system or the 

   procedures for performing tests and/or calibrations and to initiate actions 

   to prevent or minimise such departures;

   

   b)   have arrangements to ensure that its management and personnel are free 

   from any commercial, financial and other internal and external pressures that 

   may adversely affect the quality of their work;�

   

   Notes

   I legal requirements may require that the laboratory shall be a third party 

   laboratory.

   2 A laboratory wish ing to be recognized as a third-party laboratory may need 

   to produce documentary  evidence to show clients and other interested parties 

   that it is not subjected to any  influence that may compromize its 

   independence and impartiality.

   

   c)   have policies and procedures to ensure the protection of its clients' 

   confidential information and proprietary rights;

   

   d) have policies and procedures to avoid involvement in any activities that 

   might diminish confidence in its competence, impartiality, judgement or 

   operational integrity;

   

   e)   define, with the aid of organizational charts, the organization and 

   management structure of the laboratory, its place in any parent organization, 

   and the relations between management, technical operations, support services 

   and the quality management system;

   

   f)   specify the responsibility, authority and interrelationships of all 

   personnel who manage, perform or verify work affecting the quality of the 

   tests and/or calibrations;

   

   g)   provide adequate supervision of testing and calibration staff including 

   trainees by persons familiar with the test and/or calibration methods and 

   procedures, the objective of each test and/or calibration, and the assessment 

   of the test or calibration results;

   

   h)   have technical management, which has overall responsibility for the 

   technical operations and the provision of the resources needed to ensure the 

   required quality of laboratory operations;

   

   i) appoint a member of staff as quality manager (however named) who, 

   irrespective of other duties and responsibilities, shall have defined 

   responsibility and authority for ensuring that the requirements of this Guide 

   are implemented and followed at all times. The quality manager shall have 

   direct access to the highest level of management at which decisions are taken 

   on laboratory policy or resources;

   

   j)  where possible, appoint deputies for key managerial personnel such as the 

   quality manager.

   

   Note

   In laboratories with a small number of personnel individuals may have more 

   than one function and it may be impractical to appoint deputies for every 

   function.

   

   

   2.3 Document and information control

   

   2.3.1 General

   

   The laboratory shall establish and maintain procedures to control all 

   documents (internally generated and from external sources) and information 

   that forms part of its quality documentation. These may include documents of 

   external origin such as regulations, standards, test and/or calibration 

   methods and other normative documents, as well as drawings, specifications, 

   instructions and manuals related to the items under test or calibration.�

   

   Note

   In this context  "document" means any information or instructions including 

   policy statements, text books, procedures, specifications, calibration 

   tables, charts, posters, notices, memoranda, software, drawings, plans etc. 

   These may be on various media whether hard copy or electronic and they may 

   be digital, analogue, photographic or written.

   

   

   2.3.2        Document approval and issue

   

   2.3.2.1      All documents (including documented procedures) issued to 

   personnel in the laboratory as part of the quality management system shall 

   be reviewed and approved for use by authorized personnel prior to issue. A 

   master list or equivalent identifying the current revision status of 

   documents in the quality management system shall be established and be 

   readily available to preclude the use of invalid and/or obsolete documents.

   

   2.3.2.2  The procedures adopted shall also ensure that:

        a) authorized editions of appropriate documents are available at all 

   locations where operations essential to the effective functioning of the 

   laboratory are performed;

   

   b)   documents are periodically reviewed and where necessary revised to 

   ensure continuing suitability and compliance with applicable requirements;

   

   c)   invalid or obsolete documents are promptly removed from all points of 

   issue or use, or otherwise assured against unintended use;

   

   d)   obsolete documents are retained for either legal or 

   knowledge-preservation purposes are suitably marked.

   

   2.3.2.3      All documents generated by the laboratory shall be uniquely 

   identified, such identification to include the date of issue and/or the 

   revision number, the total number of pages or a mark to signify the end of 

   the document and the authority for issue.

   

   2.3.3 Document changes

   

   2.3.3.1      Changes to documents (including documented procedures) shall be 

   reviewed and approved by the same function that performed the original 

   review and approval unless specifically decided otherwise. The designated 

   personnel shall have access to pertinent background information upon which 

   to base their review and approval.

   Where practible, the nature of the change shall be identified in the document 

   or the appropriate attachments.

   

   2.3.3.2      Where practicable, the nature of the change shall be identified 

   in the document or the appropriate attachments.

   

   2.3.3.3      If the laboratory's documentation control system allows for the 

   amendment of documents by hand, pending the reissue of the documents, the 

   procedures and authorities for such amendments shall be defined and shall 

   ensure that amendments are initialled and dated. Documents amended by hand 

   shall be marked, signed and dated and shall be formally reissued as soon as 

   practicable.

   �

   

   2.3.3.4       Procedures shall be established to describe how changes in 

   documents maintained in computerized systems are made.

   

   2.4 Request, tender or contract review

   

   2.4.1        Each request, tender or contract for testing and/or calibration 

   shall be reviewed by the laboratory to ensure that:

   

   a)    the requirements including the methods to be used are adequately 

   defined, documented and understood (see 3.3.2);

   

   b) the laboratory has the capability and resources to meet the requirements;

   

   c)   the contract is acceptable to the laboratory and agrees with the 

   original version(s) of the request and/or tender that was reviewed as in (a) 

   and (b) above;

   

   d) test and/or calibration method selection..

   



.......................................................................



   Notes

   1 The request, tender or contract review should be conducted 

   in a practical and efficient manner, and the financial, legal 

   and time schedule aspects should be taken into account.

   

   2 "Capability" means that the laboratory possesses the 

   necessary physical, intellectual and information resources and 

   that the laboratory's personnel have the skills and expertise 

   necessary for the performance of the tests and/or calibrations 

   in question.

        The review of capability may include results of earlier 

   participation in interlaboratory comparisons or proficiency 

   testing and/or the running of trial test or calibration 

   programmes using samples or items of known value in order to 

   determine uncertainties of measurement, limits of detection, 

   confidence limits etc.

   

   3 A contract may be any written or verbal agreement to provide 

   a client with testing and/or calibration services.

   

   2.4.2        Records of such reviews including any changes 

   shall be maintained. Records shall also be maintained of 

   pertinent discussions with a clients relating to the client's 

   requirements or the results of the work during the period of 

   execution of the contract or request.

   

   Note

   For routine and other simple tasks the date and the initials 

   of the person in the laboratory responsible for the contract 

   are considered adequate. For repetitive routine tasks the 

   review need only be made at the initial enquiry stage or on 

   grant of the contract for on-going routine work performed 

   under a general agreement with the client, provided that the 

   client's requirements remain unchanged. For new, complex or 

   advanced testing and/or calibration tasks a more comprehensive 

   record should be maintained.

   

   .2.4.3 The review shall include any work that has to be 

   sub-contracted by the laboratory.



   

   2.5  Sub-contracting of tests and calibrations

   

   2.5.1The laboratory shall advise and seek the approval of the 

   client in writing when it intends to sub-contract specific 

   tests and/or calibrations or a part of a test and/or a 

   calibration to another laboratory.

   

   2.5.2 When a laboratory has to sub-contract work because of 

   unforeseen circumstances, workload, large contracts or 

   contracts requiring extra technical expertise, this shall be 

   placed with a competent sub-contractor. The laboratory shall 

   ensure and be able to demonstrate that its subcontractor is 

   competent to perform the activities in question and complies 

   with the same requirements as the laboratory itself with 

   respect to the work being sub-contracted.

   

   Note

   The laboratory is always responsible for ensuring that a 

   sub-contractor is competent. The sub-contracted laboratory 

   should demonstrate compliance with the requirements of this 

   Guide for the sub-contracted tests.

   2.5.3 The laboratory shall maintain a register of all 

   sub-contractors that it uses for tests and/or calibrations and 

   a record of the assessments it has made of them and of all 

   sub-contracted tests and/or calibrations.

   

   2.6 Procurement of services and supplies

   

   2.6.1 The laboratory shall have policies and procedures for 

   the selection of services and supplies required by the 

   laboratory and that effect the quality of the tests and/or 

   calibrations.

   

   2.6.2 The laboratory shall use only those services and 

   supplies that are of adequate quality to sustain confidence in 

   the results of tests and/or calibrations.

   

   2.6.3 When no formal approval of the quality of services and 

   supplies is available, the laboratory shall have procedures to 

   ensure that purchased materials and services comply with 

   specified requirements and records of actions taken shall be 

   maintained.

   

   2.6.4 The laboratory shall ensure that purchased equipment and 

   consumable materials are not used until they have been 

   inspected, calibrated or otherwise verified as complying with 

   standard specifications or requirements defined in the methods 

   for the tests and/or calibrations concerned. As a part of the 

   verification, calibration, control and monitoring as well as 

   maintenance programmes should be established. Procedures shall 

   exist for the purchase, reception and storage of consumable 

   materials relevant for the tests and calibrations.

   Note

   The laboratory should maintain records of the main suppliers 

   from whom it obtains services and supplies required for tests 

   and/or calibrations. These records should include any quality 

   assurance approval the suppliers hold.

   2.7 Service to and feedback from the client

   

   2.7.1 The laboratory shall afford clients or representatives 

   cooperation to enable to clarify the client's request and to 

   monitor the performance of the laboratory in relation to the 

   work performed.



   

   Notes

   I Such cooperation may include:

   a) affording the client or his representative access to 

   relevant areas of the laboratory, for the witnessing of tests 

   and/or calibrations performed for the client. It is understood 

   that such access shall by no means come into conflict with 

   rules of confidentiality of work for other clients and with 

   safety;

   b) preparation, packaging, and dispatch of test and/or 

   calibration items needed by the client for verification 

   purposes.

   2 clients value ease in establishing contacts, advice and 

   guidance in technical performance, rapid execution of the 

   work, interpretation of and recommendations based on achieved 

   results. Contact with the client. especially in large 

   assignments, should be maintained throughout the work. The 

   laboratory should inform the client of any delays in the 

   performance of the tests and/or calibrations.

   

   2.7.2 The laboratory shall have a policy and procedures for 

   the resolution of complaints or other feedback received from 

   clients or other parties. Records shall be maintained of all 

   complaints and of the investigations and corrective actions 

   taken by the laboratory.

   

   Note

   Laboratories are encouraged to obtain feedback from their 

   clients, preferably in a systematic way (e.g. client surveys). 

   Feedback includes both positive and negative feedback. The 

   feedback should be used to improve the quality management 

   system, testing and calibration activities and client service.

   

   

   2.8 Control of nonconforming testing and/or calibration work

   

   2.8.1 The laboratory shall have a policy and procedures that 

   shall be implemented when it establishes that any aspect of 

   its testing and/or calibration work, or the results of this 

   work, do not conform with its own procedures or the agreed 

   requirements of the client. The policy and procedures shall 

   ensure that:

   

   a)   responsibilities and authorities for the management of 

   nonconforming work are designated;

   

   b)   the actions to be taken when nonconforming work is 

   identified are defined;

   

   c)   an evaluation of the significance of the nonconforming 

   work is made;

   

   d)   work is halted and reports and certificates withheld as 

   necessary;

   

   e)   remedial actions are taken immediately, together with any 

   decisions about the acceptability of the nonconforming work;

   

   f)   where necessary, the results of nonconforming work 

   already released to clients are recalled;

   

   g)          the responsibility for authorization of the 

   resumption of work is defined.



   

   Note

   The identification of nonconforming work or problems with the 

   quality management system or with testing and/or calibration 

   activities can occur at various places within the quality 

   management system such as: customer complaints, quality 

   control, instrument calibration, checking of consumable 

   materials, staff observations or supervision, report and 

   certificate checking, management reviews and internal or 

   external audits.

   

   2.8.2 Where the evaluation indicates that the nonconforming 

   work could recur or that there is doubt about the laboratory's 

   compliance with its own policies and procedures, the 

   corrective action procedures in 2.9 shall be promptly followed 

   to identify the root causes of the problem and to eliminate 

   these causes.

   

   

   2.9 Corrective action

   

   2.9.1 General

   

   The laboratory shall establish a policy and procedures and 

   shall designate appropriate authorities for implementing 

   corrective action when nonconforming work or departures from 

   the policies and procedures in the quality management system 

   have been identified.

   

   Any corrective action taken to eliminate the causes of 

   nonconformances or other departures shall be to a degree 

   appropriate to the magnitude of the problems and commensurate 

   with the risks encountered.

   

   The laboratory shall document and implement any required 

   changes to the operational procedures resulting from 

   corrective action investigations.

   

   Note

   A problem with the quality management system or with the 

   technical operations of the laboratory may be identified 

   through a variety of activities within the quality management 

   system as control of nonconforming work. Internal or external 

   audits, management reviews, feedback from clients or staff 

   observations.

   

   2.9.2 Cause analysis

   

   Corrective action procedures shall include an investigation 

   process to determine the root causes of  the problem.

   Notes

   I This is sometimes the most difficult but the key part in the 

   corrective action procedure.

    2 Often the root cause is not obvious and thus a careful 

   analysis of all potential causes of the problem is required. 

   Potential causes could include, inter alia, the samples. 

   client requirements, sample specifications, methods and 

   procedures, staff skills and training, consumable materials, 

   or equipment and its calibration.

   

   2.9.3        Corrective actions

   

   The laboratory shall identify possible causes and potential 

   corrective actions. It shall select the actions most likely to 

   eliminate the problem and to prevent it recurring.



   2.9.4        Monitoring of corrective actions

   

   After having implemented the action plans, the laboratory 

   shall monitor the results to ensure that have been effective 

   in overcoming the problems originally identified.

   

   2.9.5 Special audits

   

   Where the identification of nonconformances or departures 

   casts doubts on the laboratory's compliance with its own 

   policies and procedures, or on its compliance with this Guide, 

   the laboratory shall ensure that the appropriate areas of 

   activity are promptly audited in accordance with clause 2.12.

   

   Note

   Such special audits often folIow the implementation of the 

   corrective actions to confirm their effectiveness.

   

   2.9.6 The results of corrective actions shall be submitted for 

   management review (clause 2.13).

   

   

   2.10  Preventive action

   

   2.10.1 All operational procedures shall be systematically 

   reviewed at regular intervals to identify any potential 

   sources of nonconformances and any opportunities for 

   improvement, either technical or with the quality management 

   system. Action plans shall be developed, implemented and 

   monitored, to reduce the likelihood of occurrence of such 

   nonconformances and to take advantage of the improvement 

   opportunities.

   

   Notes

   

   I Preventive action is a pro-active process to identify 

   improvement opportunities, rather than a reaction to the 

   identification of problems or complaints.

   2 TQM tools such as brainstorming, flowcharting, mind mapping 

   and pareto charts will assist this process.

   

   2.10.2  After the implementation of preventive actions, the 

   laboratory shall monitor the results to establish any 

   reduction in deficiences or other improvements in this 

   operational area, thereby establishing the effectiveness of 

   the preventive action.

   

   2.10.3 The results of preventive actions shall be submitted 

   for management review (clause 2.13).

   

   2.11 Records

   

   2.11.1 General

   

   2.11.1.1 The laboratory shall establish and maintain 

   procedures for identification, collection, indexing, access, 

   storage, maintenance and disposition of quality and technical 

   records (see also 3.10).



Notes

   I Quality records are records providing objective evidence of 

   the extent of the fulfilment of the requirements for quality 

   or the effectiveness of the operation of the quality 

   management system. 

   They include, eg reports from internal audits and management 

   reviews and corrective and preventive action records.

   2 Technical records are accumulations of data and information 

   which result from carrying out tests and/or calibrations and 

   which indicate whether specified quality or process parameters 

   are achieved. They include forms, contracts, work sheets, work 

   books, check sheets, work notes, control graphs, calibration 

   reports/certificates, clients' notes, papers and feedback, 

   reports and certificates to clients.

   3 The laboratory shall ensure that it has recorded such 

   information that might be needed in a future dispute 

   situation.

   

   2.11.1.2 All records shall be legible and shall be stored and 

   retained in such a way that they are readily retrievable in 

   facilities that provide a suitable environment to prevent 

   damage or deterioration and to prevent loss. Retention times 

   of records shall be established and recorded.

   

   Note

   Records may be in the form of any type of media, such as hard 

   copy, or electronic media.

   

   2.11.1.3  All records shall be held secure and in confidence 

   to the client.

   

   2.11.1.4 The laboratory shall have procedures to protect data 

   held on computers at all times and to prevent unauthorized 

   access to or amendment of data on computers.

   

   2.11.2 Technical records

   

   2.11.2.1 The laboratory shall, when sampling is within the 

   scope of responsibilities of the laboratory, have procedures 

   for recording and reporting relevant data and operations 

   relating to sampling that forms part of the testing or 

   calibration that is undertaken.

   

   Note

   These records shall include the sampling procedure used, the 

   identification of the sampler, environmental conditions and 

   the diagrams or other equivalent means to identify the 

   sampling location as necessary and if appropriate the 

   statistics the sampling procedures are based upon.

   

   2.11.2.2     All observations and calculations shall be 

   clearly and permanently recorded at the time they are made. 

   When mistakes occur in records such as observations or 

   calculations, each mistake shall be crossed out, not erased, 

   made illegible nor deleted, and the correct value entered 

   alongside. All such alterations to records shall be signed by 

   the person making the correction. In the case of 

   computer-collected data similar measures shall be taken to 

   avoid loss or change of original data.

   

   2.12 Internal audits

   

   2.12.1 The laboratory shall periodically and in accordance 

   with a predetermined schedule and procedure conduct internal 

   audits of its activities to verify that its operations 

   continue to comply with the requirements of the quality 

   management system and this Guide. The internal audit programme 

   shall address all elements of the quality management system, 

   including the testing and/or calibration activities. It is the 

   responsibility of the quality manager to plan and organise 

   audits as required by the schedule and requested by 

   management. Such audits shall be carried out by trained and 

   qualified personnel who are, wherever resources permit, 

   independent of the activity to be audited.



   Personnel shall not audit their own activities except where it 

   is necessary and it can be demonstrated that an effective 

   audit has been carried out.

   

   Note

   The schedule for internal auditing should normally be 

   completed in one year.

   

   2.12.2       When audit findings cast doubt on the 

   effectiveness of the operations or on the correctness or 

   validity of the laboratory's test or calibration results, the 

   laboratory shall take timely corrective action and shall 

   notify, in writing, clients whose work may have been affected.

   

   2.12.3       All audit findings and corrective actions that 

   arise from them shall be recorded. The laboratory management 

   shall ensure that these actions are discharged within an 

   appropriate and agreed timescale.

   

   

   2.13 Management reviews

   

   2.13.1       The senior management of the laboratory shall 

   periodically conduct a review of the laboratory's quality 

   management system and testing and/or calibration activities to 

   ensure their continuing suitability and effectiveness and to 

   introduce any necessary changes or improvements. The review 

   shall take account of reports from managerial and supervisory 

   personnel, the outcome of recent internal audits, assessments 

   by external bodies, the results of interlaboratory comparisons 

   or proficiency tests, any changes in the volume and type of 

   the work undertaken, feedback from clients, including 

   complaints and other relevant factors.

   

   Note

   A typical period for conducting a management review is once 

   every 12 months. Results should feed into the corporate 

   planning programme and should include the goals and objectives 

   and action plans for the coming year.

   

   2.13.2        Findings from management reviews and the actions 

   that arise from them shall be recorded. The management shall 

   ensure that those actions are discharged within an appropriate 

   and agreed timescale.

   

   





   SECTION 3: TECHNICAL REQUIREMENTS

   

   3.0 General

   

   This section describes the requirements a laboratory has to 

   meet in order to be able to demonstrate that it is technically 

   competent for the type of tests and/or calibrations it 

   undertakes.

   Many factors determine the correctness and reliability of the 

   tests and/or calibrations performed by a laboratory. These 

   factors include contributions from human factors (3.1), 

   accommodation and environmental conditions (3.2), test and 

   calibration methods and method validation (3.3), equipment 

   (3.4), measurement traceability (3.5), sampling (3.6), and 

   handling of test and calibration items (3.7). The extent to 

   which they contribute to the total measurement uncertainty 

   differs considerably from test to test and from calibration to 

   calibration. The laboratory shall take account of these 

   factors in developing test and calibration methods and 

   procedures, in the training and qualification of personnel and 

   in the selection and calibration of the equipment it uses.



   3.1 Personnel

   

   3.1.1 The laboratory management shall ensure that all 

   personnel who operate specific equipment, that perform tests 

   and/or calibrations and to make professional judgements are 

   competent. When using staff undergoing training, appropriate 

   supervision shall be arranged.

   



.......................................................................



   3.1.2 The management  of the laboratory shall formulate the 

   quality goals with respect to the education and the skills of 

   the laboratory. The laboratory shall have a policy and 

   procedures for identifying training needs and providing 

   training of personnel. The training programme shall be 

   oriented on present and future tasks of the laboratory. 

   Personnel performing specific tasks shall be qualified on the 

   basis of appropriate education, training, experience and/or 

   skills, as required.

   

   Note

   In some technical areas (eg non-destructive testing) it is 

   necessary that the personnel performing certain tasks hold 

   person certification. The laboratory is responsible for 

   fulfilling sectoral personnel certification requirements. The 

   requirements for personnel certification might be regulatory 

   or might be included in the standards for the specific 

   technical field.

   

   3.1.3 The laboratory shall normally use personnel who are 

   permanently employed by, or under contract to the laboratory. 

   Where additional personnel are used, the laboratory shall 

   ensure that such personnel are supervised and that the work 

   they do does not put at risk the laboratory's compliance with 

   the requirements of this Guide.

   

   3.1.4 The laboratory shall have job descriptions for 

   managerial personnel and technical personnel involved in tests 

   and/or calibrations.

   

   Note

   Job descriptions can be defined in many ways. As a minimum the 

   responsibilities with respect to

   - performing tests and/or calibrations;

   - planning of tests and/or calibrations and evaluation of 

   results;

   -method modification and development and validation of new 

   methods;

   -professional judgement;

   - managerial duties

   shall be defined.

   

   

   3.1.5 The management shall authorize personnel to perform 

   particular types of sampling, test and/or calibration, to 

   issue test reports and calibration certificates and to operate 

   particular types of equipment, or to make professional 

   judgement. The laboratory shall maintain records of the 

   relevant competence, educational and professional 

   qualifications, training and experience of all technical 

   personnel. This information shall be readily available and 

   shall include the date authorization and/or competence is 

   confirmed.

   

   3.1.6 The personnel making professional judgement with 

   reference to testing and/or calibration shall have applicable 

   theoretical and practical background and also recent 

   experience. They must have integrity and a good reputation.

   Note

   The professional judgement can be expressed as opinions, 

   interpretations, predictions, simulations and models, values    etc.

    



   

   3.2  Accommodation and environmental conditions

   

   3.2.1        Laboratory facilities for testing and/or 

   calibration, including but not limited to energy sources, 

   lighting and environmental conditions, shall be such as to 

   facilitate correct performance of tests and/or calibrations.

   The environment in which the sampling, tests and/or 

   calibrations are undertaken shall not invalidate the results 

   or adversely affect the required quality of any measurement. 

   Particular care shall be taken when sampling, tests and/or 

   calibrations are undertaken at sites other than a permanent 

   laboratory facility.

   

   3.2.2 The laboratory shall have procedures for checking that 

   the environment does not adversely affect the performance of 

   sampling, test and/or calibration equipment.

   

   3.2.3 The laboratory shall monitor, control and record 

   environmental conditions as required by relevant 

   specifications or where they may influence the quality of the 

   results. Due attention shall be paid, for example, to 

   biological sterility, dust, electromagnetic interference, 

   radiation, humidity, electrical supply, temperature, and sound 

   and vibration levels, as appropriate to the technical 

   activities concerned. Tests and calibrations shall be stopped 

   when the environmental conditions jeopardize the results of 

   the tests and/or calibrations.

   

   3.2.4         There shall be effective separation between 

   neighbouring areas in which there are incompatible activities. 

   Measures shall be taken to prevent cross-contamination.

   

   3.2.5 Access to and use of areas affecting the quality of the 

   tests and/or calibrations shall be controlled -

   

   3.2.6        Measures shall be taken to ensure good 

   housekeeping in the laboratory. Special procedures may be 

   necessary.

   

   

   3.3 Test and calibration methods

   

   3.3.1 General

   

   The laboratory shall use appropriate methods and procedures 

   for all tests and/or calibrations within its scope, including 

   sampling, handling, transport, storage and preparation of 

   items to be tested and/or calibrated, and, where appropriate, 

   an estimation of the measurement uncertainty as well as 

   statistical techniques for analysis of test and/or calibration 

   data.

   

   The laboratory shall have instructions on the use and 

   operation of all relevant equipment, and on the handling and 

   preparation of items for testing and/or calibration, or both, 

   where the absence of such instructions could jeopardize the 

   results of tests and/or calibrations. All instructions, 

   standards, manuals and reference data relevant to the work of 

   the laboratory shall be maintained up-to-date and be made 

   readily available to personnel.

   

   Note

   International, regional or national standards or other 

   recognized specifications that contain sufficient and concise 

   information to perform the tests aud/or calibrations, need not 

   to be rewritten as internal procedures if these standards are 

   written in a way that they can be used by the operating staff 

   in a laboratory.



        

   3.3.2 Selection of methods

   

   The laboratory shall use test and/or calibration methods, 

   including those for sampling, which meet the needs of the 

   client and which are appropriate for the tests and/or 

   calibrations it undertakes; preferably those published as 

   international, regional or national standards. The laboratory 

   shall ensure that it uses the latest edition of the standard 

   unless it is not appropriate or possible to do so. When 

   necessary the standard shall be supplemented with additional 

   details to ensure consistent application.

   When the client does not specify the method to be used, the 

   laboratory shall select appropriate methods that have been 

   published either in international, regional or national 

   standards, or by reputable technical organizations, or in 

   relevant scientific texts or journals. In-house methods may 

   also be used if they are appropriate for the intended use.

   The laboratory shall inform the client when the method 

   proposed by the client is considered to be inappropriate or 

   out-of-date.

   3.3.3  Methods not covered by standard specifications

   

   When it is necessary to employ methods not covered by standard 

   specifications, these shall be subject to agreement with the 

   client and shall include a clear specification of the 

   requirements and the objectives of the test and/or 

   calibration. The method developed shall be validated as 

   necessary before use, and be available for examination by the 

   client and other authorized recipients of the relevant 

   reports.

   

   Note

   Test and/or calibration methods and procedures should normally 

   be produced prior to the tests and/or calibrations being 

   performed and contain at least the following information:

   - scope;

   - description of the type of item to be tested or calibrated;

   - parameters or quantities to be determined;

   - the apparatus, equipment, reference standards and reference 

   materials required;

   - the environmental conditions required and any stabilization 

   period needed;

   -    description of the procedure, including

   -    affixing identification marks, handling, transporting, 

   storing and preparing items

   -    checks to be made before the work is started

   -    checking that the equipment is working properly and, 

   where required, calibrating  and adjusting the               

   equipment before each use

   -    method of recording the observations and results

   -    the safety measures to be observed;

   - criteria and/or standards for approval/rejection;

   - data to be recorded and method of analysis and presentation;

   - procedure for estimating uncertainty.

   

   3.3.4 Validation of methods

   

   3-3.4.1      The laboratory shall verify that it can properly 

   operate methods in standard specifications before carrying out 

   such work for clients.

   

   3.3.4.2 The laboratory shall validate standard, non-standard 

   and new test and/or calibration methods to confirm that the 

   methods are suitable for the intended use. The validation 

   shall be as extensive as is necessary to meet the needs in the 

   given application or field of application. The laboratory 

   shall record the results obtained and the procedure used for 

   the validation.



   

   3.3.4.3 The suitability of the method may be checked and 

   confirmed by comparing the method with specified requirements 

   typical for the intended use. The range and accuracy of the 

   values obtainable from this method (e.g. the uncertainty of 

   the results, detection limit, selectivity of the method. 

   linearity, limit of repeatability and/or reproducibility, 

   robustness against external influences and/or 

   cross-sensitivity against interference from the matrix of the 

   sample/test object) as assessed for the intended use shall be 

   relevant to the customers needs.

   

   Notes

   

   1 The techniques used for the validation of a method should be 

   one or a combination of the following: calibration using 

   references or reference materials, comparison of results 

   achieved with other methods, interlaboratory comparisons, 

   systematic assessment of the factors influencing the result, 

   assessment of the uncertainty of the results based on 

   scientific understanding of the theoretical principles of the 

   method and practical experience.

   2 The aim of the validation of test and calibration methods 

   should be to demonstrate that the method is fit for the 

   intended purpose and that the results have an acceptable 

   uncertainty. The validation should provide information about 

   the representativeness, repeatability and reproducibility of 

   the test and calibration method as well as of the influence of 

   instrumental, human and environmental factors on the 

   uncertainty of the results.

   3 Validation is always a balance between costs, risks and 

   technical possibilities.

   

   3.3.4.4. A validation shall be completed by a statement by the 

   laboratory that the method is fit for the intended use.

   

   3.3.5 Estimation of measurement uncertainty

   

   3.3.5.1 A calibration laboratory shall have a procedure to 

   estimate the measurement uncertainty for all calibrations and 

   all types of calibrations. For testing laboratories this 

   requirement applies whenever the client requires uncertainties 

   of measurement for specific tests or when the uncertainty is 

   likely to adversely affect compliance with a specification.

   

   

   3.3.5.2 When estimating the uncertainty of the results of 

   tests and calibrations all uncertainty components which are of 

   importance in the given situation shall be taken into account 

   using appropriate methods of analysis. Sources contributing to 

   the uncertainty include the reference standards and reference 

   materials used, methods and equipment used, the environmental 

   conditions, the condition of the item being tested or 

   calibrated and the operator.

   Notes

   I The predicted long-term behaviour of the tested and/or 

   calibrated item is normally not taken into account when 

   estimating the measurement uncertainty.

   2 For further information see ISO 5725 and the Guide to the 

   Expression of Uncertainty in Measurement (See 1.3).

   

   3.3.6 Best measurement capability

   

   3.3.6.1 A calibration laboratory shall have procedures to 

   calculate its best measurement capability. These calculations 

   shall be available for specified ranges and for all 

   quantities/measurements in its scope.



   

   Note

   The best measurement capability is normally smaller than the 

   actual uncertainty of measurement due to the non-ideal 

   behaviour of the calibrated item.

   

   3.3.6.2 For test laboratories the requirement in clause 

   3.3.6.1 applies whenever the client requires uncertainties of 

   measurement for specific tests or when the uncertainty is 

   likely to adversely affect compliance with a specification.

   

   3.3.7 Control of data

   

   3.3.7.1 Calculations and data transfers shall be subject to 

   appropriate checks in a systematic manner.

   

   3.3.7.2 When computers or automated equipment are used for the 

   capture, processing, recording, reporting, storage or 

   retrieval of test or calibration data, the laboratory shall 

   ensure that:

   

   a) computer software including any software built into 

   equipment is documented in sufficient detail and suitably 

   validated or otherwise checked as adequate for use;

   

   b)procedures are established and implemented for protecting 

   the integrity of data; such procedures shall include, but not 

   be limited to, integrity of data entry or collection, data 

   storage, data transmission and data processing;

   

   c) computers and automated equipment are maintained to ensure 

   proper functioning and provided with the environmental and 

   operating conditions necessary to maintain the integrity of 

   test and calibration data.

   

   Note

   For purchased software documentation from the, manufacturer's 

   validation (preferably according to ISO 9000-3) can be used by 

   the laboratory.

   

   

   3.4. Equipment

   

   3.4.1 The laboratory shall be furnished with all items of 

   sampling, measurement and test equipment required for the 

   correct performance of the tests and/or calibrations 

   (including sampling, preparation of test and/or calibration 

   items, processing and analysis of test and/or calibration 

   data). In those cases where the laboratory needs to use 

   equipment outside its permanent control, it shall ensure that 

   the requirements of this Guide are met.

   

   3.4.2        Equipment shall be capable of achieving the 

   accuracy required and shall comply with specifications 

   relevant to the tests and/or calibrations concerned. 

   Calibration programmes shall be established for key quantities 

   or values of the instruments where these properties have a 

   significant effect on the results. Equipment shall be checked 

   against the purchase order to establish that it meets the 

   laboratory's specification requirements, complies with the 

   relevant standard specifications, and is calibrated and/or 

   verified in accordance with clause 3.5 before use.

   

   3.4.3 All equipment having a significant effect on the 

   uncertainty of the result and used for sampling, including 

   that used for any measurements carried out in connection with 

   the sampling shall comply with the relevant standard 

   specifications and/or procedures.



   

   3.4.4  Equipment shall be operated by competent and authorized 

   personnel. Up-to-date instructions on the use and maintenance 

   of equipment (including any relevant manuals provided by the 

   manufacturer of the equipment) shall be readily available for 

   use by the laboratory personnel.

   

   3.4.5 Each item of equipment shall. when appropriate, be 

   uniquely labelled, marked or otherwise identified.

   

   3.4.6 Records shall be maintained of each item of equipment 

   significant to the tests and/or calibrations performed. The 

   records shall include at least the following:

   

   a) the identity of the item of equipment;

   

   b) the manufacturer's name, type identification, and serial 

   number or other unique identification;

   

   c) date received and date placed in service;

   

   d) current location, where appropriate;

   

   e) condition when received (e.g. new, used, reconditioned);

   

   f) the manufacturer's instructions, if available or reference 

   to their location;

   

   g) dates, results and copies of reports and certificates of 

   all calibrations and/or verifications, adjustments, the 

   acceptance criteria, and due date of next calibration and/or 

   verification;

   h) maintenance carried out to date and that planned for the 

   future;

   i) damage, malfunction, modification or repair to the 

   equipment.

   

   3.4.7 Equipment shall be protected from deterioration and 

   abuse and shall be maintained regularly to ensure proper 

   functioning.

   Maintenance procedures shall be established. Equipment that 

   has either been subjected to overloading or mishandling, or 

   gives suspect results, or has been shown by verification or 

   use to be defective, shall be taken out of service, clearly 

   labelled or marked and appropriately stored until it has been 

   repaired and shown by calibration, verification or test to 

   perform correctly. The laboratory shall examine the effect of 

   this defect on previous tests and/or calibrations and 

   institute "Control of nonconforming work" procedure.

   

   3.4.8 Whenever practicable, all equipment under the control of 

   the laboratory, and requiring calibration or verification 

   shall be labelled, coded or otherwise identified to indicate 

   the status of calibration or verification and the date when 

   recalibration or reverification is due.

   

   3.4.9 When, for whatever reason, equipment goes outside the 

   direct control of the laboratory for a period, the laboratory 

   shall ensure that the function and calibration status of the 

   equipment are checked and shown to be satisfactory before the 

   equipment is returned to service.

   

   3.4.10       When computers or automated test or calibration 

   equipment are used for the collection, processing, recording, 

   reporting, storage or retrieval of test and/or calibration 

   data the laboratory shall ensure that the requirements of 

   clause 3.3.7 of this Guide are met.�

   

   3.4.11       If checks are needed to maintain confidence in 

   the calibration/verification status of the equipment these 

   checks shall be carried out periodically according to a 

   defined procedure..

   

   3.4.12        Where calibrations give rise to a set of 

   correction factors the laboratory shall have procedures to 

   ensure that any copies e.g. in computer software are correctly 

   updated.

   

   3.4.13       The laboratory shall have procedures for safe 

   handling, transport, storage and use of measuring equipment in 

   order to prevent contamination or deterioration.

   

   Note

   Special procedures may be necessary when measuring equipment 

   is used on site for tests, calibrations or sampling.

   

   3.4.14  Test and calibration equipment, including both 

   hardware and software, shall be safeguarded from adjustments 

   which would invalidate the test and/or calibration results.

   



.......................................................................



   3.5. Measurement traceability

   

   3.5.1 General

   

   All equipment used for tests and/or calibrations, including 

   equipment for subsidiary measurements (for example for 

   environmental conditions) having a significant effect on the 

   accuracy or validity of the result of the test, calibration or 

   sampling shall be calibrated or verified before being put into 

   service. The laboratory shall have an established programme 

   and procedure for the calibration and verification of its 

   equipment, including the use of reference materials and 

   reference standards.

   

   3.5.2 Specific requirements

   

   3.5.2.1 Calibration laboratories

   

   For calibration laboratories the programme for calibration and 

   verification of equipment shall be designed and operated so as 

   to ensure that calibrations and measurements made by the 

   laboratory are traceable to the SI units of measurement or by 

   reference to a natural constant.

   

   Notes

   1 Calibration laboratories fulfilling the requirements of this 

   Guide are considered to be competent

   2 Traceability to the SI units of measurement may be achieved 

   by direct or indirect reference to a primary standard which 

   realizes an SI unit in accordance with its definition, and 

   having the highest metrological qualities, or by reference to 

   a natural constant the value of which in terms of the relevant 

   SI unit is known and recommended by the General Conference of 

   Weights and Measures (CGPM).

   

   Traceability of measurement shall be assured by the use of 

   calibration services from laboratories that can demonstrate 

   traceability and competence. The calibration certificates 

   issued by these laboratories shall show that there is a link 

   to a primary standard or by reference to a natural constant 

   realizing the SI unit by an unbroken chain of calibrations. 

   They shall contain the measurement results including the 

   measurement uncertainty and/or a statement of compliance with 

   an identified metrological specification



   

   Note

   The term identified metrological specification means that it 

   must be clear from the calibration certificate against which 

   specification the measurements have been compared by including 

   the specification or by giving an unambiguous reference to the 

   specification.

   

   The terms "international standard" or "national standard" are 

   sometimes used in connection with traceability. It is assumed 

   that these standards fulfil the properties of primary 

   standards for the realization of SI units.

   

   3.5.2.2 Testing laboratories

   

   3.5.2.2.1    For testing laboratories, the requirements given 

   in 3.5.2.1 apply for measuring and test equipment used, unless 

   it is established that the associated calibration uncertainty 

   contributes very little to the total measurement uncertainty 

   of the test result. When this situation arises the laboratory 

   must ensure that equipment used can provide the accuracy of 

   measurement needed.

   

   Note

   The extent to which the requirements in 3.5.2.1 should be 

   followed depends on the relative contribution of calibration 

   uncertainty to the total testing or measurement uncertainty. 

   If calibration is a dominant factor the requirements should be 

   strictly followed . If, however, calibration is not one of the 

   major contributors to the total uncertainty other ways for 

   providing confidence may be used as given below.

   

   3.5.2.2.2    Where traceability to the SI units of measurement 

   is not possible and/or not relevant, other means for providing 

   confidence in the results shall be applied such as the 

   following:

   

   a)  participation in a suitable programme of interlaboratory 

   comparisons or proficiency testing;

   

   b) the use of suitable reference materials, certified to 

   indicate the characterization of the material;

   c) testing or calibration by another method;

   d) ratio or reciprocity-type measurements;

   

   e) mutual consent standards or methods which are clearly 

   specified and mutually agreed upon by all parties concerned.

   

   3.5.3 Reference standards and reference materials

   

   3.5.3.1      Reference standards

   

   The laboratory shall have a programme and procedure for the 

   calibration and verification for its reference standards. 

   Reference standards of measurement shall be calibrated by a 

   body that can provide traceability as described in 3.5.2.1. 

   Reference standards of measurement held by the laboratory 

   shall be used for calibration only and for no other purpose, 

   unless it can be shown that their performance as reference 

   standards will not be invalidated.

        



   

   3.5.3.2 Reference materials

   

   Reference materials shall, where possible, be traceable to SI 

   units of measurement, or to international or national 

   certified reference materials. Where traceable reference 

   materials are not available or in the case of secondary 

   external standards, the internal reference materials shall be 

   verified as far as technically and economically practicable.

   

   3.5.3.3 Intermediate checks

   

   If checks are needed to maintain confidence in the cal 

   ibration/verification status of the equipment, reference, 

   primary, transfer or working standards and reference materials 

   these checks shall be carried out periodically according to a 

   defined procedure..

   

   3.5.3.4 Transport and storage

   

   The laboratory shall have procedures for safe handling, 

   transport, storage and use of reference standards and 

   reference materials in order to prevent contamination or 

   deterioration.

   

   Note

   Special procedures may be necessary when reference standards 

   and reference materials are used on site for tests, 

   calibrations or sampling.

   

   3.6 Sampling

   

   3.6.1 The laboratory shall have procedures for sampling when 

   it carries Out sampling of substances, matrices, materials or 

   products that it subsequently tests or calibrates in the 

   laboratory or on site. They shall include a sampling plan as 

   well as a sampling procedure and shall be available at the 

   location where sampling is undertaken.

   

   Note

   Sampling is a defined procedure whereby a part of a substance, 

   matrix, material or product is taken to provide, for testing 

   or calibration, a representative sample of the whole or as 

   required by the appropriate specification for which the 

   substance, matrix, material or product is to be tested or 

   calibrated.

   A sampling plan is defined as a planned procedure of 

   allocation, withdrawal and preparation of a sample or samples 

   from a substance, matrix, material or product to yield the 

   required information.

   

   3.6.2 Where the client requires deviations, additions or 

   exclusions from the documented sampling procedure used by the 

   laboratory, these shall be recorded in detail with the 

   appropriate sampling data and in all documents containing test 

   and/or calibration results.

   

   

   3.7 Handling of test and calibration items

   

   3.7.1 The laboratory shall have procedures for the receipt, 

   handling, protection and retention or disposal, of test and/or 

   calibration items, including all provisions necessary to 

   protect the integrity of the laboratory.

   

   3.7.2 The laboratory shall have a coordinated system for 

   identifying test and/or calibration items. The identification 

   shall be retained throughout the life of the item in the 

   laboratory. The system shall be designed and operated so as to 

   ensure that items cannot be confused, physically or when 

   referred to in records or other documents.



   

    The system shall, if appropriate, accommodate a sub-division 

   of groups of items, or the transfer of items within and from 

   the laboratory.

   

   3.7.3 Upon receipt of the test or calibration item, any 

   abnormalities or departures from normal or specified 

   conditions as described in the relevant test or calibration 

   method, shall be recorded. When there is any doubt as to the 

   suitability of an item for test or calibration, or when an 

   item does not conform to the description provided, or the test 

   or calibration required is not specified in sufficient 

   details, the laboratory shall consult the client for further 

   instruction before proceeding.

   The laboratory shall establish whether the item has received 

   all necessary preparation, or whether the client requires 

   preparation to be undertaken or arranged by the laboratory.

   

   3.7.4 The laboratory shall have procedures and appropriate 

   facilities for avoiding deterioration or damage to the test or 

   calibration item during storage, handling, preparation and 

   test or calibration; instructions provided with the item shall 

   be followed. When items have to be stored or conditioned under 

   specified environmental conditions, these conditions shall be 

   maintained, monitored and recorded. Where a test or 

   calibration item or portion of an item is to be held secure 

   (e.g. for reasons of record, safety or value, or to enable 

   complementary tests and/or calibrations to be performed 

   later), the laboratory shall have arrangements for storage and 

   security that protect the condition and integrity of the 

   secured items or portions concerned.

   

   Note

   Where test items are to be returned into service after 

   testing, e.g. for non-destructive testing or patients for 

   medical or radiological tests, special care is required to 

   ensure that they are not damaged or injured during the 

   handling, testing or storing/waiting processes.

   

   

   3.8 Assuring the quality of test and calibration results

   

   In addition to periodic internal audits, the laboratory shall 

   ensure the quality of results by monitoring test and/or 

   calibration results. This monitoring shall be planned and 

   reviewed and may include but not be limited to

   

   a) internal quality control schemes using statistical 

   techniques;

   

   b) participation in interlaboratory comparison or proficiency 

   testing programmes;

   

   c) regular use of certified reference materials and/or 

   in-house quality control using secondary reference materials;

   

   d) replicate tests or calibrations using the same or different 

   methods;

   

   e)  re-testing or re-calibration of retained items;

   

   f) correlation of results for different characteristics of an 

   item.  

   Note

   The selected methods should be appropriate for the type and 

   volume of the work undertaken.



        

   3.9 Reporting the results

   

   3.9.1 General

   

   The results of each test, calibration, or series of tests or 

   calibrations carried out by the laboratory shall be reported 

   accurately, clearly, unambiguously and objectively, and in 

   accordance with any specific instructions in the test or 

   calibration methods.

   The results shall normally be reported in a test report 

   (sometimes called test certificate) or a calibration 

   certificate and should include all the information requested 

   by the client and necessary for the interpretation of the test 

   or calibration results and all information required by the 

   method used. This information is normally that required by 

   clause 3.9.2 of this Guide.

   

   Notes

   1 The report or certificate may be issued as hard copy or by 

   electronic data transfer provided that the requirements of 

   this Guide are met.

   2 In the case of in-house tests or calibrations, and in the 

   case of a written agreement with the client, the results may 

   be reported in a simplified way. The information required in 

   clause 3.9.2, and not reported, shall be readily available in 

   the laboratory which has carried out the tests and/or 

   calibrations.

   3 laboratories should include the information in 3.9.2 in all 

   reports and certificates unless the client or laboratory has 

   exceptional reasons for not doing so.

   

   3.9.2. Test reports and calibration certificates

   

   3.9.2.1 Each test report or calibration certificate shall 

   normally include at least the following information:

   

   a) a title, e.g. "Test Report' or "Calibration Certificate';

   

   b) name and address of laboratory, and location where the 

   tests and/or calibrations were carried out if different from 

   the address of the laboratory;

   

   c) unique identification of the report or certificate (such as 

   serial number) and of each page, the total number of pages and 

   the date of issue;

   

   d) name and address of the client placing the order;

   

   e) description and unambiguous identification of the item(s) 

   tested or calibrated;

   

   f) date of receipt of test or calibration item(s) and date(s) 

   of performance of test or calibration, as appropriate;

   

   g) test or calibration results;

   

   h) reference to sampling procedures used by the laboratory 

   where these are relevant to the validity or application of the 

   results;

   

   i) the name(s), title(s) and signature(s) or equivalent 

   identification of person(s) authorizing the report or 

   certificate;

   

   j) where relevant, a statement to the effect that the results 

   relate only to the items tested or calibrated.



   

   Note

   laboratories are recommended to include a statement that the 

   report or certificate shall not be reproduced except in full, 

   without written approval of the laboratory.

   

   3.92.2 In addition to the requirements in clause 3.9.2.1 test 

   reports shall normally include:

   

   a) characterization and condition of the test item(s);

   

   b)   identification of the test method(s) used, or unambiguous 

   brief description of any nonstandard method used;

   

   c) identification of the standard(s) or specification(s) 

   relevant to the test method or procedure;

   

   d)   deviations from, additions to or exclusions from the test 

   method, and information on specific test conditions, such as 

   environmental conditions;

   

   e) where relevant, a statement of compliance/non compliance 

   with design or performance specifications;

   

   f) where applicable, a statement on the estimated uncertainty 

   of the test result.

   

   Note

   Information on uncertainty is needed in test reports when it 

   is relevant to the validity or application of the. test 

   results, when a client's instruction so requires or when 

   uncertainty affects compliance to a specification limit.

   

   3.9.2.3      In addition to the requirements in clause 

   3.9.2.1, test reports containing the results of sampling 

   normally include:

   

   a) date of sampling;

   

   b)   unambiguous identification of substance, matrix, material 

   or product sampled (including name of manufacturer, model or 

   type of designation and serial numbers as appropriate);

   c) location of sampling, including any diagrams, sketches or 

   photographs;

   d) reference to sampling plan used;

   e)   details of any environmental condition during sampling 

   that may affect the interpretation of the test results;

   

   f) reference to sampling method or procedure used;

   g) any standard or other specification for the sampling method 

   or procedure, and deviations, additions to or exclusions from 

   the specification concerned.



   

   3.9.2.4 In addition to the requirements in clause 3.9.2.1 

   calibration certificates normally include:

   

   a) a reference to the standard specification used or a brief 

   description of the method;

   

   b) the conditions (e.g. environmental) under which the 

   calibrations were made;

   

   c)   the uncertainty of measurement and/or a statement of 

   compliance with an identified metrological specification;

   

   d) a statement as to how traceability of measurement to 

   international/national standards is assured.

   

   3.9.2.5       When, in the case of calibration certificates, 

   parameter(s) are claimed to be within specified tolerances, 

   the measurement value(s), extended by the estimated 

   uncertainty of measurement, shall fall within the appropriate 

   specification limit.

   The calibration certificate shall relate only to metrological 

   quantities and the results of functional tests and shall 

   specifically state which clauses if not all of the 

   specification are met in the calibration certificate.

   

   When a statement of compliance with a specification is made, 

   omitting the measurement results and associated uncertainties, 

   the laboratory shall record those results and maintain them 

   for possible future reference. This is permitted only when the 

   item is not to be used for further calibrations.

   Notes

   -I A statement of compliance should only be made if the ratio 

   of the uncertainty of measurement to the specified tolerance 

   is reasonably small, e.g. 1:3.

   

   2 If the measurement value, extended by the measurement 

   uncertainty, exceeds the specified tolerance while the 

   measurement value itself falls within the tolerance, neither 

   compliance nor non-compliance can be proved. Only the 

   measurement results and the associated uncertainty can then be 

   given in the certificate without any statement of compliance.

   

   3.9.2.6 A calibration certificate shall not contain any 

   recommendation on the recalibration interval.

   Note

   Legal regulations supersede this requirement.



.......................................................................



   3.9.3 Professional judgement

   

   When professional judgements are included in a report, they 

   shall be clearly separated from the test results. The 

   laboratory must be able to show that it has documented the 

   basis upon which the professional judgement has been made if 

   such information is not included in the test report.

   Notes

   I Professional judgements included in a test report may 

   comprise:

   - opinion on conformity with respect to general requirements. 

   standards, specifications etc;

   -  fufilment of contractual specifications and technical 

   requirements;

recommendations on how to use the results;



        

   - validity of the results

   - guidance to be used for improvements (the laboratory is not 

   allowed to disclose confidential information obtained from 

   e.g. other clients).

   

   2 In many cases it might be better to communicate the 

   professional  judgement by direct dialogue with the client.

   3.9.4        Testing and results obtained from sub-contractors

   

   Where the test report contains results of tests performed by 

   sub-contractors, these results shall be clearly identified.

   where a calibration has been sub-contracted, the laboratory 

   performing the work shall issue the calibration certificate.

   

   3.9.5 Electronic transmission or results

   

   The laboratory shall ensure that, where clients require 

   transmission of test or calibration results by telephone, 

   telex, facsimile or other electronic or electromagnetic means, 

   personnel follow procedures that ensure that the requirements 

   of this Guide are met and that confidentiality is preserved.

   

   3.9.6        Lay-out or reports and certificates

   

   Attention shall be paid to the lay-out of the report or 

   certificate, especially with regard to the presentation of the 

   test or calibration data and ease of assimilation by the 

   reader. The format shall be designed to accommodate each type 

   of test or calibration carried out and to minimize the 

   possibility of misunderstanding or misuse. The headings shall 

   be standardized as far as possible.

   

   3.9.7        Amendments to reports and certificates

   

   Material amendments to a report or certificate after issue 

   shall be made only in the form of a further document, or data 

   transfer, which includes the statement "Supplement to Test 

   Report [or Calibration Certificate], serial number...[or as 

   otherwise identified]", or an equivalent form of wording. Such 

   amendments shall meet all the requirements of this Guide.

   

   Note

   It may be appropriate to issue a complete new report or 

   certificate. This report or certificate shall be uniquely 

   identified and normally contain a statement that it supersedes 

   Test Report....." or "Calibration Certificate nr .

   

   

   3.10 Records

   

   The laboratory shall retain on record original observations, 

   calculations and derived data, calibration records, staff 

   records, quality records (e.g. audit and review records) and a 

   copy of each test report (test certificate) or calibration 

   certificate issued, for a defined period (see also 3.9). The 

   records for each test or calibration shall contain sufficient 

   information to facilitate, if possible, identification of 

   factors affecting the uncertainty and enable the test or 

   calibration to be repeated under conditions as close as 

   possible to the original. The records shall include the 

   identity of personnel responsible for sampling, performance of 

   each test and/or calibration and checking of results.

   ).



   Annex 2 Guidance for establishing specific requirements for 

   laboratory competence

   

   

   1.1  The requirements set forth in the guide are stated in 

   general terms, and while they are applicable to all test and 

   calibration laboratories, amplification might be needed. Such 

   amplifications are herein referred to as specific 

   requirements.

   

   1.2  Specific requirements can be thought of as an elaboration 

   or interpretation of the generally stated criteria 

   (requirements) of this guide for certain field of tests and 

   calibrations, test technologies, products, materials or 

   specific tests or calibrations. Accordingly, specific 

   requirements must be established by persons having appropriate 

   technical knowledge and experience, and must address items 

   that are essential or most important for the proper conduct of 

   a test or calibration. Specific requirements must not include 

   new or additional requirements not included in the Guide.

   

   1.3  Depending on the application at hand it may be necessary 

   to establish specific requirements for the technical 

   requirements of this guide. Establishing specific requirements 

   may be accomplished by simply interpreting or adding extra 

   information to the already generally stated requirements in 

   each of the clauses e.g. specific limitations to the 

   temperature and humidity in the laboratory.

   

   In some cases the specific requirements will be quite limited, 

   applying only to a given test or calibration method or to a 

   group of cal ibration or test methods. In other cases the 

   specific requirements may be quite broad, applying to the 

   testing or calibration of various products or items or to 

   entire fields of testing or calibration.

   

   1.4   If the specific requirements apply to a group of test or 

   calibration methods in an entire technical field, common 

   language can be included for all of the methods.

   

   Alternatively, one may wish to develop a separate document of 

   specific requirements to supplement this guide for specific 

   types or groups of tests or calibrations, products, materials 

   or technical fields of tests or calibrations. Such a document 

   should provide only necessary supplementary information, 

   maintaining the guide as the governing document through 

   reference. Too specific amplifications or interpretations 

   should be avoided in order to limit the proliferation of 

   detailed documents.

   

   1.5  The guidance in this annex should be used by 

   accreditation bodies, or other types of evaluation bodies, 

   when developing specific requirements for their own purpose, 

   e.g. accreditation in specific areas.

   

�

        Annex 1

   REFERENCE TABLE

             ISO 9001   ISOIIEC Guide 25

                 1              1.1

                 2              mostly not applicable 1.2

                 3              1.3. but other scope

               4.1.1            2.1.2

              4.1.2.1           2.2.4 f,h and 3.1.4

              4.1.2.2           2.2.4 h and 3.4.4 and 2.12.1

              4.1.2.3           2.2.4 i

               4.1.3            2.1

              4.2.1/2           2.1.1/3

               4.2.3            2.1.1 (partly) and 2.11.1.1 and 3.3

                4.3             2.4

                4.4             2.10.1 and 3.0 and 3.3.2 and 3.3.3/4

                4.5             2.3 and 3.3.7

               4.6.1            2.5/6 and 3.4.1

               4.6.2            2.5

               4.6.3            2.6

              4.6.4.1           2.6 and 3.4.2

              4.6.4.2           2.5

                4.7             3.7

                4.8             3.7

                4.9             3.2 and 3.4/5

               4.10.1           3.3

               4.10.2           2.6 and 3.4.2 and 3.7.1/3

               4.10.3           3.7.4

               4.10.4           3.3.7.1 and 3.8 and 3.9.2.1.i.

               4.10.5           3.9

               4.11.1           3.3.1 and 3A.1/4 and 3.3.7 and 3.4.l0 and 3.5.I

              4.l1.2a           3.3.1 and 3.3.5.1 and 3.4.2

              4.I1.2b           3.4.2 and 3.5

             4.11.2 c           3.4.2 and 3.4.7 and 3.4.11

              4.11.2d           3.4.11

              4.11.2e           3.4.6

              4.11.2f           3.4.7

              4.11.2 g          3.2

              4.11.2 h          3.4.13 and 3.5.3.4 and 3.7

               4.11.i           3.4.14

                4.12            3.9.2.2e and 3.9.2.4 c

                4.13            2.8

               4.14.1           2.9/10

               4.14.2           2.9

               4.14.3           2.10

                4.15            3.7

                4.16            2.11 and 3.10

                4.17            2.9 and 2.12

                4.111           3.1.1/2 and 3.1.5(partly) and 3.4.4

                4.19            not applicable

                4.20            3.8

   

   Annex 2 

   Bibliography

   

   ISO 8402: 1994, Quality management and quality assurance - 

   Vocabulary.

   

   ISO 9000-1: 1994, Quality management and quality assurance 

   standards, Part 1: Guidelines for selection and use.

   

   ISO 9000-3: 1991, Quality management and quality assurance 

   standards, Part 3: Guidelines for the application of ISO 9001 

   to the development, supply and maintenance of software. 150 

   9001:1994, Quality systems - Model for quality assurance in 

   design, development, production, installation and servicing.

   

   150 9002: 1994, Quality systems - Model for quality assurance 

   in production, installation and servicing.

   

   150 9003: 1994, Quality assurance - Model for quality 

   assurance in final inspection and test.

   

   150 9004-1:1994, Quality management and quality system 

   elements, Part 1: Guidelines.

   

   ISO 90044: 1993, Quality management and quality system 

   elements, Part 4: Guidelines for quality improvement.

   

   ISO 10011-1:1990, Guidelines for auditing quality systems, 

   Part 1: Auditing

   

   150 10011-2:1991, Guidelines for auditing quality systems, 

   Part 2: Qualification criteria for quality system auditors

   

   150 10011-3:1991, Guidelines for auditing quality systems, 

   Part 3: Management of audit programmes

   

   ISO 10012-1: 1992, Quality assurance requirements for 

   measuring equipment, Part 1:

   metrological confirmation for measuring equipment.

   

   ISO 5725:1986, Precision of test methods - Determination of 

   repeatability and reproducibilitv for a standard test method 

   by interlaboratory tests.

   

   ISO Guide 30: 1992, Terms and definitions used in connection 

   with reference materials.

   

   ISO Guide 31: 1981, Contents of certificates of reference 

   materials.

   

   ISO Guide 32:1996, Calibration in analytical chemistry using 

   certified reference materials

   

   ISO Guide 33:1989, Uses of certified reference materials.

   

   ISO Guide 34: 1996, Quality systems guideline for the 

   production of reference materials.

   

   ISO Guide 35: 1989, Certification of reference materials - 

   General and statistical principles.



.......................................................................



Item Subject: g25d5.txt 9/3/96 10:59A

Draft - ISO/lEC Guide 25 (Published end August 1996) 







GENERAL REQUIREMENTS FOR THE COMPETENCE OF TESTING 



AND CALIBRATION LABORATORIES







Con tents







Introduction







Section 1: General







1.1	Scope



1.2	References



1.3	Definitions







Section 2: Management system requirements







2.1	Quality management system



2.2	Organization and management



2.3	Document and information control



2.4	Request, tender and contract review



2.5	Subcontracting of tests and calibrations



2.6	Procurement of services and supplies



2.7	Service to and feedback from customers



2.8	Control of nonconforming work



2.9	Corrective action



2.10	Preventive action



2.11	Records



2.12	Internal audits



2.13	Management reviews







Section 3: Technical requirements







3.1	Personnel



3.2	Accommodation and environmental conditions



3.3	Test and calibration methods



3.4	Equipment



3.5	Measurement traceability



3.6	Sampling



3.7	Handling of test and calibration items



3.8	Assuring the quality of test and calibration results



3.9	Reporting the results



3.10	Records







Annex 1: Cross-references between ISO/IEC Guide 25 and ISO 9001/2 (not yet included)



Annex 2: Guidance for establishing specific requirements for laboratory competence



Annex 3: Bibliography



�Introduction



Since ISO/IEC Guide 25 was last revised in 1990 the use of quality Systems in laboratories has greatly increased. Many countries have adopted the 1990 edition as a national standard, thus forming the basis both for establishing quality systems in laboratories and for recognizing their competence e.g. by accreditation. In recent years there were many developments in the field of quality assurance that it was felt necessary to revise ISOI/EC Guide 25 to reflect these changes.







This Guide should provide a mechanism for promoting confidence in testing and calibration laboratories that can show that they operate in accordance with its requirements.







Acceptance of testing and calibration results between countries will facilitate the removal of non-tariff barriers to trade.







The use of this Guide will facilitate cooperation between laboratories and other bodies to assist in the exchange of information and experience, and in the harmonization of standards and procedures.











SECTION 1: GENERAL











1.1  Scope







1.1.1 This Guide sets out the general requirements a laboratory, has to meet if it is to be recognized as competent to carry out tests and/or calibrations, including sampling. The Guide covers testing and calibration that is performed using methods that have been published, methods that a laboratory may use that are not covered by standard specifications and new methods that it has developed.







This Guide is applicable to all organizations performing tests and/or calibrations. These include for example first party, second party and third party laboratories, and laboratories where testing and/or calibration forms part of inspection and certification.







1.1.2	This Guide is applicable to all laboratories regardless of the number of personnel or the extent of the scope of testing and/or calibration activities.







It is recognized that some of the requirements of this Guide may not apply to all types of laboratory. Each laboratory must comply with all those requirements that enable it to demonstrate its competence.







1.1.3	The notes given provide clarification of the text, examples and guidance and do not form an integral part of the Guide.







1.1.4 Organizations granting recognition of laboratories will find it necessary to amplify or interpret certain requirements in this Guide to ensure that the requirements are applied in a consistent manner. Guidance for amplifying or interpreting requirements is given in Annex 2.







1.1.5 This Guide is for use by laboratories in developing their quality, administrative and technical systems that govern their operations. It is also for use by laboratory clients, regulatory authorities and accreditation bodies involved in confirming or recogn izing the competence of laboratories.





Notes



1 If a laboratory wishes accreditation for part or all of its testing and calibration activities it should select an accreditation body that operates in accordance with ISO/IEC Guide 58



2 When laboratories seek accreditation from a body operating in accordance with ISO/fEC Guide



58 the accreditation granted can only be for their competence to perform testing and/or calibration



services and can not include the competence of the laboratory to offer professional judgements,



opinions or interpretations based on the results obtained.







1.1.6 Laboratories that comply with the requirements of this Guide comply with the requirements of ISO 9001 or ISO 9002 for the scope of the testing and/or calibration services covered by their quality management system. Annex 1 gives cross-references between this Guide and 150 9001 and ISO 9002.







1.1.7 The requirements in this Guide are set out in two sections: a section specifying management system requirements and a section specifying technical requirements. A laboratory has to comply with the requirements in both of these sections if the quality management system it operates is to be complete and effective and if the laboratory is to be able to provide assurance of its competence and of the quality of its tests and/or calibrations.















Notes



It is the responsibility of the laboratory to carry out its testing and calibration activities in such a way as to meet the requirements of this Guide and to satisfy the needs of the client or an organization providing recognition.







1.1.8	It is the responsibility of the laboratory to comply with the relevant regulatory health and safety requirements. These requirements, however, are outside the scope of this Guide.







1.2 References







ISO/IEC Guide 2: 1996, General terms and their definitions concerning standardization and related activities.



ISO/IEC Guide 43: 1984, Development and operation of laboratory proficiency testing.







ISO/IEC Guide 58:1993, Calibration and testing laboratory accreditation systems - General requirements for operation and recognition.







International vocabulary of basic and general terms in metrology (VIM): 1993, issued by BIPM, IEC, IFCC, ISO, IUPAC, IUPAP and OIML.







Guide to the expression of uncertainty in measurement: 1993, issued by BIPM, [EC, IFCC, ISO, IUPAC, IUPAP and OIML (revised in 1995).



For further reading on related topics see annex 3.







1.3 Definitions







The relevant definitions from ISO/IEC Guide 2, and the International vocabulary of basic and general terms in metrology (VlM) are applicable. 





Note



ISO 8402 sets out the general definitions related to quality whereas ISO/fEC Guide 2 sets out the definition specifically related to laboratories, standardization and accreditation.

Where different definitions are given in these publications the definition in ISO/IEC Guide 2 and the VIM are preferred.







1.3.1 Best measurement capability: the smallest uncertainty of measurement a calibration laboratory can achieve for a stated calibration or type of calibration under specified laboratory conditions.



Note



In determining the best measurement capability it is assumed that the calibrated instrument behaves ideally.







1.3.2	Verification: Confirmation by examination and provision of objective evidence that specified requirements have been fulfilled (IS0 8402, without the notes).







Notes



1 In connection with the management of measuring equipment, verification provides a means of checking that the deviations between values indicated by a measuring instrument and corresponding known values are consistently smaller than the limits of permissible error defined in a standard, regulation or specification relevant to the management of the measuring equipment.



2 In connection with measurement traceability, the meaning of the terms "verification"  and  "verified " is that of a simplified calibration, giving evidence that specified metrological requirements including the compliance with given limits of error are met.



 



1.3.3	Professional judgement: the ability of a single person or a team to draw conclusions, give opinions and make interpretations based on measurement results, knowledge, experience, literature and other sources of information.







Note



Professional judgement does not cover evaluation, determination or assurance of conformity, which are contained in the ISO/IEC Guides for certification and inspection.







SECTION 2: MANAGEMENT SYSTEM REQUIREMENTS







2.1 Quality management system







2.1.1 The laboratory shall establish, implement and maintain a quality management system appropriate to the scope of its activities including the type, range and volume of testing and/or calibration activities it undertakes. The laboratory shall document all of its policies, systems, programmes, procedures, instructions and findings, to the extent necessary to enable the laboratory to assure the quality of the test and/or calibration results it generates. Documentation used in this quality management system shall be communicated to, understood by, available to and implemented by the appropriate personnel.







2.1.2 The laboratory shall identify the policies and objectives to be achieved by implementing the quality management system.

The laboratory management shall ensure that these policies and objectives are documented in a quality manual. The objectives shall be commonly set out in a quality policy statement in the quality manual assuring that the required degree of performance is obtained and maintained.





 The quality policy statement shall be issued under the authority of the chief executive. It should preferably be a concise statement an d shall include the following:



a) a statement of the laboratory's intentions with respect to the standard of service it will provide;







Note



Such a statement may include that tests and/or calibrations shall always be carried out in accordance with stated standard specifications and clients requirements.







b) the purpose of the quality management system;







c)	a requirement that all personnel concerned with testing and calibration activities within the laboratory familiarize themself with the quality documentation and implement the policies and procedures at all times;







d)	the laboratory's commitment to good professional practice and quality of its testing and calibrations in servicing its client.







2.1.3	The quality manual shall also describe or make reference to the quality management system and all technical procedures and outline the structure of the documentation used in the quality management system. The quality manual shall be maintained current.







2.1.4	The quality manual shall define the roles and responsibilities of technical management and the quality manager including their responsibility for ensuring compliance with this Guide.











2.2 Organization and management







2.2.1 The laboratory or the organization of which it is part shall be legally identifiable.







2.2.2	The laboratory shall be organized and shall operate in such a way that it meets all the applicable requirements of this Guide whether carrying Out work in its permanent facilities, at sites away from its permanent facilities or in associated temporary or mobile facilities,







2.2.3	If the laboratory is part of an organization performing activities other than testing and/or calibration, the responsibilities of all staff in the organization, that have an involvement or influence on the testing and/or calibration activities of the laboratory, shall be defined in order to identify potential conflicts of interest.







2.2.4 The laboratory shall







a)	have managerial personnel supported by technical personnel with the authority and resources needed to discharge their duties and to identify the occurrence of departures from the quality management system or the procedures for performing tests and/or calibrations and to initiate actions to prevent or minimise such departures;







have arrangements to ensure that its management and personnel are free from any commercial, financial and other internal and external pressures that may adversely affect the quality of their work;





Notes



I legal requirements may require that the laboratory shall be a third party laboratory.



2 A laboratory wish ing to be recognized as a third-party laboratory may need to produce documentary  evidence to show clients and other interested parties that it is not subjected to any  influence that may compromize its independence and impartiality.







c)	have policies and procedures to ensure the protection of its clients' confidential information and proprietary rights;







d) have policies and procedures to avoid involvement in any activities that might diminish confidence in its competence, impartiality, judgement or operational integrity;







e)	define, with the aid of organizational charts, the organization and management structure of the laboratory, its place in any parent organization, and the relations between management, technical operations, support services and the quality management system;







f)	specify the responsibility, authority and interrelationships of all personnel who manage, perform or verify work affecting the quality of the tests and/or calibrations;







g)	provide adequate supervision of testing and calibration staff including trainees by persons familiar with the test and/or calibration methods and procedures, the objective of each test and/or calibration, and the assessment of the test or calibration results;







h)	have technical management, which has overall responsibility for the technical operations and the provision of the resources needed to ensure the required quality of laboratory operations;







i) appoint a member of staff as quality manager (however named) who, irrespective of other duties and responsibilities, shall have defined responsibility and authority for ensuring that the requirements of this Guide are implemented and followed at all times. The quality manager shall have direct access to the highest level of management at which decisions are taken on laboratory policy or resources;







j)  where possible, appoint deputies for key managerial personnel such as the quality manager.







Note



In laboratories with a small number of personnel individuals may have more than one function and it may be impractical to appoint deputies for every function.











2.3 Document and information control







2.3.1 General







The laboratory shall establish and maintain procedures to control all documents (internally generated and from external sources) and information that forms part of its quality documentation. These may include documents of external origin such as regulations, standards, test and/or calibration methods and other normative documents, as well as drawings, specifications, instructions and manuals related to the items under test or calibration.

	









Note



In this context  "document" means any information or instructions including policy statements, text books, procedures, specifications, calibration tables, charts, posters, notices, memoranda, software, drawings, plans etc. These may be on various media whether hard copy or electronic and they may be digital, analogue, photographic or written.











2.3.2	Document approval and issue







2.3.2.1	All documents (including documented procedures) issued to personnel in the laboratory as part of the quality management system shall be reviewed and approved for use by authorized personnel prior to issue. A master list or equivalent identifying the current revision status of documents in the quality management system shall be established and be readily available to preclude the use of invalid and/or obsolete documents.







2.3.2.2  The procedures adopted shall also ensure that:



	a) authorized editions of appropriate documents are available at all locations where operations essential to the effective functioning of the laboratory are performed;







b)	documents are periodically reviewed and where necessary revised to ensure continuing suitability and compliance with applicable requirements;







c)	invalid or obsolete documents are promptly removed from all points of issue or use, or otherwise assured against unintended use;







d)	obsolete documents are retained for either legal or knowledge-preservation purposes are suitably marked.







2.3.2.3	All documents generated by the laboratory shall be uniquely identified, such identification to include the date of issue and/or the revision number, the total number of pages or a mark to signify the end of the document and the authority for issue.







2.3.3 Document changes







2.3.3.1	Changes to documents (including documented procedures) shall be reviewed and approved by the same function that performed the original review and approval unless specifically decided otherwise. The designated personnel shall have access to pertinent background information upon which to base their review and approval.



Where practible, the nature of the change shall be identified in the document or the appropriate attachments.







2.3.3.2	Where practicable, the nature of the change shall be identified in the document or the appropriate attachments.







2.3.3.3	If the laboratory's documentation control system allows for the amendment of documents by hand, pending the reissue of the documents, the procedures and authorities for such amendments shall be defined and shall ensure that amendments are initialled and dated. Documents amended by hand shall be marked, signed and dated and shall be formally reissued as soon as practicable.







2.3.3.4	 Procedures shall be established to describe how changes in documents maintained in computerized systems are made.







2.4 Request, tender or contract review







2.4.1	Each request, tender or contract for testing and/or calibration shall be reviewed by the laboratory to ensure that:







a)	 the requirements including the methods to be used are adequately defined, documented and understood (see 3.3.2);







b) the laboratory has the capability and resources to meet the requirements;







c) 	the contract is acceptable to the laboratory and agrees with the original version(s) of the request and/or tender that was reviewed as in (a) and (b) above;







d) test and/or calibration method selection..







Notes



1 The request, tender or contract review should be conducted in a practical and efficient manner, and the financial, legal and time schedule aspects should be taken into account.







2 "Capability" means that the laboratory possesses the necessary physical, intellectual and information resources and that the laboratory's personnel have the skills and expertise necessary for the performance of the tests and/or calibrations in question.



	The review of capability may include results of earlier participation in interlaboratory comparisons or proficiency testing and/or the running of trial test or calibration programmes using samples or items of known value in order to determine uncertainties of measurement, limits of detection, confidence limits etc.







3 A contract may be any written or verbal agreement to provide a client with testing and/or calibration services.







2.4.2	Records of such reviews including any changes shall be maintained. Records shall also be maintained of pertinent discussions with a clients relating to the client's requirements or the results of the work during the period of execution of the contract or request.







Note



For routine and other simple tasks the date and the initials of the person in the laboratory responsible for the contract are considered adequate. For repetitive routine tasks the review need only be made at the initial enquiry stage or on grant of the contract for on-going routine work performed under a general agreement with the client, provided that the client's requirements remain unchanged. For new, complex or advanced testing and/or calibration tasks a more comprehensive record should be maintained.







.2.4.3 The review shall include any work that has to be sub-contracted by the laboratory.



	



2.5  Sub-contracting of tests and calibrations







2.5.1The laboratory shall advise and seek the approval of the client in writing when it intends to sub-contract specific tests and/or calibrations or a part of a test and/or a calibration to another laboratory.







2.5.2 When a laboratory has to sub-contract work because of unforeseen circumstances, workload, large contracts or contracts requiring extra technical expertise, this shall be placed with a competent sub-contractor. The laboratory shall ensure and be able to demonstrate that its subcontractor is competent to perform the activities in question and complies with the same requirements as the laboratory itself with respect to the work being sub-contracted.











Note



The laboratory is always responsible for ensuring that a sub-contractor is competent. The sub-contracted laboratory should demonstrate compliance with the requirements of this Guide for the sub-contracted tests.



2.5.3 The laboratory shall maintain a register of all sub-contractors that it uses for tests and/or calibrations and a record of the assessments it has made of them and of all sub-contracted tests and/or calibrations.







2.6 Procurement of services and supplies







2.6.1 The laboratory shall have policies and procedures for the selection of services and supplies required by the laboratory and that effect the quality of the tests and/or calibrations.







2.6.2 The laboratory shall use only those services and supplies that are of adequate quality to sustain confidence in the results of tests and/or calibrations.







2.6.3 When no formal approval of the quality of services and supplies is available, the laboratory shall have procedures to ensure that purchased materials and services comply with specified requirements and records of actions taken shall be maintained.







2.6.4 The laboratory shall ensure that purchased equipment and consumable materials are not used until they have been inspected, calibrated or otherwise verified as complying with standard specifications or requirements defined in the methods for the tests and/or calibrations concerned. As a part of the verification, calibration, control and monitoring as well as maintenance programmes should be established. Procedures shall exist for the purchase, reception and storage of consumable materials relevant for the tests and calibrations.



Note



The laboratory should maintain records of the main suppliers from whom it obtains services and supplies required for tests and/or calibrations. These records should include any quality assurance approval the suppliers hold.



2.7 Service to and feedback from the client







2.7.1 The laboratory shall afford clients or representatives cooperation to enable to clarify the client's request and to monitor the performance of the laboratory in relation to the work performed.





Notes



I Such cooperation may include:



a) affording the client or his representative access to relevant areas of the laboratory, for the witnessing of tests and/or calibrations performed for the client. It is understood that such access shall by no means come into conflict with rules of confidentiality of work for other clients and with safety;



b) preparation, packaging, and dispatch of test and/or calibration items needed by the client for verification purposes.



2 clients value ease in establishing contacts, advice and guidance in technical performance, rapid execution of the work, interpretation of and recommendations based on achieved results.

Contact with the client. especially in large assignments, should be maintained throughout the work. The laboratory should inform the client of any delays in the performance of the tests and/or calibrations.







2.7.2 The laboratory shall have a policy and procedures for the resolution of complaints or other feedback received from clients or other parties. Records shall be maintained of all complaints and of the investigations and corrective actions taken by the laboratory.







Note



Laboratories are encouraged to obtain feedback from their clients, preferably in a systematic way (e.g. client surveys).

Feedback includes both positive and negative feedback. The feedback should be used to improve the quality management system, testing and calibration activities and client service.











2.8 Control of nonconforming testing and/or calibration work







2.8.1 The laboratory shall have a policy and procedures that shall be implemented when it establishes that any aspect of its testing and/or calibration work, or the results of this work, do not conform with its own procedures or the agreed requirements of the client. The policy and procedures shall ensure that:







a)	responsibilities and authorities for the management of nonconforming work are designated;







b)	the actions to be taken when nonconforming work is identified are defined;







c)	an evaluation of the significance of the nonconforming work is made;







d)	work is halted and reports and certificates withheld as necessary;







e)	remedial actions are taken immediately, together with any decisions about the acceptability of the nonconforming work;







f)	where necessary, the results of nonconforming work already released to clients are recalled;







g)	       the responsibility for authorization of the resumption of work is defined.



	



Note



The identification of nonconforming work or problems with the quality management system or with testing and/or calibration activities can occur at various places within the quality management system such as: customer complaints, quality control, instrument calibration, checking of consumable materials, staff observations or supervision, report and certificate checking, management reviews and internal or external audits.







2.8.2 Where the evaluation indicates that the nonconforming work could recur or that there is doubt about the laboratory's compliance with its own policies and procedures, the corrective action procedures in 2.9 shall be promptly followed to identify the root causes of the problem and to eliminate these causes.











2.9 Corrective action







2.9.1 General







The laboratory shall establish a policy and procedures and shall designate appropriate authorities for implementing corrective action when nonconforming work or departures from the policies and procedures in the quality management system have been identified.







Any corrective action taken to eliminate the causes of nonconformances or other departures shall be to a degree appropriate to the magnitude of the problems and commensurate with the risks encountered.







The laboratory shall document and implement any required changes to the operational procedures resulting from corrective action investigations.







Note



A problem with the quality management system or with the technical operations of the laboratory may be identified through a variety of activities within the quality management system as control of nonconforming work. Internal or external audits, management reviews, feedback from clients or staff observations.







2.9.2 Cause analysis







Corrective action procedures shall include an investigation process to determine the root causes of  the problem.



Notes



I This is sometimes the most difficult but the key part in the corrective action procedure.



 2 Often the root cause is not obvious and thus a careful analysis of all potential causes of the problem is required.

Potential causes could include, inter alia, the samples. client requirements, sample specifications, methods and procedures, staff skills and training, consumable materials, or equipment and its calibration.







2.9.3	Corrective actions







The laboratory shall identify possible causes and potential corrective actions. It shall select the actions most likely to eliminate the problem and to prevent it recurring.2.9.4	Monitoring of corrective actions







After having implemented the action plans, the laboratory shall monitor the results to ensure that have been effective in overcoming the problems originally identified.







2.9.5 Special audits







Where the identification of nonconformances or departures casts doubts on the laboratory's compliance with its own policies and procedures, or on its compliance with this Guide, the laboratory shall ensure that the appropriate areas of activity are promptly audited in accordance with clause 2.12.







Note



Such special audits often folIow the implementation of the corrective actions to confirm their effectiveness.







2.9.6 The results of corrective actions shall be submitted for management review (clause 2.13).











2.10  Preventive action







2.10.1 All operational procedures shall be systematically reviewed at regular intervals to identify any potential sources of nonconformances and any opportunities for improvement, either technical or with the quality management system. Action plans shall be developed, implemented and monitored, to reduce the likelihood of occurrence of such nonconformances and to take advantage of the improvement opportunities.







Notes







I Preventive action is a pro-active process to identify improvement opportunities, rather than a reaction to the identification of problems or complaints.



2 TQM tools such as brainstorming, flowcharting, mind mapping and pareto charts will assist this process.







2.10.2  After the implementation of preventive actions, the laboratory shall monitor the results to establish any reduction in deficiences or other improvements in this operational area, thereby establishing the effectiveness of the preventive action.







2.10.3 The results of preventive actions shall be submitted for management review (clause 2.13).







2.11 Records







2.11.1 General







2.11.1.1 The laboratory shall establish and maintain procedures for identification, collection, indexing, access, storage, maintenance and disposition of quality and technical records (see also 3.10).



	�Notes



I Quality records are records providing objective evidence of the extent of the fulfilment of the requirements for quality or the effectiveness of the operation of the quality management system. 



They include, eg reports from internal audits and management reviews and corrective and preventive action records.



2 Technical records are accumulations of data and information which result from carrying out tests and/or calibrations and which indicate whether specified quality or process parameters are achieved. They include forms, contracts, work sheets, work books, check sheets, work notes, control graphs, calibration reports/certificates, clients' notes, papers and feedback, reports and certificates to clients.



3 The laboratory shall ensure that it has recorded such information that might be needed in a future dispute situation.







2.11.1.2 All records shall be legible and shall be stored and retained in such a way that they are readily retrievable in facilities that provide a suitable environment to prevent damage or deterioration and to prevent loss. Retention times of records shall be established and recorded.







Note



Records may be in the form of any type of media, such as hard copy, or electronic media.







2.11.1.3  All records shall be held secure and in confidence to the client.







2.11.1.4 The laboratory shall have procedures to protect data held on computers at all times and to prevent unauthorized access to or amendment of data on computers.







2.11.2 Technical records







2.11.2.1 The laboratory shall, when sampling is within the scope of responsibilities of the laboratory, have procedures for recording and reporting relevant data and operations relating to sampling that forms part of the testing or calibration that is undertaken.







Note



These records shall include the sampling procedure used, the identification of the sampler, environmental conditions and the diagrams or other equivalent means to identify the sampling location as necessary and if appropriate the statistics the sampling procedures are based upon.







2.11.2.2	All observations and calculations shall be clearly and permanently recorded at the time they are made. When mistakes occur in records such as observations or calculations, each mistake shall be crossed out, not erased, made illegible nor deleted, and the correct value entered alongside. All such alterations to records shall be signed by the person making the correction. In the case of computer-collected data similar measures shall be taken to avoid loss or change of original data.







2.12 Internal audits







2.12.1 The laboratory shall periodically and in accordance with a predetermined schedule and procedure conduct internal audits of its activities to verify that its operations continue to comply with the requirements of the quality management system and this Guide. The internal audit programme shall address all elements of the quality management system, including the testing and/or calibration activities. It is the responsibility of the quality manager to plan and organise audits as required by the schedule and requested by management. Such audits shall be carried out by trained and qualified personnel who are, wherever resources permit, independent of the activity to be audited.



Personnel shall not audit their own activities except where it is necessary and it can be demonstrated that an effective audit has been carried out.







Note



The schedule for internal auditing should normally be completed in one year.







2.12.2 	When audit findings cast doubt on the effectiveness of the operations or on the correctness or validity of the laboratory's test or calibration results, the laboratory shall take timely corrective action and shall notify, in writing, clients whose work may have been affected.







2.12.3 	All audit findings and corrective actions that arise from them shall be recorded. The laboratory management shall ensure that these actions are discharged within an appropriate and agreed timescale.











2.13 Management reviews







2.13.1	The senior management of the laboratory shall periodically conduct a review of the laboratory's quality management system and testing and/or calibration activities to ensure their continuing suitability and effectiveness and to introduce any necessary changes or improvements. The review shall take account of reports from managerial and supervisory personnel, the outcome of recent internal audits, assessments by external bodies, the results of interlaboratory comparisons or proficiency tests, any changes in the volume and type of the work undertaken, feedback from clients, including complaints and other relevant factors.







Note



A typical period for conducting a management review is once every 12 months. Results should feed into the corporate planning programme and should include the goals and objectives and action plans for the coming year.







2.13.2	 Findings from management reviews and the actions that arise from them shall be recorded. The management shall ensure that those actions are discharged within an appropriate and agreed timescale.











SECTION 3: TECHNICAL REQUIREMENTS







3.0 General







This section describes the requirements a laboratory has to meet in order to be able to demonstrate that it is technically competent for the type of tests and/or calibrations it undertakes.



Many factors determine the correctness and reliability of the tests and/or calibrations performed by a laboratory. These factors include contributions from human factors (3.1), accommodation and environmental conditions (3.2), test and calibration methods and method validation (3.3), equipment (3.4), measurement traceability (3.5), sampling (3.6), and handling of test and calibration items (3.7). The extent to which they contribute to the total measurement uncertainty differs considerably from test to test and from calibration to calibration. The laboratory shall take account of these factors in developing test and calibration methods and procedures, in the training and qualification of personnel and in the selection and calibration of the equipment it uses.



3.1 Personnel







3.1.1 The laboratory management shall ensure that all personnel who operate specific equipment, that perform tests and/or calibrations and to make professional judgements are competent.

When using staff undergoing training, appropriate supervision shall be arranged.







3.1.2 The management  of the laboratory shall formulate the quality goals with respect to the education and the skills of the laboratory. The laboratory shall have a policy and procedures for identifying training needs and providing training of personnel. The training programme shall be oriented on present and future tasks of the laboratory. Personnel performing specific tasks shall be qualified on the basis of appropriate education, training, experience and/or skills, as required.







Note



In some technical areas (eg non-destructive testing) it is necessary that the personnel performing certain tasks hold person certification. The laboratory is responsible for fulfilling sectoral personnel certification requirements. The requirements for personnel certification might be regulatory or might be included in the standards for the specific technical field.







3.1.3 The laboratory shall normally use personnel who are permanently employed by, or under contract to the laboratory.

Where additional personnel are used, the laboratory shall ensure that such personnel are supervised and that the work they do does not put at risk the laboratory's compliance with the requirements of this Guide.







3.1.4 The laboratory shall have job descriptions for managerial personnel and technical personnel involved in tests and/or calibrations.







Note



Job descriptions can be defined in many ways. As a minimum the responsibilities with respect to



- performing tests and/or calibrations;



- planning of tests and/or calibrations and evaluation of results;



-method modification and development and validation of new methods;



-professional judgement;



- managerial duties



shall be defined.











3.1.5 The management shall authorize personnel to perform particular types of sampling, test and/or calibration, to issue test reports and calibration certificates and to operate particular types of equipment, or to make professional judgement. The laboratory shall maintain records of the relevant competence, educational and professional qualifications, training and experience of all technical personnel. This information shall be readily available and shall include the date authorization and/or competence is confirmed.







3.1.6 The personnel making professional judgement with reference to testing and/or calibration shall have applicable theoretical and practical background and also recent experience. They must have integrity and a good reputation.









Note



The professional judgement can be expressed as opinions, interpretations, predictions, simulations and models, values etc.



 



3.2  Accommodation and environmental conditions







3.2.1	Laboratory facilities for testing and/or calibration, including but not limited to energy sources, lighting and environmental conditions, shall be such as to facilitate correct performance of tests and/or calibrations.



The environment in which the sampling, tests and/or calibrations are undertaken shall not invalidate the results or adversely affect the required quality of any measurement. Particular care shall be taken when sampling, tests and/or calibrations are undertaken at sites other than a permanent laboratory facility.







3.2.2 The laboratory shall have procedures for checking that the environment does not adversely affect the performance of sampling, test and/or calibration equipment.







3.2.3 The laboratory shall monitor, control and record environmental conditions as required by relevant specifications or where they may influence the quality of the results. Due attention shall be paid, for example, to biological sterility, dust, electromagnetic interference, radiation, humidity, electrical supply, temperature, and sound and vibration levels, as appropriate to the technical activities concerned. Tests and calibrations shall be stopped when the environmental conditions jeopardize the results of the tests and/or calibrations.







3.2.4	 There shall be effective separation between neighbouring areas in which there are incompatible activities. Measures shall be taken to prevent cross-contamination.







3.2.5 Access to and use of areas affecting the quality of the tests and/or calibrations shall be controlled -







3.2.6	Measures shall be taken to ensure good housekeeping in the laboratory. Special procedures may be necessary.











3.3 Test and calibration methods







3.3.1 General







The laboratory shall use appropriate methods and procedures for all tests and/or calibrations within its scope, including sampling, handling, transport, storage and preparation of items to be tested and/or calibrated, and, where appropriate, an estimation of the measurement uncertainty as well as statistical techniques for analysis of test and/or calibration data.







The laboratory shall have instructions on the use and operation of all relevant equipment, and on the handling and preparation of items for testing and/or calibration, or both, where the absence of such instructions could jeopardize the results of tests and/or calibrations. All instructions, standards, manuals and reference data relevant to the work of the laboratory shall be maintained up-to-date and be made readily available to personnel.







Note



International, regional or national standards or other recognized specifications that contain sufficient and concise information to perform the tests aud/or calibrations, need not to be rewritten as internal procedures if these standards are written in a way that they can be used by the operating staff in a laboratory.



	



3.3.2 Selection of methods







The laboratory shall use test and/or calibration methods, including those for sampling, which meet the needs of the client and which are appropriate for the tests and/or calibrations it undertakes; preferably those published as international, regional or national standards. The laboratory shall ensure that it uses the latest edition of the standard unless it is not appropriate or possible to do so. When necessary the standard shall be supplemented with additional details to ensure consistent application.



When the client does not specify the method to be used, the laboratory shall select appropriate methods that have been published either in international, regional or national standards, or by reputable technical organizations, or in relevant scientific texts or journals. In-house methods may also be used if they are appropriate for the intended use.



The laboratory shall inform the client when the method proposed by the client is considered to be inappropriate or out-of-date.



3.3.3  Methods not covered by standard specifications







When it is necessary to employ methods not covered by standard specifications, these shall be subject to agreement with the client and shall include a clear specification of the requirements and the objectives of the test and/or calibration.

The method developed shall be validated as necessary before use, and be available for examination by the client and other authorized recipients of the relevant reports.







Note



Test and/or calibration methods and procedures should normally be produced prior to the tests and/or calibrations being performed and contain at least the following information:



- scope;



- description of the type of item to be tested or calibrated;



- parameters or quantities to be determined;



- the apparatus, equipment, reference standards and reference materials required;



- the environmental conditions required and any stabilization period needed;



-	description of the procedure, including



-	affixing identification marks, handling, transporting, storing and preparing items



-	checks to be made before the work is started



-	checking that the equipment is working properly and, where required, calibrating  and adjusting the equipment before each use



-	method of recording the observations and results



-	the safety measures to be observed;



- criteria and/or standards for approval/rejection;



- data to be recorded and method of analysis and presentation;



- procedure for estimating uncertainty.







3.3.4 Validation of methods







3-3.4.1	The laboratory shall verify that it can properly operate methods in standard specifications before carrying out such work for clients.







3.3.4.2 The laboratory shall validate standard, non-standard and new test and/or calibration methods to confirm that the methods are suitable for the intended use. The validation shall be as extensive as is necessary to meet the needs in the given application or field of application. The laboratory shall record the results obtained and the procedure used for the validation.





3.3.4.3 The suitability of the method may be checked and confirmed by comparing the method with specified requirements typical for the intended use. The range and accuracy of the values obtainable from this method (e.g. the uncertainty of the results, detection limit, selectivity of the method. linearity, limit of repeatability and/or reproducibility, robustness against external influences and/or cross-sensitivity against interference from the matrix of the sample/test object) as assessed for the intended use shall be relevant to the customers needs.







Notes







1 The techniques used for the validation of a method should be one or a combination of the following: calibration using references or reference materials, comparison of results achieved with other methods, interlaboratory comparisons, systematic assessment of the factors influencing the result, assessment of the uncertainty of the results based on scientific understanding of the theoretical principles of the method and practical experience.



2 The aim of the validation of test and calibration methods should be to demonstrate that the method is fit for the intended purpose and that the results have an acceptable uncertainty. The validation should provide information about the representativeness, repeatability and reproducibility of the test and calibration method as well as of the influence of instrumental, human and environmental factors on the uncertainty of the results.



3 Validation is always a balance between costs, risks and technical possibilities.







3.3.4.4. A validation shall be completed by a statement by the laboratory that the method is fit for the intended use.







3.3.5 Estimation of measurement uncertainty







3.3.5.1 A calibration laboratory shall have a procedure to estimate the measurement uncertainty for all calibrations and all types of calibrations. For testing laboratories this requirement applies whenever the client requires uncertainties of measurement for specific tests or when the uncertainty is likely to adversely affect compliance with a specification.











3.3.5.2 When estimating the uncertainty of the results of tests and calibrations all uncertainty components which are of importance in the given situation shall be taken into account using appropriate methods of analysis. Sources contributing to the uncertainty include the reference standards and reference materials used, methods and equipment used, the environmental conditions, the condition of the item being tested or calibrated and the operator.



Notes



I The predicted long-term behaviour of the tested and/or calibrated item is normally not taken into account when estimating the measurement uncertainty.



2 For further information see ISO 5725 and the Guide to the Expression of Uncertainty in Measurement (See 1.3).







3.3.6 Best measurement capability







3.3.6.1 A calibration laboratory shall have procedures to calculate its best measurement capability. These calculations shall be available for specified ranges and for all quantities/measurements in its scope.





Note



The best measurement capability is normally smaller than the actual uncertainty of measurement due to the non-ideal behaviour of the calibrated item.







3.3.6.2 For test laboratories the requirement in clause 3.3.6.1 applies whenever the client requires uncertainties of measurement for specific tests or when the uncertainty is likely to adversely affect compliance with a specification.







3.3.7 Control of data







3.3.7.1 Calculations and data transfers shall be subject to appropriate checks in a systematic manner.







3.3.7.2 When computers or automated equipment are used for the capture, processing, recording, reporting, storage or retrieval of test or calibration data, the laboratory shall ensure that:







a) computer software including any software built into equipment is documented in sufficient detail and suitably validated or otherwise checked as adequate for use;







b)procedures are established and implemented for protecting the integrity of data; such procedures shall include, but not be limited to, integrity of data entry or collection, data storage, data transmission and data processing;







c) computers and automated equipment are maintained to ensure proper functioning and provided with the environmental and operating conditions necessary to maintain the integrity of test and calibration data.







Note



For purchased software documentation from the, manufacturer's validation (preferably according to ISO 9000-3) can be used by the laboratory.











3.4. Equipment







3.4.1 The laboratory shall be furnished with all items of sampling, measurement and test equipment required for the correct performance of the tests and/or calibrations (including sampling, preparation of test and/or calibration items, processing and analysis of test and/or calibration data). In those cases where the laboratory needs to use equipment outside its permanent control, it shall ensure that the requirements of this Guide are met.







3.4.2	Equipment shall be capable of achieving the accuracy required and shall comply with specifications relevant to the tests and/or calibrations concerned. Calibration programmes shall be established for key quantities or values of the instruments where these properties have a significant effect on the results. Equipment shall be checked against the purchase order to establish that it meets the laboratory's specification requirements, complies with the relevant standard specifications, and is calibrated and/or verified in accordance with clause 3.5 before use.







3.4.3 All equipment having a significant effect on the uncertainty of the result and used for sampling, including that used for any measurements carried out in connection with the sampling shall comply with the relevant standard specifications and/or procedures.







3.4.4  Equipment shall be operated by competent and authorized personnel. Up-to-date instructions on the use and maintenance of equipment (including any relevant manuals provided by the manufacturer of the equipment) shall be readily available for use by the laboratory personnel.







3.4.5 Each item of equipment shall. when appropriate, be uniquely labelled, marked or otherwise identified.







3.4.6 Records shall be maintained of each item of equipment significant to the tests and/or calibrations performed. The records shall include at least the following:







a) the identity of the item of equipment;







b) the manufacturer's name, type identification, and serial number or other unique identification;







c) date received and date placed in service;







d) current location, where appropriate;







e) condition when received (e.g. new, used, reconditioned);







f) the manufacturer's instructions, if available or reference to their location;







g) dates, results and copies of reports and certificates of all calibrations and/or verifications, adjustments, the acceptance criteria, and due date of next calibration and/or verification;



h) maintenance carried out to date and that planned for the future;



i) damage, malfunction, modification or repair to the equipment.







3.4.7 Equipment shall be protected from deterioration and abuse and shall be maintained regularly to ensure proper functioning.



Maintenance procedures shall be established. Equipment that has either been subjected to overloading or mishandling, or gives suspect results, or has been shown by verification or use to be defective, shall be taken out of service, clearly labelled or marked and appropriately stored until it has been repaired and shown by calibration, verification or test to perform correctly.

The laboratory shall examine the effect of this defect on previous tests and/or calibrations and institute "Control of nonconforming work" procedure.







3.4.8 Whenever practicable, all equipment under the control of the laboratory, and requiring calibration or verification shall be labelled, coded or otherwise identified to indicate the status of calibration or verification and the date when recalibration or reverification is due.







3.4.9 When, for whatever reason, equipment goes outside the direct control of the laboratory for a period, the laboratory shall ensure that the function and calibration status of the equipment are checked and shown to be satisfactory before the equipment is returned to service.







3.4.10	When computers or automated test or calibration equipment are used for the collection, processing, recording, reporting, storage or retrieval of test and/or calibration data the laboratory shall ensure that the requirements of clause 3.3.7 of this Guide are met.



3.4.11 	If checks are needed to maintain confidence in the calibration/verification status of the equipment these checks shall be carried out periodically according to a defined procedure..





�



3.4.12	 Where calibrations give rise to a set of correction factors the laboratory shall have procedures to ensure that any copies e.g. in computer software are correctly updated.







3.4.13 	The laboratory shall have procedures for safe handling, transport, storage and use of measuring equipment in order to prevent contamination or deterioration.







Note



Special procedures may be necessary when measuring equipment is used on site for tests, calibrations or sampling.







3.4.14  Test and calibration equipment, including both hardware and software, shall be safeguarded from adjustments which would invalidate the test and/or calibration results.







3.5. Measurement traceability







3.5.1 General







All equipment used for tests and/or calibrations, including equipment for subsidiary measurements (for example for environmental conditions) having a significant effect on the accuracy or validity of the result of the test, calibration or sampling shall be calibrated or verified before being put into service. The laboratory shall have an established programme and procedure for the calibration and verification of its equipment, including the use of reference materials and reference standards.







3.5.2 Specific requirements







3.5.2.1 Calibration laboratories







For calibration laboratories the programme for calibration and verification of equipment shall be designed and operated so as to ensure that calibrations and measurements made by the laboratory are traceable to the SI units of measurement or by reference to a natural constant.













Notes



1 Calibration laboratories fulfilling the requirements of this Guide are considered to be competent



2 Traceability to the SI units of measurement may be achieved by direct or indirect reference to a primary standard which realizes an SI unit in accordance with its definition, and having the highest metrological qualities, or by reference to a natural constant the value of which in terms of the relevant SI unit is known and recommended by the General Conference of Weights and Measures (CGPM).







Traceability of measurement shall be assured by the use of calibration services from laboratories that can demonstrate traceability and competence. The calibration certificates issued by these laboratories shall show that there is a link to a primary standard or by reference to a natural constant realizing the SI unit by an unbroken chain of calibrations. They shall contain the measurement results including the measurement uncertainty and/or a statement of compliance with an identified metrological specification







Note



The term identified metrological specification means that it must be clear from the calibration certificate against which specification the measurements have been compared by including the specification or by giving an unambiguous reference to the specification.







The terms "international standard" or "national standard" are sometimes used in connection with traceability. It is assumed that these standards fulfil the properties of primary standards for the realization of SI units.







3.5.2.2 Testing laboratories







3.5.2.2.1	For testing laboratories, the requirements given in 3.5.2.1 apply for measuring and test equipment used, unless it is established that the associated calibration uncertainty contributes very little to the total measurement uncertainty of the test result. When this situation arises the laboratory must ensure that equipment used can provide the accuracy of measurement needed.







Note



The extent to which the requirements in 3.5.2.1 should be followed depends on the relative contribution of calibration uncertainty to the total testing or measurement uncertainty. If calibration is a dominant factor the requirements should be strictly followed . If, however, calibration is not one of the major contributors to the total uncertainty other ways for providing confidence may be used as given below.







3.5.2.2.2	Where traceability to the SI units of measurement is not possible and/or not relevant, other means for providing confidence in the results shall be applied such as the following:







a)  participation in a suitable programme of interlaboratory comparisons or proficiency testing;







b) the use of suitable reference materials, certified to indicate the characterization of the material;



c) testing or calibration by another method;



d) ratio or reciprocity-type measurements;







e) mutual consent standards or methods which are clearly specified and mutually agreed upon by all parties concerned.







3.5.3 Reference standards and reference materials







3.5.3.1	Reference standards







The laboratory shall have a programme and procedure for the calibration and verification for its reference standards.

Reference standards of measurement shall be calibrated by a body that can provide traceability as described in 3.5.2.1. Reference standards of measurement held by the laboratory shall be used for calibration only and for no other purpose, unless it can be shown that their performance as reference standards will not be invalidated.



	



3.5.3.2 Reference materials







Reference materials shall, where possible, be traceable to SI units of measurement, or to international or national certified reference materials. Where traceable reference materials are not available or in the case of secondary external standards, the internal reference materials shall be verified as far as technically and economically practicable.







3.5.3.3 Intermediate checks







If checks are needed to maintain confidence in the cal ibration/verification status of the equipment, reference, primary, transfer or working standards and reference materials these checks shall be carried out periodically according to a defined procedure..

3.5.3.4 Transport and storage







The laboratory shall have procedures for safe handling, transport, storage and use of reference standards and reference materials in order to prevent contamination or deterioration.







Note



Special procedures may be necessary when reference standards and reference materials are used on site for tests, calibrations or sampling.







3.6 Sampling







3.6.1 The laboratory shall have procedures for sampling when it carries Out sampling of substances, matrices, materials or products that it subsequently tests or calibrates in the laboratory or on site. They shall include a sampling plan as well as a sampling procedure and shall be available at the location where sampling is undertaken.







Note



Sampling is a defined procedure whereby a part of a substance, matrix, material or product is taken to provide, for testing or calibration, a representative sample of the whole or as required by the appropriate specification for which the substance, matrix, material or product is to be tested or calibrated.



A sampling plan is defined as a planned procedure of allocation, withdrawal and preparation of a sample or samples from a substance, matrix, material or product to yield the required information.







3.6.2 Where the client requires deviations, additions or exclusions from the documented sampling procedure used by the laboratory, these shall be recorded in detail with the appropriate sampling data and in all documents containing test and/or calibration results.











3.7 Handling of test and calibration items







3.7.1 The laboratory shall have procedures for the receipt, handling, protection and retention or disposal, of test and/or calibration items, including all provisions necessary to protect the integrity of the laboratory.







3.7.2 The laboratory shall have a coordinated system for identifying test and/or calibration items. The identification shall be retained throughout the life of the item in the laboratory. The system shall be designed and operated so as to ensure that items cannot be confused, physically or when referred to in records or other documents.







 The system shall, if appropriate, accommodate a sub-division of groups of items, or the transfer of items within and from the laboratory.







3.7.3 Upon receipt of the test or calibration item, any abnormalities or departures from normal or specified conditions as described in the relevant test or calibration method, shall be recorded. When there is any doubt as to the suitability of an item for test or calibration, or when an item does not conform to the description provided, or the test or calibration required is not specified in sufficient details, the laboratory shall consult the client for further instruction before proceeding.



The laboratory shall establish whether the item has received all necessary preparation, or whether the client requires preparation to be undertaken or arranged by the laboratory.







3.7.4 The laboratory shall have procedures and appropriate facilities for avoiding deterioration or damage to the test or calibration item during storage, handling, preparation and test or calibration; instructions provided with the item shall be followed. When items have to be stored or conditioned under specified environmental conditions, these conditions shall be maintained, monitored and recorded. Where a test or calibration item or portion of an item is to be held secure (e.g. for reasons of record, safety or value, or to enable complementary tests and/or calibrations to be performed later), the laboratory shall have arrangements for storage and security that protect the condition and integrity of the secured items or portions concerned.







Note



Where test items are to be returned into service after testing, e.g. for non-destructive testing or patients for medical or radiological tests, special care is required to ensure that they are not damaged or injured during the handling, testing or storing/waiting processes.











3.8 Assuring the quality of test and calibration results







In addition to periodic internal audits, the laboratory shall ensure the quality of results by monitoring test and/or calibration results. This monitoring shall be planned and reviewed and may include but not be limited to







a) internal quality control schemes using statistical techniques;







b) participation in interlaboratory comparison or proficiency testing programmes;







c) regular use of certified reference materials and/or in-house quality control using secondary reference materials;







d) replicate tests or calibrations using the same or different methods;







e)  re-testing or re-calibration of retained items;







f) correlation of results for different characteristics of an item.  



Note



The selected methods should be appropriate for the type and volume of the work undertaken.



	



3.9 Reporting the results







3.9.1 General







The results of each test, calibration, or series of tests or calibrations carried out by the laboratory shall be reported accurately, clearly, unambiguously and objectively, and in accordance with any specific instructions in the test or calibration methods.



The results shall normally be reported in a test report (sometimes called test certificate) or a calibration certificate and should include all the information requested by the client and necessary for the interpretation of the test or calibration results and all information required by the method used. This information is normally that required by clause 3.9.2 of this Guide.







Notes



1 The report or certificate may be issued as hard copy or by electronic data transfer provided that the requirements of this Guide are met.



2 In the case of in-house tests or calibrations, and in the case of a written agreement with the client, the results may be reported in a simplified way. The information required in clause 3.9.2, and not reported, shall be readily available in the laboratory which has carried out the tests and/or calibrations.



3 laboratories should include the information in 3.9.2 in all reports and certificates unless the client or laboratory has exceptional reasons for not doing so.







3.9.2. Test reports and calibration certificates







3.9.2.1 Each test report or calibration certificate shall normally include at least the following information:







a) a title, e.g. "Test Report' or "Calibration Certificate';







b) name and address of laboratory, and location where the tests and/or calibrations were carried out if different from the address of the laboratory;







c) unique identification of the report or certificate (such as serial number) and of each page, the total number of pages and the date of issue;







d) name and address of the client placing the order;







e) description and unambiguous identification of the item(s) tested or calibrated;







f) date of receipt of test or calibration item(s) and date(s) of performance of test or calibration, as appropriate;







g) test or calibration results;







h) reference to sampling procedures used by the laboratory where these are relevant to the validity or application of the results;







i) the name(s), title(s) and signature(s) or equivalent identification of person(s) authorizing the report or certificate;







j) where relevant, a statement to the effect that the results relate only to the items tested or calibrated.�



Note



laboratories are recommended to include a statement that the report or certificate shall not be reproduced except in full, without written approval of the laboratory.







3.92.2 In addition to the requirements in clause 3.9.2.1 test reports shall normally include:







a) characterization and condition of the test item(s);







b)	identification of the test method(s) used, or unambiguous brief description of any nonstandard method used;







c) identification of the standard(s) or specification(s) relevant to the test method or procedure;







d)	deviations from, additions to or exclusions from the test method, and information on specific test conditions, such as environmental conditions;







e) where relevant, a statement of compliance/non compliance with design or performance specifications;







f) where applicable, a statement on the estimated uncertainty of the test result.







Note



Information on uncertainty is needed in test reports when it is relevant to the validity or application of the. test results, when a client's instruction so requires or when uncertainty affects compliance to a specification limit.







3.9.2.3 	In addition to the requirements in clause 3.9.2.1, test reports containing the results of sampling normally include:







a) date of sampling;







b)	unambiguous identification of substance, matrix, material or product sampled (including name of manufacturer, model or type of designation and serial numbers as appropriate);



c) location of sampling, including any diagrams, sketches or photographs;



d) reference to sampling plan used;



e)	details of any environmental condition during sampling that may affect the interpretation of the test results;







f) reference to sampling method or procedure used;



g) any standard or other specification for the sampling method or procedure, and deviations, additions to or exclusions from the specification concerned.







3.9.2.4 In addition to the requirements in clause 3.9.2.1 calibration certificates normally include:







a) a reference to the standard specification used or a brief description of the method;







b) the conditions (e.g. environmental) under which the calibrations were made;







c)	the uncertainty of measurement and/or a statement of compliance with an identified metrological specification;







d) a statement as to how traceability of measurement to international/national standards is assured.







3.9.2.5	 When, in the case of calibration certificates, parameter(s) are claimed to be within specified tolerances, the measurement value(s), extended by the estimated uncertainty of measurement, shall fall within the appropriate specification limit.



The calibration certificate shall relate only to metrological quantities and the results of functional tests and shall specifically state which clauses if not all of the specification are met in the calibration certificate.







When a statement of compliance with a specification is made, omitting the measurement results and associated uncertainties, the laboratory shall record those results and maintain them for possible future reference. This is permitted only when the item is not to be used for further calibrations.









Notes



-I A statement of compliance should only be made if the ratio of the uncertainty of measurement to the specified tolerance is reasonably small, e.g. 1:3.







2 If the measurement value, extended by the measurement uncertainty, exceeds the specified tolerance while the measurement value itself falls within the tolerance, neither compliance nor non-compliance can be proved. Only the measurement results and the associated uncertainty can then be given in the certificate without any statement of compliance.







3.9.2.6 A calibration certificate shall not contain any recommendation on the recalibration interval.



Note



Legal regulations supersede this requirement.







3.9.3 Professional judgement







When professional judgements are included in a report, they shall be clearly separated from the test results. The laboratory must be able to show that it has documented the basis upon which the professional judgement has been made if such information is not included in the test report.



Notes



I Professional judgements included in a test report may comprise:



- opinion on conformity with respect to general requirements.

standards, specifications etc;



-  fufilment of contractual specifications and technical requirements;



recommendations on how to use the results;



	



- validity of the results



- guidance to be used for improvements (the laboratory is not allowed to disclose confidential information obtained from e.g.

other clients).







2 In many cases it might be better to communicate the professional  judgement by direct dialogue with the client.



3.9.4	Testing and results obtained from sub-contractors







Where the test report contains results of tests performed by sub-contractors, these results shall be clearly identified.



where a calibration has been sub-contracted, the laboratory performing the work shall issue the calibration certificate.







3.9.5 Electronic transmission or results







The laboratory shall ensure that, where clients require transmission of test or calibration results by telephone, telex, facsimile or other electronic or electromagnetic means, personnel follow procedures that ensure that the requirements of this Guide are met and that confidentiality is preserved.







3.9.6	Lay-out or reports and certificates







Attention shall be paid to the lay-out of the report or certificate, especially with regard to the presentation of the test or calibration data and ease of assimilation by the reader.

The format shall be designed to accommodate each type of test or calibration carried out and to minimize the possibility of misunderstanding or misuse. The headings shall be standardized as far as possible.







3.9.7	Amendments to reports and certificates







Material amendments to a report or certificate after issue shall be made only in the form of a further document, or data transfer, which includes the statement "Supplement to Test Report [or Calibration Certificate], serial number...[or as otherwise identified]", or an equivalent form of wording. Such amendments shall meet all the requirements of this Guide.







Note



It may be appropriate to issue a complete new report or certificate. This report or certificate shall be uniquely identified and normally contain a statement that it supersedes Test Report....." or "Calibration Certificate nr .











3.10	Records







The laboratory shall retain on record original observations, calculations and derived data, calibration records, staff records, quality records (e.g. audit and review records) and a copy of each test report (test certificate) or calibration certificate issued, for a defined period (see also 3.9). The records for each test or calibration shall contain sufficient information to facilitate, if possible, identification of factors affecting the uncertainty and enable the test or calibration to be repeated under conditions as close as possible to the original. The records shall include the identity of personnel responsible for sampling, performance of each test and/or calibration and checking of results.



).

Annex 2 Guidance for establishing specific requirements for laboratory competence











1.1	The requirements set forth in the guide are stated in general terms, and while they are applicable to all test and calibration laboratories, amplification might be needed. Such amplifications are herein referred to as specific requirements.







1.2	Specific requirements can be thought of as an elaboration or interpretation of the generally stated criteria (requirements) of this guide for certain field of tests and calibrations, test technologies, products, materials or specific tests or calibrations. Accordingly, specific requirements must be established by persons having appropriate technical knowledge and experience, and must address items that are essential or most important for the proper conduct of a test or calibration.

Specific requirements must not include new or additional requirements not included in the Guide.







1.3	Depending on the application at hand it may be necessary to establish specific requirements for the technical requirements of this guide. Establishing specific requirements may be accomplished by simply interpreting or adding extra information to the already generally stated requirements in each of the clauses e.g. specific limitations to the temperature and humidity in the laboratory.







In some cases the specific requirements will be quite limited, applying only to a given test or calibration method or to a group of cal ibration or test methods. In other cases the specific requirements may be quite broad, applying to the testing or calibration of various products or items or to entire fields of testing or calibration.







1.4	 If the specific requirements apply to a group of test or calibration methods in an entire technical field, common language can be included for all of the methods.







Alternatively, one may wish to develop a separate document of specific requirements to supplement this guide for specific types or groups of tests or calibrations, products, materials or technical fields of tests or calibrations. Such a document should provide only necessary supplementary information, maintaining the guide as the governing document through reference. Too specific amplifications or interpretations should be avoided in order to limit the proliferation of detailed documents.







1.5	The guidance in this annex should be used by accreditation bodies, or other types of evaluation bodies, when developing specific requirements for their own purpose, e.g. accreditation in specific areas.



Annex 1



REFERENCE TABLE



          ISO 9001 	ISOIIEC Guide 25



              1		1.1



              2		mostly not applicable 1.2



              3		1.3. but other scope



            4.1.1		2.1.2



           4.1.2.1	2.2.4 f,h and 3.1.4



           4.1.2.2	2.2.4 h and 3.4.4 and 2.12.1



           4.1.2.3	2.2.4 i



            4.1.3		2.1



           4.2.1/2	2.1.1/3



            4.2.3		2.1.1 (partly) and 2.11.1.1 and 3.3



             4.3		2.4



             4.4		2.10.1 and 3.0 and 3.3.2 and 3.3.3/4



             4.5		2.3 and 3.3.7



            4.6.1		2.5/6 and 3.4.1



            4.6.2		2.5



            4.6.3		2.6



           4.6.4.1	2.6 and 3.4.2



           4.6.4.2	2.5



             4.7		3.7



             4.8		3.7



             4.9		3.2 and 3.4/5



            4.10.1	3.3



            4.10.2	2.6 and 3.4.2 and 3.7.1/3



            4.10.3	3.7.4



            4.10.4	3.3.7.1 and 3.8 and 3.9.2.1.i.



            4.10.5	3.9



            4.11.1 	3.3.1 and 3A.1/4 and 3.3.7 and 3.4.l0 and 3.5.I



           4.l1.2a	3.3.1 and 3.3.5.1 and 3.4.2



           4.I1.2b	3.4.2 and 3.5



          4.11.2 c	3.4.2 and 3.4.7 and 3.4.11



           4.11.2d	3.4.11



           4.11.2e	3.4.6



           4.11.2f 	3.4.7



           4.11.2 g	3.2



           4.11.2 h	3.4.13 and 3.5.3.4 and 3.7



            4.11.i	3.4.14



             4.12		3.9.2.2e and 3.9.2.4 c



             4.13		2.8



            4.14.1	2.9/10



            4.14.2	2.9



            4.14.3	2.10



             4.15		3.7



             4.16		2.11 and 3.10



             4.17		2.9 and 2.12



             4.111      3.1.1/2 and 3.1.5 (partly) and 3.4.4



             4.19		not applicable



             4.20		3.8



Annex 2 



Bibliography

ISO 8402: 1994, Quality management and quality assurance - Vocabulary.

ISO 9000-1: 1994, Quality management and quality assurance standards, Part 1: Guidelines for selection and use.

ISO 9000-3: 1991, Quality management and quality assurance standards, Part 3: Guidelines for the application of ISO 9001 to the development, supply and maintenance of software. 150 9001:1994, Quality systems - Model for quality assurance in design, development, production, installation and servicing.

1S0 9002: 1994, Quality systems - Model for quality assurance in production, installation and servicing.

150 9003: 1994, Quality assurance - Model for quality assurance in final inspection and test.

150 9004-1:1994, Quality management and quality system elements, Part 1: Guidelines.

ISO 90044: 1993, Quality management and quality system elements, Part 4: Guidelines for quality improvement.

ISO 10011-1:1990, Guidelines for auditing quality systems, Part 1: Auditing

150 10011-2:1991, Guidelines for auditing quality systems, Part 2: Qualification criteria for quality system auditors

150 10011-3:1991, Guidelines for auditing quality systems, Part 3: Management of audit programmes

ISO 10012-1: 1992, Quality assurance requirements for measuring equipment, Part 1:

metrological confirmation for measuring equipment.

ISO 5725:1986, Precision of test methods - Determination of repeatability and reproducibilitv for a standard test method by interlaboratory tests.

ISO Guide 30: 1992, Terms and definitions used in connection with reference materials.

ISO Guide 31: 1981, Contents of certificates of reference materials.

ISO Guide 32:1996, Calibration in analytical chemistry using certified reference materials

ISO Guide 33:1989, Uses of certified reference materials.

ISO Guide 34: 1996, Quality systems guideline for the production of reference materials.

ISO Guide 35: 1989, Certification of reference materials - General and statistical principles.




