## Sheet1
Required for Presciptive Compliance
Whole House Fan Requirements
Air flow cf/s.f. | Conditioned Area s.f. | Total Required Airflow cfm | Required Attic Vent 1 s.f / 750 cfm /.9
1.5 | 2745 | 4117.5 | 6.1
Supplied Venting
Vent | Area | Quantity | Check Tot.>Req'd
14x24 | 2.3333 | 3 | 7
Required attic net Free Area Assumes screened and louvered metal metal vent.