AV Team
How To Set Up A Basic Lighting System
Accessed 30/03/2007

How to Set Up a Basic Light System at AY Jackson SS
What You’ll Need
	Equipment

	Strand 24-channel lighting console
	[image: image1.jpg]



[image: image2.jpg]{5
&

.':':':l: l:l:':::l:':':::':l:i.:
L LT RNy ol o B e B B B B B B B





* NOTE: Make sure that the power supply is in the case with the lighting board. *

	Cables

	1-socket extension cord (1)
	[image: image3.jpg]




	6-socket power bar (1)
	[image: image4.jpg]



* NOTE: You should probably use the same power bar as your audio equipment is connected to. *

	DMX cable
	[image: image5.jpg]





What You Need to Do

Firstly, go to the lighting cage (picture below) and make sure that each circuit is programmed to the correct channel. To do this, get the circuit number for a light that you wish to program. Grab the white slider in the cage. Move the slider until the black line is lined up with the channel on the board that will control the light. Then release the slider. Note that any circuits programmed on channel 18 will always be on (once the master power for the lighting is turned on), regardless of the level of channel 18’s slider or the master slider on the lighting console. Next, what you need to do is connect your DMX cable. Connect the male end (the end with the 5 pins) to the third spot away from the power switch on the lighting console. Then connect the other end to the DMX connection inside the lighting cage. Now plug in your power supply, and have Mr. Bradley open up the back room in the caf to turn on the power supply for the lights. You will know for sure if the power is on because if so, the red light under the “high voltage” sticker will be on. You are now ready to turn on the console. The power switch is on the back of the board. Wait until the “Running self test” message on the console’s LCD display has gone away, and turn up the master fader and the individual faders for each channel. If you see light, you have set everything up properly! Now you’re ready to run the show.
[image: image6.jpg]



Taking Down the Equipment

First, press the blackout button to make the lights go out. Then you can turn off the lighting console and unplug it. Put the board into the case, along with the power supply. Then unplug your cable from the cage, coil it using the proper half-turn method. Bring this back to the AV office when you go. Lock up the cage and turn off the power for the lights (if the room is locked, have Mr. Bradley open it for you). You can now bring the equipment back to the AV office, and then you’re done.

