Biomedical Instrumentation Techniques: A Survey
U.G.Rakesh  

     U.G. Swapna
Abstract
The paper presents a survey of the various biomedical                                                     techniques of scanning and imaging. Techniques such as Nuclear Magnetic Resonance, Computed Tomography, Microtomography, Ultrasonography, Positron Emission Tomography are delineated. A comparative analysis is also presented. 
Introduction

2.2. Nuclear Magnetic Resonance

Magnetic resonance imaging (MRI) is the newest, and perhaps most versatile, medical imaging technology available. Doctors can get highly refined images of the body's interior without surgery, using MRI. By using strong magnets and pulses of radio waves to manipulate the natural magnetic properties in the body, this technique makes better images of organs and soft tissues than those of other scanning technologies. MRI is particularly useful for imaging the brain and spine, as well as the soft tissues of joints and the interior structure of bones. The entire body is visible to the technique, which poses few known health risks.[4] 
Magnetic resonance imaging (MRI) scanners rely on the principles of atomic nuclear-spin resonance. Using strong magnetic fields and radio waves, MRI collects and correlates deflections caused by atoms into images. MRIs (magnetic resonance imaging tests) offer relatively sharp pictures and allow physicians to see internal bodily structures with great detail. Using MRI technology, physicians are increasingly able to make diagnosis of serious pathology (e.g., tumors) earlier, and earlier diagnosis often translates to a more favorable outcome for the patient.
Nuclear magnetic resonance (NMR) is a physical phenomenon based upon the quantum mechanical magnetic properties of an atom's nucleus. NMR also commonly refers to a family of scientific methods that exploit nuclear magnetic resonance to study molecules ("NMR spectroscopy").

All nuclei that contain odd numbers of protons and/or neutrons have an intrinsic magnetic moment and angular momentum, in other words a spin > 0. The most commonly measured nuclei are 1H (the most NMR-sensitive isotope after unstable 3H) and 13C, although nuclei from isotopes of many other elements (e.g. 2H, 10B, 11B, 14N, 15N, 17O, 19F, 23Na, 29Si, 31P, 35Cl, 113Cd, 195Pt) are used in NMR spectroscopy as well.

NMR resonant frequencies for a particular substance are directly proportional to the strength of the applied magnetic field, in accordance with the equation for the Larmor precession frequency. The scientific literature as of 2008 includes NMR spectra at magnetic fields in a large range: from ~ 100 nT up to ~ 20 T. Large magnetic fields are often preferred since this goes parallel with an increased sensitivity. Other methods to increase the NMR signal strength include hyperpolarization techniques.

NMR studies magnetic nuclei by aligning them with an applied constant magnetic field and perturbing this alignment using an alternating magnetic field, those fields being orthogonal. The resulting response to the perturbing magnetic field is the phenomenon that is exploited in NMR spectroscopy and magnetic resonance imaging, which use very powerful applied magnetic fields in order to achieve high spectral resolution, details of which are described by the chemical shift and the Zeeman effect.

Description

In essence, MRI produces a map of hydrogen distribution in the body. Hydrogen is the simplest element known, the most abundant in biological tissue, and one that can be magnetized. It will align itself within a strong magnetic field, like the needle of a compass. The earth's magnetic field is not strong enough to keep a person's hydrogen atoms pointing in the same direction, but the superconducting magnet of an MRI machine can. This comprises the "magnetic" part of MRI.

Once a patient's hydrogen atoms have been aligned in the magnet, pulses of very specific radio wave frequencies are used to knock them back out of alignment. The hydrogen atoms alternately absorb and emit radio wave energy, vibrating back and forth between their resting

(magnetized) state and their agitated (radio pulse) state. This comprises the "resonance" part of MRI.

The MRI equipment records the duration, strength, and source location of the signals emitted by the atoms as they relax and translates the data into an image on a television monitor. The state of hydrogen in diseased tissue differs from healthy tissue of the same type, making MRI particularly good at identifying tumors and other lesions. In some cases, chemical agents such as gadolinium can be injected to improve the contrast between healthy and diseased tissue.

A single MRI exposure produces a two-dimensional image of a slice through the entire target area. A series of these image slices closely spaced (usually less than half an inch) makes a virtual three-dimensional view of the area.

Magnetic resonance spectroscopy (MRS) is different from MRI because MRS uses a continuous band of radio wave frequencies to excite hydrogen atoms in a variety of chemical compounds other than water. These compounds absorb and emit radio energy at characteristic frequencies, or spectra, which can be used to identify them. Generally, a color image is created by assigning a color to each distinctive spectral emission. This comprises the "spectroscopy" part of MRS. MRS is still experimental and is available in only a few research centers.

Doctors primarily use MRS to study the brain and disorders, like epilepsy, Alzheimer's disease, brain tumors, and the effects of drugs on brain growth and metabolism. The technique is also useful in evaluating metabolic disorders of the muscles and nervous system.

Magnetic resonance angiography (MRA) is another variation on standard MRI. MRA, like other types of angiography, looks specifically at fluid flow within the blood (vascular) system, but does so without the injection of dyes or radioactive tracers. Standard MRI cannot make a good picture of flowing blood, but MRA uses specific radio pulse sequences to capture usable signals. The technique is generally used in combination with MRI to obtain images that show both vascular structure and flow within the brain and head in cases of stroke, or when a blood clot or aneurysm is suspected.

Regardless of the exact type of MRI planned, or area of the body targeted, the procedure involved is basically the same and occurs in a special MRI suite. The patient lies back on a narrow table and is made as comfortable as possible. Transmitters are positioned on the body and the cushioned table that the patient is lying on moves into a long tube that houses the magnet. The tube is as long as an average adult lying down, and the tube is narrow and open at both ends. Once the area to be examined has been properly positioned, a radio pulse is applied. Then a two-dimensional image corresponding to one slice through the area is made. The table then moves a fraction of an inch and the next image is made. Each image exposure takes several seconds and the entire exam will last anywhere from 30-90 minutes. During this time, the patient is not allowed to move. If the patient moves during the scan, the picture will not be clear.

Depending on the area to be imaged, the radio-wave transmitters will be positioned in different locations.

· For the head and neck, a helmet-like hat is worn.

· For the spine, chest, and abdomen, the patient will be lying on the transmitters.

· For the knee, shoulder, or other joint, the transmitters will be applied directly to the joint.

Additional probes will monitor vital signs (like pulse, respiration, etc.).

The process is very noisy and confining. The patient hears a thumping sound for the duration of the procedure. Since the procedure is noisy, music supplied via earphones is often provided. Some patients get anxious or panic because they are in the small, enclosed tube. This is why vital signs are monitored and the patient and medical team can communicate between each other. If the chest or abdomen are to be imaged, the patient will be asked to hold his/her breath as each exposure is made. Other instructions may be given to the patient, as needed. In many cases, the entire examination will be performed by an MRI operator who is not a doctor. However, the supervising radiologist should be available to consult as necessary during the exam, and will view and interpret the results sometime later.

— Kurt Richard Sternlof
2.2. Computed Tomography (CT)

CT is a medical imaging method employing tomography. Digital geometry processing is used to generate a three-dimensional image of the inside of an object from a large series of two-dimensional X-ray images taken around a single axis of rotation. The word "tomography" is derived from the Greek tomos (slice) and graphein (to write).

Computed tomography was originally known as the "EMI scan" as it was developed at a research branch of EMI, a company best known today for its music and recording business. It was later known as computed axial tomography (CAT or CT scan) and body section röntgenography.

CT produces a volume of data which can be manipulated, through a process known as windowing, in order to demonstrate various structures based on their ability to block the X-ray/Röntgen beam. Although historically (see below) the images generated were in the axial or transverse plane (orthogonal to the long axis of the body), modern scanners allow this volume of data to be reformatted in various planes or even as volumetric (3D) representations of structures.

Although most common in medicine, CT is also used in other fields, such as nondestructive materials testing. Another example is the DigiMorph project at the University of Texas at Austin which uses a CT scanner to study biological and paleontological specimens.

2.3. Positron Emission Tomography

Positron emission tomography (PET) is a nuclear medicine imaging technique which produces a three-dimensional image or picture of functional processes in the body. The system detects pairs of gamma rays emitted indirectly by a positron-emitting radionuclide (tracer), which is introduced into the body on a biologically active molecule. Images of tracer concentration in 3-dimensional space within the body are then reconstructed by computer analysis. In modern scanners, this reconstruction is often accomplished with the aid of a CT X-ray scan performed on the patient during the same session, in the same machine.

If the biologically active molecule chosen for PET is FDG, an analogue of glucose, the concentrations of tracer imaged then give tissue metabolic activity, in terms of regional glucose uptake. Although use of this tracer results in the most common type of PET scan, other tracer molecules are used in PET to image the tissue concentration of many other types of molecules of interest.

2.4. Medical Ultrasonography

Diagnostic sonography (ultrasonography) is an ultrasound-based diagnostic imaging technique used to visualize subcutaneous body structures including tendons, muscles, joints, vessels and internal organs for possible pathology or lesions. Obstetric sonography is commonly used during pregnancy and is widely recognized by the public. There are a plethora of diagnostic and therapeutic applications practiced in medicine.

In physics the term "ultrasound" applies to all acoustic energy with a frequency above human hearing (20,000 hertz or 20 kilohertz). Typical diagnostic sonographic scanners operate in the frequency range of 2 to 18 megahertz, hundreds of times greater than the limit of human hearing. The choice of frequency is a trade-off between spatial resolution of the image and imaging depth: lower frequencies produce less resolution but image deeper into the body.

2.5. Microtomography

Microtomography, like tomography, uses x-rays to create cross-sections of a 3D-object that later can be used to recreate a virtual model without destroying the original model. The term micro is used to indicate that the pixel sizes of the cross-sections are in the micrometer range. This also means that the machine is much smaller in design compared to the human version and is used to model smaller objects.

These scanners are typically used for small animals (in-vivo scanners), biomedical samples, foods, microfossils, and other studies for which minute detail is desired.

The first X-ray microtomography system was conceived and built by Jim Elliott in the early 1980s. The first published X-ray microtomographic images were reconstructed slices of a small tropical snail, with pixel size about 50 micrometers.

3.A Comparison Picture
MRI appears to offer several advantages over CT in the evaluation of extremity soft tissue tumors [1].
“Computed tomography (CT) has made a dramatic impact in radiotherapy treatment planning. Although, CT provides geometrically precise scans, it gives less information about the soft tissues, in comparison to magnetic resonance imaging (MR). The high sensitivity of MR to variations in tissue proton density and in T 1 and T 2 relaxation times can be of value for radiotherapy imaging in central nervous system lesions. Magnetic resonance imaging (MRI) provides excellent contrast resolution, easy multiplanar imaging and absence of artifacts. Because of the absence of bone artifacts, as seen on CT, MRI is superior for imaging the lesions at the vertex, in the posterior fossa, near the walls of the middle fossa and at the base of the skull . CT is superior to MRI for detecting meningioma but requires contrast enhancement. Both MRI and contrast-enhanced CT are effective in defining pituitary tumors, but MRI may provide more information about the precise extent of the lesions and their effect on adjacent structures. In many instances, the sensitivity of MRI exceeds that of CT. Though CT - MR fusion is the standard imaging technique for radiotherapy treatment planning for brain tumors, many centers still use CT alone.”[2.]

“MRI vs CT

A computed tomography (CT) scanner uses X-rays, a type of ionizing radiation, to acquire its images, making it a good tool for examining tissue composed of elements of a relatively higher atomic number than the tissue surrounding them, such as bone and calcifications (calcium based) within the body (carbon based flesh), or of structures (vessels, bowel). MRI, on the other hand, uses non-ionizing radio frequency (RF) signals to acquire its images and is best suited for non-calcified tissue. 

CT may be enhanced by use of contrast agents containing elements of a higher atomic number than the surrounding flesh (iodine, barium). Contrast agents for MRI are those which have paramagnetic properties. One example is gadolinium. 

Both CT and MRI scanners can generate multiple two-dimensional cross-sections (slices) of tissue and three-dimensional reconstructions. Unlike CT, which uses only X-ray attenuation to generate image contrast, MRI has a long list of properties that may be used to generate image contrast. By variation of scanning parameters, tissue contrast can be altered and enhanced in various ways to detect different features. (See Application below.) 

MRI can generate cross-sectional images in any plane (including oblique planes). CT was limited to acquiring images in the axial (or near axial) plane in the past. The scans used to be called Computed Axial Tomography scans (CAT scans). However, the development of multi-detector CT scanners with near-isotropic resolution, allows the CT scanner to produce data that can be retrospectively reconstructed in any plane with minimal loss of image quality. 

For purposes of tumor detection and identification, MRI is generally superior<ref>Magnetic resonance and computerized tomography of posterior cranial fossa tumors in childhood. Differential diagnosis and assessment of lesion extent][Article in Italian] Colosimo C, Celi G, Settecasi C, Tartaglione T, Di Rocco C, Marano P. (1995) Radiol Med (Torino) 90(4):386-395</ref><ref>The clinical and radiological evaluation of primary brain neoplasms in children, Part II: Radiological evaluation. Allen ED, Byrd SE, Darling CF, Tomita T, Wilczynski MA. (1993) J Natl Med Assoc. 85(7):546-553</ref><ref>Computed tomography versus magnetic resonance imaging of the brain. A collaborative interinstitutional study. Deck MD, Henschke C, Lee BC, Zimmerman RD, Hyman RA, Edwards J, Saint Louis LA, Cahill PT, Stein H, Whalen JP. (1989) Clin Imaging 13(1):2-15</ref>. However, CT usually is more widely available, faster, much less expensive, and may be less likely to require the person to be sedated or anesthetized.” [3]

4. Conclusions

References
1. A E Chang, Y L Matory, A J Dwyer, S C Hill, M E Girton, S M Steinberg, R H Knop, J A Frank, D Hyams, J L Doppman, et al.,  Magnetic Resonance Imaging versus Computed Tomography in the Evaluation of Soft Tissue Tumors of the Extremities
	Annals of Surgery 1987 April; 205(4): 340–348. 
	PMCID: PMC1492735


2. R Prabhakar, KP Haresh, T Ganesh, RC Joshi, PK Julka, GK Rath, Comparison of Computed Tomography and Magnetic Resonance based Target Volume in Brain Tumors, Journal of Cancer Research and Therapeutics, Vol. 3(2),  2007, pp. 121-123
3. http://www.wiki.cn/wiki/Magnetic_resonance_imaging
4. http://www.answers.com/topic/magnetic-resonance-imaging
5. 
