
[image: image1.png]



WHITESHELL CAMPUS

OF THE

DEEP RIVER SCIENCE ACADEMY
Report on the research completed during the 1998 Academy Term
Cation Exchange Capacity 

of 

Rocks and Mineral Infillings
by

Michael Kuo
Research conducted in partnership with

Atomic Energy of Canada Limited

Whiteshell Laboratories

Pinawa, Manitoba R0E 1L0

Abstract

AECL have made a proposal for the burial of Canada’s nuclear waste in the granite rock of the Canadian Shield. A very important component of this proposal is to be able to understand the ability of rock to remove the radionuclides from the groundwater if radioactive materials were to enter water when the disposal vault leaks.

The aims are to find the influences of surface area on Cation Exchange Capacity (CEC) and determine if altered rocks have a different CEC than unaltered rocks. For that, five samples of unfractured rocks, fractured rocks, and one unaltered grey granite have been analyzed for their CEC to gain a further understanding of how ion exchange could occur underground, the basic ideas of which could be applied to radionuclides. Two ion-exchange of leaching procedures (CH3COONH4 and KCl leachings) were used to determine CEC and these gave reasonable results. Ca 2+ is the principal ion exchanged in three of the six samples. Also, the results show that the surface area does not affect CEC too much, whereas mineral infillings in the rocks seem to have a great influence on CEC. 

These CEC results may be suitable for use in modeling the ion exchange for other investigations in the future.

i
List of Tables
Page
1.       Description of rock samples from the URL for CEC





2

2.    Deviation and mean for rock samples in one of the four meshes




9

3.1     Analytical data for determination of cation exchange capacity (Leach 1)



16

3.2     Analytical data for determination of cation exchange capacity (Leach 1)



17
3.3     Analytical data for determination of cation exchange capacity (Leach 2)



18
4.       Calculation of surface area








19

ii
List of Figures

1.            Page

2.      Nalgene disposable plastic filter







20

3.      Filtering apparatus









21

4.      The ion exchange chromatograph (block diagram)





22

5.      Example of a chromatogram (Leach 1 standard solution)





23

6.      Cation exchange capacity of rock for various rocks and mesh sizes (Leach 1)


24

7.      Cation exchange capacity of rock for various rocks and mesh sizes (Leach 2)


25

8.      CEC vs. size fraction for Ben 








26

9.      CEC vs. surface area. for Stan








27

10.      CEC vs. surface area for Chad







28
iii

Table of Contents

          Page

Abstract










i
List of Tables










ii
List of Figures










iii
1.  Introduction









1
2.1  2.    Materials and Methods








2

2.2  Rock selection








2

2.2.1  Rock crushing and sieving







2

2.2.2  Apparatus








2

2.3  Methods








2

2.3.1  Rock filtering 








3

2.3.1.1  Water wash








4

2.3.1.2  Apparatus







4

2.3.1.3  Reagent







4

2.3.2  Methods







4

2.3.2.1  CH3COONH4 and KCl rinses






4

2.3.2.2  Apparatus







4

2.3.2.3  Reagents







4

2.4  Methods







4

2.4.1  Ion exchange chromatograph







6

2.4.2  Apparatus








6

2.4.3  Reagents 








6

2.4.4  Methods  








6

2.4.5  Calculations               






7

3.1  3.    Data Processing                                                                                                     


8

3.2  Data selection                                                                                           


8

3.3  Data graphing                                                                                          


8

4.    Results and Discussions                                                                                     


8

4.1 CEC versus size fraction for each cation in Leach 1                                  


9

4.2 CEC versus size fraction for each sample in Leach 2                                   


10

4.3 Comparison for Leach 1 and Leach 2                                                         


10

5.    Conclusion                                                                                                            


12

Recommendations                                                                                                       


13

Acknowledgments                                                                                                       


14

References                                                                                                                   


15

Tables and Figures                                                                                                      


16

_962793511.unknown

