PITCH PERCEPTION USING VIRTUAL CHANNELS 
Oguz Poroy and Philip C. Loizou
University of Texas at Dallas, Richardson, TX 75083
The performance of cochlear implant (CI) users is limited mainly by two factors: The amount of information that can be delivered by the electrical stimulation of the cochlea, and the amount of information that can be received by the user. The maximum amount of spectral information that can be delivered by a CI system depends primarily on the number of electrodes in the implant. In this study, we investigated whether it is possible to increase the amount of spectral information delivered for a given number of electrodes.


Electrode interaction is the undesirable effect, where the electrical stimuli sent to two electrodes interact to distort the intended perception. It may be possible, however, to exploit electrode interaction and deliver additional information by stimulating two neighboring electrodes in a suitable manner. It is hypothesized that if two neighboring electrodes are stimulated simultaneously, the user will perceive a pitch that is between the two pitches perceived when the two electrodes are stimulated individually. Thus, a ‘virtual electrode’ or a ‘virtual channel’ can be generated, which corresponds to a frequency band in-between the frequency bands of the two individual electrodes.

This hypothesis was tested in experiments with subjects implanted with the six-electrode Ineraid array. Pairs of neighboring electrodes were stimulated with a 50 ms burst of pulses. Each pair was stimulated with five different ratios of amplitudes (4:0, 3:1, 2:2, 1:3, and 0:4). The stimuli were balanced for loudness prior to each experiment. Initial results indicated that, for each pair of electrodes, the subjects were able to perceive five different pitches, corresponding to the five amplitude ratios presented to them. The subjects reported that the different pitches were more distinct for the apical pairs of electrodes than for the basal pairs.

Research supported by Grant No. R01 DC03421 from NIH-NIDCD.

 [loizou@utdallas.edu]

Corresponding author:

Philip C. Loizou, PhD

Department of Electrical Engineering       

University of Texas at Dallas

P.O.Box 830688, EC33

Richardson, TX 75083-0688

Phone : (972) 883-4617

FAX   : (972) 883-2710

E-mail: loizou@utdallas.edu
