	Vacuum Filtration


	

	[image: image1.png]




	[image: image2.png]



Vacuum filtration is a technique for separating a solid product from a solvent or liquid reaction mixture. The mixture of solid and liquid is poured through a filter paper in a Buchner funnel. The solid is trapped by the filter and the liquid is drawn through the funnel into the flask below, by a vacuum. 
[image: image3.png]





	

	Setting up and performing a vacuum filtration


	[image: image4.png]




	[image: image5.png]



	[image: image6.png]



	[image: image7.png]



To prepare for a vacuum filtration, gather together a filter flask, Buchner funnel, tubing, filter paper, clean solvent, disposable dropper, and your sample. 
[image: image8.png]



	[image: image9.png]




	[image: image10.png]




	[image: image11.png]



[image: image12.png]



[image: image13.png]





	[image: image14.png]



In the Chem 3/5/6 lab, you will use the vacuum outlets in the hoods, which are connected to a central vacuum pump for the entire building. You will find tubing in the hoods, connected to a vacuum trap. This plastic container prevents solvent from being sucked into the central vacuum pump by mistake. The tubing should be connected from the vacuum nozzle to the trap and from the trap to the side arm of your filter flask.
[image: image15.png]





	[image: image16.png]




	[image: image17.png]



[image: image18.png]



[image: image19.png]





	[image: image20.png]



Turn on the vacuum using the knob on the outside of the hood. Check the vacuum by feeling for suction at the end of your tubing. The vacuum should be strong enough to hold the tubing to your finger without falling off.
[image: image21.png]





	[image: image22.png]




	[image: image23.png]



[image: image24.png]



[image: image25.png]





	[image: image26.png]



Connect the tubing to the side arm of your filter flask and check the suction at the top of the flask (left). Place the black rubber ring adapter in the top of the flask and then the Buchner funnel. Check again for good suction by placing your gloved hand across the top of the funnel (right). If you do not feel strong suction, there is a poor connection and a leak somewhere in your system.
[image: image27.png]





	[image: image28.png]




	[image: image29.png]



[image: image30.png]



[image: image31.png]





	[image: image32.png]



Prepare to filter your sample by placing a filter paper in the Buchner funnel and wetting it with clean solvent. You should see the paper being sucked down against the holes in the funnel and the solvent should quickly pass through into the filter flask.
[image: image33.png]





	[image: image34.png]




	[image: image35.png]



[image: image36.png]



[image: image37.png].N






	[image: image38.png]



To filter your sample, slowly pour into the center of the filter paper.
[image: image39.png]





	[image: image40.png]




	[image: image41.png]



	[image: image42.png]



	[image: image43.png]



Use more clean solvent to rinse your beaker, so that all the solid is collected.
[image: image44.png]



	[image: image45.png]




	[image: image46.png]




	[image: image47.png]



[image: image48.png]



[image: image49.png]





	[image: image50.png]



Rinse the solid on the filter paper with more clean solvent. Continue to draw air through the solid, to evaporate any remaining solvent in your sample.
[image: image51.png]





	[image: image52.png]




	[image: image53.png]



[image: image54.png]



[image: image55.png]





	[image: image56.png]



When you are finished, break the vacuum at the connection between the flask and the trap. Then turn off the vacuum with the knob on the outside of the hood.



Filtration

Filtration is a technique used either to remove impurities from an organic solution or to isolate an organic solid. The two types of filtration commonly used in organic chemistry laboratories are gravity filtration and vacuum or suction filtration.

Gravity Filtration

Gravity filtration is the method of choice to remove solid impurities from an organic liquid. The "impurity" can be a drying agent or an undesired side product or leftover reactant. Gravity filtration can be used to collect solid product, although generally vacuum filtration is used for this purpose because it is faster.

A filtration procedure called "hot gravity filtration" is used to separate insoluble impurities from a hot solution. Hot filtrations require fluted filter paper and careful attention to the procedure to keep the apparatus warm but covered so that solvent does not evaporate. Hot gravity filtrations are no longer included in the routine procedures for the experiments in the organic chemistry teaching labs, they used to be used in the teaching labs to remove powdered Norite from a hot solution; since we switched to pelletized Norite, hot filtrations are not used. If you need to do such a filtration, read the procedure in the Handbook and consult your TA.

Procedure for standard gravity filtration
1) Select and fold the filter paper

Select the size of filter paper that, when folded, will be a few millimeters below the rim of your glass funnel. Fold the paper into a cone by first folding it in half, and then in half again, as shown.

	
	
	

	
	[image: image57.jpg]



	[image: image58.jpg]





2) Filter the solution

Support the glass funnel in a ring or place it in the neck of an Erlenmeyer flask. Wet the filter paper with a few milliliters of the solvent to be used in the following procedure. Wetting the paper holds it in place against the glass funnel. Pour the mixture to be filtered through the funnel, in portions if necessary.

	
	
	

	
	[image: image59.jpg]7




	[image: image60.jpg]





Note: fluted filter paper is often better for gravity filtration with organic solvents (see page 106 of the Handbook).

	
	
	
	
	

	
	
	
	
	

	
	
	[image: image61.jpg]



	
	

	
	
	
	diagram of how to fold fluted filter paper
	


Vacuum Filtration

Vacuum filtration is used primarily to collect a desired solid, for instance, the collection of crystals in a recrystallization procedure. Vacuum filtration uses either a Buchner or a Hirsch funnel.Vacuum filtration is faster than gravity filtration, because the solvent or solution and air is forced through the filter paper by the application of reduced pressure. The reduced pressure requires that they be carried out in special equipment:

· Buchner or Hirsch funnel 

· heavy-walled, side arm filtering flask 

· rubber adaptor or stopper to seal the funnel to the flask when under vacuum 

· vacuum source 

	Note: Do not use vacuum filtration to filter a solid from a liquid if it is the liquid that you want and if the liquid is low boiling. Any solvent which boils at about 125 degrees or lower will boil off under the reduced pressure in the vacuum flask.


Procedure for vacuum filtration
1) Assemble the apparatus

Check the side arm flask (filtering flask or vacuum flask) carefully for cracks, since cracks could cause the flask to break when vacuum is applied. Then, clamp the flask securely to a ring stand. Add an adaptor and a Buchner funnel. Place a piece of filter paper in the funnel that is small enough to remain flat but large enough to cover all of the holes in the filter.

	
	
	
	
	
	
	
	
	
	
	
	

	
	[image: image62.jpg]



	[image: image63.jpg]



	[image: image64.jpg]




	
	
	clamp a side arm flask securely to a ring stand
	
	place the rubber adaptor in the side arm flask
	
	
	
	place the Buchner funnel on the adaptor
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	[image: image65.jpg]



	[image: image66.jpg]



	[image: image67.jpg]




	
	
	get a piece of filter paper . . .
	
	
	. . . and put it in the Buchner funnel
	
	
	connect the side arm flask to a vacuum source - always use thick-walled tubing, since Tygon tubing will collapse under reduced pressure
	

	
	
	
	
	
	
	
	
	
	
	

	
	[image: image68.jpg]



	
	
	

	
	
	
	
	
	

	
	
	This photo shows the vacuum filtration glassware connected to a "water-trap". The black tubing ont he water-trap would be connected to a water aspirator. 

Whenever you use a water aspirator, you run the risk of sucking water from the aspirator into your vacuum filtration unit. The water-trap placed in-line will catch any such water. If you do NOT need the filtrate, but only need the solid matter collected on the Buchner funnel, this presents no problem. Most of the time this is the case, and usually students do not need a water-trap.

If you do need one, they are located under the main hood of each lab room.

You never need a water-trap when using the Vacuulan set-up in room 27.
	
	

	
	
	
	
	
	


2) Wet the paper with a small amount of the solvent to be used in the filtration. Turn on the water aspirator.

	
	
	
	
	

	
	
	[image: image69.jpg]



	
	

	
	
	
	Wet the paper - this causes the paper to adhere to the plate and keeps materials from passing under the paper during filtration. 

Make sure that the paper is secure on the filter, that air is being drawn through the paper, and that all of your apparatus is securely clamped. If you are using a Neoprene filter adaptor, you might need to press on the funnel to engage the seal and thus the vacuum.

Now you are ready to begin filtration.
	

	
	
	
	
	


3) Filter the solution

Pour the mixture to be filtered onto the filter paper. The vacuum should rapidly pull the liquid through the funnel. Watch that particulates do not creep under the edges of the paper. If this happens, start over and carefully pour portions of the solution onto the very center of the paper.

	
	
	
	
	
	
	

	
	[image: image70.jpg]



	[image: image71.jpg]




	
	
	Watch that particulates do not creep under the edges of the paper. If this happens, start over and carefully pour portions of the solution onto the very center of the paper.
	
	
	Notice that the vacuum has pulled the solvent through the filter and into the filter flask.
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	


4) Rinse the solids.

Rinse the cake with a small amount of fresh, cold solvent to help remove impurities that were dissolved in the filtrate. Disconnect the rubber tubing before turning off the water aspirator. Remove the filter paper and the collected solid that is on it. Usually you will set it on a watch glass and let it air dry for a while.

	
	
	
	
	
	
	
	
	
	
	

	
	
	[image: image72.jpg]



	[image: image73.jpg]



	

	
	
	
	
	Rinse the flask with a little fresh solvent and pour it into the filter funnel.
	
	
	Disconnect the vacuum AT THE FLASK and before turning off the water aspirator. This prevents water from being sucked into the vacuum flask.
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	[image: image74.jpg]



	[image: image75.jpg]



	

	
	
	
	Carefully remove the filter paper and solid from the Buchner funnel.
	
	
	Set the filter cake onto a watch glass to air dry.
	
	

	
	
	
	
	
	
	
	
	
	
	




Orgchem Home • Lab/Lecture Course Info • TAs • Safety Issues • Info on Organic Chemicals • Handbook Support • Lab Equipment • Experiments • Procedures • Lab Quizzes • Study Links • Lecture Exam Archives • Answers to Lab Worksheets • Lab Grades • FAQs • Topic of the Week
