PRASAR BHARATI

BROADCASTING CORPORATION OF INDIA

OFFICE OF CHIEF ENGINEER (SZ)

AIR&TV

SWAMI SIVANANDA SALAI

CHENNAI-600005

CESZ/SMT/GDTech/2004                                                                              25-10-2004

                                                  CIRCULAR No – 98/2004 

           This is with reference to this office circular dated 25-8-2004. It has been noted that only one station has taken some action to reduce the power supply break down by pursuing with the concerned EB authorities. Further, this office has not received any action taken report from other stations although the power supply breakdown durations continue to be on higher side on the account of simultaneous failure of supply on both feeders. The very purpose of providing two independent feeders with other infrastructure will not serve any purpose if the power supply failures continue to be on both feeders simultaneously. All Engineering Heads are once again requested to take up the issue seriously and contact the EB authorities for remedial measures. If the supply failure in both feeders simultaneously happens to be more than 30 minutes a detailed action taken report by the Engineering Head along with the major break down report is to be sent to this office. This is for strict compliance.  

                                                                                                  (R.Jeyakumar)

                                                                                            Deputy Director ( Engg)

                                                                                            For Chief Engineer (SZ) 

To:

The  Engineering Heads of all AIR Stations in South Zone 

