PRASAR BHARATI

(BROADCASTING CORPORATION OF INDIA)

OFFICE OF THE CHIEF ENGINEER (SZ)

ALL INDIA RADIO & TELEVISION, 

SWAMI SIVANANDA SALAI, CHENNAI-600 005

No.CESZ / SMT / GD / 2006                                                                     Date: 27.11.2006 

CIRCULAR
Sub: Frequent break down of transmission
     on primary channel at AIR stations.
Directorate, vide letter No.CE(M) / PS / Misc / 2006 dated 20.10.06 has requested,  Zonal offices to look into the matter of frequent transmission breakdowns in the  primary channel and take necessary steps to ensure breakdown free transmission.

A review of the breakdowns in South Zone stations indicates that there is large number of failures in power supply to AIR centers because of simultaneous failure of both feeders and if proper co-ordination had been there with E.B., this could have been brought down. Zonal office had already issued circulars to engineering heads vide our letter No. No CESZ / SMT / GD-Tech / 2004  dated 25.08.2004 and No CESZ /SMT/GD-Tech/ 2004 dated 25.10.2004. These letters are again put in our site under ( A & B)  below this letter for information and necessary action by engineering heads.
  It is seen that Zonal office has not received a separate action taken report by engineering heads as wanted by Zonal office in the above two circulars.   The operating personnel should also be advised to contact EB, whenever there is no supply in one of the feeders and restore it before supply in the other feeder also fails. In spite of this if there is a breakdown in power supply for more than 30 minute the  engineering heads should send a separate report to zonal office immediately specifically indicating reason for failure of both the feeders and action taken with EB to avoid such recurrence in future. This report is in addition to the Major breakdown report.
      This instruction applies to those stations also, which are required to operate the diesel generators to maintain service during the power supply breakdown by switching to low power operation or by changing over to single / stand-by transmitters. 
( G. Natarajan )

Director (Engg)

For Chief Engineer (SZ)     
Copy to :
Engineering Heads of all AIR stations in South Zone.

