PRASAR BHARATI

BROADCASTING CORPORATION OF INDIA

OFFICE OF CHIEF ENGINEER (SZ)

AIR&TV

SWAMI SIVANANDA SALAI

CHENNAI-600005

CESZ/SMT/GD/Tech/2004                                                                              25-8-2004                                                                                 

                                                  CIRCULAR No -- 

          It has been observed from the breakdown reports sent by the stations that the duration of the power supply breakdown is very much on higher side even in those stations that have two independent HT feeders at the respective Transmitting centers. The very purpose of providing two independent feeders along with the related infrastructures is defeated, if we happen to give power supply breakdowns of longer duration. Hence all the stations having two independent HT feeders should ensure in coordination with the concerned EB authorities that supply is through at least in one feeder all the time so that power supply breakdowns are avoided or minimised. Any continued problem of unreliability/low voltage in the power supply feeders is to be sorted out with the EB authorities so that power supply is always in healthy condition in both the feeders. Except for unforeseen tripping/shut down of both the feeders the availability of power supply at least in one feeder always must be ensured. It must be insisted upon the EB authorities that the maintenance work by EB staff on the feeders is to be carried out in phased manner accordingly.  Further, all Engineering Heads are requested to note that point No.9 of the major breakdown report should be more descriptive as to why both the feeders failed, under what circumstances EB could not keep supply at least in one feeder, how the situation can be improved to reduce power supply breakdown etc. Engineering Head himself/herself must pursue such issues with EB authorities. 

             The stations must take the above instructions seriously and the action taken report in this regard is to be sent to this office along with relevant details immediately.

                                                                                                  (R.Jeyakumar)

                                                                                            Deputy Director ( Engg)

                                                                                            For Chief Engineer (SZ) 

To:

The  Engineering Heads of all AIR Stations in South Zone                                                                                                 

