PRASAR BHARATI

BROADCASTING CORPORATION OF INDIA

OFFICE OF THE CHIEF ENGINEER (SOUTH ZONE)

ALL INDIA RADIO & TELEVISION

SWAMY SIVANANDHA SALAI, CHENNAI-5.

No.CESZ/SMT/GD-Tech/2007                                                             Dated: 09.07.07





               CIRCULAR



Sub:
Providing Lightening and Power supply surge protection for CODECS 

Ref:  This office letter no. No.CESZ/SMT/GD-Tech/2007 dated: 20.04.07


With reference to the above-cited circular, the Stations who have received CODECs for replacement of STL and for inter station link were requested to provide adequate protection against lightening and Power supply surge in consultation with BSNL to ensure the safety of the equipment.  But still Codecs are failing due to lightening and surge in power supply in some of the stations.  Hence it is requested that the Stations who have taken action and provided protection against surge and lightening may send the report to this office before 20.07.07 and the station who have not taken action may do so and send compliance before 30.07.07.
G.Natarajan.

Director (Engg),

For Chief Engineer (SZ)

To

The Superintending Engineer/Station Engineer, All India Radio, Alleppey, Bangalore, Hyderabad, Vizag, Trichy, Chennai, Yelahanka, Viajayawada, Trivandrum, Tirunelveli, Coimbatore, Cuddappah, Calicut, Kochi, Mangalore, Trichur

