On Priority 

Through AIRNET

PRASAR BHARATI

(BROADCASTING CORPORATION OF INDIA)
DIRECTORATE GENERAL : ALL INDIA RADIO

* * * * *

No 15/01/06-E.II

New Delhi, the 16th Jan, 2006

Suject : Arrangements for Special Transmissions –
                                            Republic Day arrangements reg.


All AIR Stations are advised to pay special attention during President/ Prime Minister’s Address to the Nation and other special broadcasts on the occasions of Republic Day, Independence Day, etc.


The following points need to be given special attention:
i) Transmitter, STL, RN Terminal and Studio equipment are to be kept in the best working condition;
ii) Special efforts should be made in coordination with the power supply authorities to ensure interruption free power supply during such important broadcasts;
iii) Similarly telephone authorities may be approached to ensure that telephone lines between studios and transmitters are kept in the best working conditions;

iv) All emergency / stand-by arrangements should be tested before hand and kept in readiness;

v) Diesel Generator set may be kept ‘on’ during such transmissions; and

vi) Engineering Head of the Station should be available at the Station and personally supervise such broadcasts.

S.N. Gupta

Director (Engg)(HQ)

Tel : 011-2342 1132

To 

       All AIR Stations

Copy to :

1. CE(EZ)\CE(NZ)\CE(NEZ)\CE(WZ)\CE(SZ) – with a request to kindly issue detailed instructions wherever necessary to the stations in this regard and also send a special report after such important broadcasts to this Directorate.

2. DE (TM)\ DE (SM) \ DE (HQ)

Director (Engg)(HQ)

PRASAR BHARATI
(BROADCASTING CORPORATION OF INDIA)
OFFICE OF THE CHIEF ENGINEER (SOUTH ZONE)
ALL INDIA RADIO & TELEVISION
5, SWAMI SIVANANDA SALAI, CHENNAI-600 005

No.CESZ/SMT/GD/2005                                                                           Date : 29.3.2006.

CIRCULAR

Engineering Heads of AIR stations are requested to pay special attention to points  given in Directorate’s letter ( Refer Pg 1), and to send a special report to Zonal office by email after such important broadcasts for further compiling/ forwarding to Directorate. 
K. S. Venkateswarlu
Deputy Director (E)
For Chief Engineer (SZ)

Copy to,

Engineering Heads of all AIR stations in South Zone.

Subject name: PRESIDENT / PRIME MINISTER’S ADDRESS  <date>

File name : stn_name_President_Prime_Minister_Address_date
