PRASAR BHARATI
(BROADCASTING CORPORATION OF INDIA)
OFFICE OF THE CHIEF ENGINEER (SOUTH ZONE)
ALL INDIA RADIO & TELEVISION
5, SWAMI SIVANANDA SALAI, CHENNAI-600 005

No.CESZ/SMT/GD/2005                                                          Date : 20.09.2005.

CIRCULAR

Sub: Working of Centralized Fire Alarm system–reg.
A major fire broke out in one of the AIR installation in the Zone causing loss of valuable material.  Whatever might have been the cause of this fire, we know the probable causes that can cause similar havoc else where and hence all AIR stations should exercise all care at all times to keep control over such hazards , including maintenance of all warning system and  fire fighting system available.  
In order to ensure that such fires do not occur in AIR installations this office desires to know the present working condition of the fire alarm system at your station if installed.  The Engineering Heads are instructed to test the functionality of the system and issue a certificate about the satisfactory operation of the system.  In case the system is dysfunctional/ malfunctioning necessary steps are to be taken to revive the system and intimate this office on the action taken.  A report in compliance of this circular is to be sent on or before 30.09.2005. 
K. S. Venkateswarlu
Deputy Director (E)
For Chief Engineer (SZ)
Tuesday, September 20, 2005 14:49
Ph (O) 044-253 888 10
Copy to,

Engineering Heads of all AIR stations in South Zone.
Subject line : FIRE  FIGHTING  / WARNING  SYSTEMS
File name : stnname_fire_fighting_warning_systems


