PRASAR BHARATI

(BROADCASTING CORPORATION OF INDIA)

OFFICE OF THE CHIEF ENGINEER(SZ)

ALL INDIA RADIO & TELEVISION
SWAMI SIVANANDA SALAI : CHENAI-5
No CESZ/SMT/GD/2005-06
Dt 30.1.2006

CIRCULAR
TO ALL STATIONS WITH FM TRANSMITTERS

      Recently there was a major breakdown in one of the AIR FM stations in South Zone due to failure of blower and Power Supply rectifier units.

     All Engineering Heads are advised to check each of the transmitters on single transmitter mode on antenna and on dummy load.  In case of any major problem, the stations should at least bring up one single PA on air.  Under extreme conditions, at least the exciter output can be given to the antenna and the service maintained.

     Engineering Heads are advised to personally check these emergency arrangements monthly once and the test is to be included in the Monthly Maintenance Schedule
                                                        (N.Srinivasan)

                                                              DIRECTOR (ENGG.)

For Chief Engineer(SZ) 
Copy to :

All Engineering Heads in AIR Stations in South Zone (with FM Transmitters)

