                FULTON COUNTY DEPARTMENT OF HEALTH AND WELLNESS

                             ENVIRONMENTAL HEALTH SERVICES DIVISION
                        Recommended Procedures for Managing Fecal Accidents or 

                                  Contamination with Vomitus in a Swimming Pool
1. Close the pool and remove bathers immediately from pool area; advise bathers to shower

    immediately.

2. Manually remove as much of the waste from the pool water as possible and properly dispose of waste;

    bypassing the filter, vacuum any remaining visible material to a sewer line; clean and disinfect leaf net

    and other tools/equipment used to remove the waste from the pool. For disinfecting cleaning tool

    surfaces, use a solution of 20 parts water to 1 part of 12% sodium hypochlorite.

3. (Optional) Collect at least 1 bacteriological sample prior to treatment (to determine presence and

    ADVANCE \r0baseline).*

4. Clean and disinfect skimmers / gutters.

5. Disinfect the pool water to attain a ACT@ value of 9600, where AC@ = chlorine concentration in ppm and

    AT@ = time in minutes. Example: 20 ppm free chlorine  X 480 minutes (8 hours) = 9600. Test the

    pool water periodically to ensure that 20 ppm has been attained. Any combination of chlorine

    concentration and time resulting in a CT value of 9600 is satisfactory. Maintain pH between 7.2 - 7.6.

6. Thoroughly backwash the filter(s) after 4 turnovers** of pool water .

7. (Optional) Collect at least 1 bacteriological sample after treatment (to determine presence after

    ADVANCE \r1shock).*

8. For low-volume pools, such as whirlpools and wading pools, drain the pool. Refill with fresh,

    potable water.

9. Reopen pool when the chlorine level returns to an acceptable range (2.0 - 5.0 ppm) and the

    pool water is chemically balanced. The pool may also be reopened if the result of the bacteriological

    analysis is negative and the pool water is chemically balanced. This may require keeping the pool

    closed for at least 24-48 hours or longer, depending upon what actions were taken. High chlorine

    levels can be reduced by adding sodium thiosulfate.

10. When an incident of vomitus or fecal contamination occurs, log all information documenting what

      actions were taken to correct the situation. Immediately report any occurrence of vomitus or

     ADVANCE \l2  fecal contamination in your public pool to the Fulton County Department of Health and

      Wellness, Environmental Health Services, 404-730-1301.
*   Bacteriological samples must be collected in accordance with acceptable practices and procedures.

    Bacteriological samples must be delivered to a certified laboratory as quickly as possible.

** In Fulton County, the following turnover rates are required (a turnover is the time it takes to   

    circulate all of the pool water through the filtration system):

     Swimming Pool   - 6 hours         4 turnovers = 24 hours

     Wading Pool    ADVANCE \l1    - 2 hours         4 turnovers =   8 hours

     Whirlpool       ADVANCE \l1   ADVANCE \l0    ADVANCE \l1- 30 minutes    4 turnovers =   2 hours
      References available at FCDHW, 99 Butler St., Atlanta, GA, 30303



         4-22-98

