ROCKWELL RURAL

 FIRE DEPARTMENT





�



ENGINE COMPANY



ENGINEER TRAINING GUIDE

1993 EDITION OF NFPA 1002











FIRE ENGINEER- PUMPER

NFPA 1002



The following lesson plans for Apparatus Fire Engineer- Pumper are based on standards established by the NFPA.  These lesson plans contain the same material that is covered in the certification program for Fire Engineer-Pumper.  The material in these lesson plans follows natural learning simple to complex sequencing practices. Therefore, mastery of the material in the beginning is required before advancing to the latter lesson plans. The sequence of material in these detailed lesson plans is different from the certification program and NFPA 1002 sequence, which were designed to serve other purposes. 



It is recommended that you become familiar with NFPA 1002, Standard for Fire Department Vehicle Driver/Operator Professional Qualifications, 1993 Edition, prior to using these lesson plans. The following list identifies all Lesson Plans and the related NFPA 1002 Job Performance Requirements. Note that if some of the numbers appear more than once; this is because several of the Job Performance Requirements or their prerequisites have to be broken in parts and taught at different times. Finally, if only the Job Performance Requirement number is identified, then all the prerequisite knowledge and skills are covered in that lesson. 



Lesson Plan 1

2-2.1

2-2.1



Lesson Plan 2

2-3.1		2-3.3.2

2-3.1.1		2-3.4

2-3.1.2		2-3.5

2-3.2.1		2-3.6

2-3.2.2		2-3.6.1

2.3.3		2-3.8

2-3.3.1



Lesson Plan 3

3-1.2

3-1.3

3-1.4

3-1.5



Lesson Plan 4

3-2.1

3-2.1.1



Lesson Plan 5

3-3.1

3-3.1.1



Lesson Plan 6

3-4.1		3-4.2

3-4.1.1		3-4.3

3-4.1.2		3-4.4���

ROCKWELL RURAL FIRE DEPARTMENT 

TRAINING DIVISION



LESSON PLAN 1



Personnel Classification:	Fire Engineer- Pumper



Subject:	Preventive Maintenance



NFPA 1002 Objectives	



	2-2.1

	2-2.2



Training Materials/Equipment:



	Pumper vehicle, service records used by the agency, including fire apparatus history card



References:



	IFSTA, Fire Department Pumping Apparatus, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma State University.



	IFSTA, Fire Stream Practices, 7th Edition, 1989, Fire Protection Publications, Oklahoma 	State University.



	IFSTA, Water Supplies for Fire Protection, 4th Edition, 1988, Fire Protection Publications, 	Oklahoma State University.



	NFPA 1002: Fire Vehicle Operator Professional Qualifications, 1993 National Fire Protection 	Association, Quincy, Massachusetts



NFPA 1500: Standard on Fire Department Occupational Safety and Health Programs, 1992 National Fire Protection Association, Quincy, Massachusetts



Additional Information:



	IFSTA Firefighter Videotape Series - Fire Pump Operation and Maintenance, Fire Protection 	Publications, Oklahoma State University



�Instructor Tasks



• Review lesson outline to ensure understanding of contents and procedures.

• Review references for lesson.

• Use additional references and your knowledge to enrich lesson outline.

• Select and prepare any additional audio�visual aids that may assist in the presentation of the lesson.

• Ensure that all equipment needed, including any audio�visual equipment, is available.

• Review lesson at end of session to ensure student understanding.

• Ensure that the topics and objectives of the lesson have been adequately covered.



��INTRODUCTION AND OBJECTIVES



I.	Greet class

II.	State purpose of the lesson

III.	Establish relation to previous and following lessons

IV.	Review NFPA 1002 objectives for this lesson

V.	Review any additional materials for this lesson



PRESENTATION



		LESSON OUTLINE							INSTRUCTOR NOTES



2-2.1.	Preventive Maintenance

	A.	Routine Tests, Inspections, and Servicing Functions

		1.	Approach to an apparatus check

			The majority of the information presented here is by automotive system: battery, coolant system, electrical system, etc. However, as Pumper Driver/Operators become more familiar with vehicle, it may be easier and quicker to approach the vehicle location by location: inside the cab, around the body, under the hood, etc.

	B.	Battery check procedure

		1.	Corrosion

			a.	Check for corrosion around terminals and other areas surrounding the battery

			b.	Wipe these clean to ensure maximum contact between battery and wires

		2.	Cell electrolyte level

			a.	Check the water level of the battery and fill, if 

				needed

			b.	The fill point should at least cover plates

			c.	Be sure water is between minimum and

				maximum fill levels

		3.	Specific gravity

			a.	It is the density of the water which tells the

				Fire Engineer how charged the battery is

			b.	To check; draw water from battery into a hydrometer

�		LESSON OUTLINE							INSTRUCTOR NOTES



			c.	Read the measurement on the hydrometer 

				which indicates whether the battery is charged 

				enough to operate

			d.	This must be done cell by cell

		4.	Test for voltage

			a.	Touch the voltmeter to the two terminals of the 

				battery; be sure that the polarity is correct: red 

				on red (positive) and black on black (negative)

			b.	Be sure voltmeter is set to the appropriate scale

		5.	Charging the battery						

			a.	Charge the battery if the hydrometer indicates 

				the battery is low

			b.	Identify polarity of battery to be charged 

				(positive or negative ground)

			c.	Attach red charger cable to positive battery post

			d.	Attach black charger cable to negative battery

				post

			e.	Connect battery charger to a reliable power

 				source (away from gasoline and other 

				flammable vapors)

			f.	Set desired battery charging voltage and

				charging rate (if so equipped); switches on

 				battery chargers should be in the OFF position 

				when not in use

			g.	Use caution because hydrogen gas is produced

				during charging

			h.	Reverse procedure to disconnect the battery 

				charger 

�		LESSON OUTLINE							INSTRUCTOR NOTES



	C.	Brake system

		1.	Air brakes

			a.	Pressure test by tapping the brake pedal

			b.	Check low air warning system

			c.	Check air chuck on rear of apparatus

		2.	Emergency brakes

			a.	Check emergency brakes (hand brakes) for hold

	D.	Coolant system

		1.	The coolant system protects both engine and pump

		2.	For safety, be sure coolant is checked when the engine is entirely cool

		3.	Procedure

			a.	Check the coolant color and level in the radiator and add fluid (if applicable)

			b.	Inspect the hoses for cracks or leaks

			c.	Flush the coolant system and add rust inhibitor (if applicable)

			d.	Check the radiator fan for loose or cracked 

				blades

			e.	Check temperature gage reading with engine 

				running

	E.	Electrical system

		1.	There are numerous electrical connections in an apparatus; damage from moisture or corrosion can render an electrical connection inoperative

		2.	Lights

			a.	Operate headlight dimmer switch

			b.	Operate clearance, stop, and back up lights

			c.	Operate all compartment lights and switches

			d.	Operate warning lights and switches

			e.	Operate the floodlights and switches

		3.	All motor-driven equipment should be started and run 

			once a week

			a.	Operate rotating lights

			b.	Operate hose reel rewind

�		LESSON OUTLINE							INSTRUCTOR NOTES



			c.	Operate apparatus controls

			d.	Operate header and defroster fan

			e.	Operate heater and/or air conditioner 

				(if applicable)

			f.	Operate public address system and radio

			g.	Operate horn

			h.	Check audible and usual warning devices

	F.	Fuel system

		1.	A full tank of fuel; ensures maximum running time

		2.	Procedure

			a.	Check fuel level, add fuel if needed

			b.	Check fuel pumps and filters periodically

			c.	Check fuel tank cap vent for blockage, clear

				if necessary

			d.	Drain moisture from fuel/water separator

	G.	Hydraulic fluids

		1.	Be certain the fluid added is compatible with the fluid already in the reservoir;  type of fluid needed is often printed on reservoir or check appropriate Technical Order

		2.	Procedure

			a.	Wipe off lid of reservoir before opening to prevent contamination from water or other contaminants

			b.	Amount to be filled is also found in the appropriate Technical Order

			c.	Check master cylinder reservoir

			d.	Check power steering fluid reservoir 

				(if applicable)

	H.	Lubrication/oil levels

		1.	General

			a.	Prime objective of good maintenance

			b.	Proper lubrication saves maintenance and 

				repair dollars; reduces out-of-service time

�		LESSON OUTLINE							INSTRUCTOR NOTES



			c.	Oil gives protection against corrosion, foaming, sludging, and carbon accumulation

			d.	To protect oil from contamination, prevent any 

				unnecessary engine starts

		2.	Procedure

			a.	Check technical order for correct viscosity of the oil

			b.	Check engine oil level

			c.	Check exterior of engine for leaks

			d.	Check transmission oil level

			e.	Check exterior of transmission for leaks

			f.	Check all oil lines for leaks, corrosion or damage

			g.	Check differential oil levels

			h.	Check oil pressure with engine running

	I.	Tires

		1.	Check tires for cuts, breaks, proper inflation, and 

			uneven wear

		2.	Check valve stems for corrosion or damage

		3.	Inflate tires to proper level as noted on tire

		4.	Check lugs for tightness and rims for damage

	J.	Steering system

		1.	Check steering gear for excessive motion and periodically lubricate steering gear

		2.	Check seals on steering gear

		3.	Check fluid reservoir, add fluid if needed

		4.	Check all lines and hoses for damage

	K.	Belts

		1.	Check to make sure belts are present

		2.	Check belts for wear

		3.	Check for proper tension

�		LESSON OUTLINE							INSTRUCTOR NOTES



	L.	Tools, appliances, and equipment

		1.	General

			a.	Tools, appliances, and equipment refer to those items carried on the fire apparatus but not permanently attached to or a part of the apparatus

			b.	Most removable equipment is common to all fire equipment and should be checked daily

		2.	Procedure

			a.	Remove and (if applicable) clean any equipment attached to the apparatus

			b.	Check portable extinguishers by  weighing or checking pressure gauge

			c.	Check hose loads for correct finishes

			d.	Inventory all nozzles and appliances

			e.	Check air pressure in self-contained breathing apparatus and spare bottles

			f.	Examine regulators and face pieces

			g.	Operate hand lights

			h.	Operate power tools

			i.	Operate hand tools

			j.	Check ground ladders

			k.	Check that the first-aid kit is complete

			l.	Check all tool mountings

			m.	Check fluid levels of all power tools/equipment

	M.	Agent tank level

		1.	Check the water level by shining a flashlight onto water surface

		2.	Fill the agent tank to capacity

			a.	This should be done daily

			b.	At no time should tank be less than full

		3.	Check the inside surface for corrosion and cleanliness

		4.	Check the accuracy of agent level gauges compared to actual agent levels in the tank

			a.	If there is a difference between the two, alert 

				appropriate maintenance facility immediately�		LESSON OUTLINE							INSTRUCTOR NOTES



	N.	Cab and Body

		1.	Check operation and condition of compartment doors

		2.	Check weather seals around cab and compartment 

			doors

		3.	Check windshield washer solvent, add if needed

		4.	Operate windshield wipers and washers

		5.	Check mirror adjustment

		6.	Inspect all glass for breaks or discoloration

		7.	Check operation of seat adjusting mechanisms

		8.	Check condition and operation of seat belts

	O.	Other components to check while inside cab

		1.	Check mirrors for cracks and cleanliness

		2.	Check map case is complete with grid maps and other applicable maps

		3.	Check seats for tears and adjustability

	P.	Water and Foam Piping

		1.	Check underside of apparatus for leaks

		2.	Check drain valves

		3.	Check oil level for priming pump

	Q.	Other components to check on the body of the apparatus

		1.	General

			a.	Fire apparatus must be kept clean.  

			b.	A clean apparatus engine permits proper inspection and ensures efficient operation as needed

		2.	Procedure

			a.	Check the body for cleanliness and wash away any visible dirt 

			b.	Check for oil, moisture, dirt, and grime

			c.	Check body panels for rust, dents, or exposed areas needing touch-up paint

			d.	Check weather seals around cab and compartment doors for looseness, damage, and deterioration

			

�		LESSON OUTLINE							INSTRUCTOR NOTES



2-2.2	Document routine tests, inspections, and service functions

	A.	Fire apparatus record

		1.	Maintain as required

	B.	Fire apparatus data and history 

		1.	Maintain as required

	C.	Gasoline, oil and mileage record

		1.	Maintain as required

	D.	Apparatus inspection report

		1.	Complete as required

			a.	Daily

			b.	Weekly

			c.	Periodic

	E.	Fire equipment record

		1.	Complete as required

			a.	Daily

			b.	Weekly 

			c.	Periodic

�REVIEW 



I.	Discuss key lesson points.

II.	Ask questions on the material covered.

III.	Review material that may be unclear.

IV.	Administer test or quiz.

V.	Critique test or quiz.



SUMMARY



I.	Summarize what has been covered.

Relate what has been covered to the next lesson.



�ROCKWELL RURAL FIRE DEPARTMENT 

TRAINING DIVISION



LESSON PLAN 2



Personnel Classification:	Fire Engineer- Pumper



Subject:	Driving Operating



NFPA 1002 Objectives	



	2-3.1			2-3.3.2	

	2-3.1.1			2-3.4

	2-3.1.2			2-3.5

	2-3.2.1			2-3.6

	2-3.2.2			2-3.6.1

	2-3.3			2-3.8

	2-3.3.1			



Training Materials/Equipment:



	Fully equipped and operational ARFF vehicle, chalkboard, hydrometer, voltmeter, traffic cones, 50 	foot tape measure



References:



	IFSTA, Fire Department Pumping Apparatus, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma State University.



	IFSTA, Fire Stream Practices, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma 	State University.



	IFSTA, Water Supplies for Fire Protection, 4th Edition, 1988, Fire Protection Publications, 	Oklahoma State University.



	NFPA 1002: Fire Vehicle Operator Professional Qualifications, 1993 National Fire Protection 	Association, Quincy, Massachusetts



NFPA 1500: Standard on Fire Department Occupational Safety and Health Programs, 1992 

National Fire Protection Association, Quincy, Massachusetts



Additional Information:



	IFSTA Firefighter Videotape Series - Fire Pump Operation and Maintenance, Fire Protection 	Publications, Oklahoma State University



�Additional Information:



	Applicable Technical Manuals



	IFSTA Pumping Apparatus Series Videotapes, Fire Protection Publications, Oklahoma State 	University



Instructor Tasks



• Review lesson outline to ensure understanding of contents and procedures.

• Review references for lesson.

• Use additional references and your knowledge to enrich lesson outline.

• Select and prepare any additional audio�visual aids that may assist in the presentation of the lesson.

• Ensure that all equipment needed, including any audio�visual equipment, is available.

• Review lesson at end of session to ensure student understanding.

• Ensure that the topics and objectives of the lesson have been adequately covered

.��INTRODUCTION AND OBJECTIVES



I.	Greet class

II.	State purpose of the lesson

III.	Establish relation to previous and following lessons

IV.	Review NFPA 1002 objectives for this lesson

V.	Review any additional materials for this lesson



PRESENTATION



		LESSON OUTLINE				INSTRUCTOR NOTES



2-3.1	Operate fire department vehicle

	A.	Operate a fire department vehicle over a predetermined route

		1.	Predetermined route

			a.	Incorporate

				1)	Maneuvers

				2)	Features

		2.	Vehicle must be operated in compliance with

			a.	Federal laws

			b.	State laws

			c.	Local laws

			d.	Department rules and regulations

			e.	Requirements of NFPA 1500

		3.	Predetermined route must include

			a.	4 left and 4 right turns

				1)	Approach point of turn

				2)	Activate turn signal

				3)	Insure path is clear of traffic or 

					obstructions

				4)	Check rearview mirrors

				5)	Slow vehicle

				6)	Apply brakes, if necessary

				7)	Make smooth turn to new path of travel

�		LESSON OUTLINE				INSTRUCTOR NOTES



			b.	Straight section of urban business street

				1)	Drive at posted speed limit or

					drive based on conditions

				3)	Stay in correct lane

				4)	Move eyes to check

					a)	ahead

					b)	side streets and roads

					c)	other traffic

					d)	rear view mirrors

					e)	observe all traffic laws

			c.	2 lane rural road

				1)	Drive at posted speed limit or

					drive based on conditions

				2)	Stay in correct lane

				3)	Move eyes to check

					a)	ahead

					b)	side streets and roads

					c)	other traffic

					d)	rear view mirrors

				4)	Observe all traffic laws

			d.	Intersections

				1)	Going through

					a)	Approach with vehicle under 

						control

					b)	Observe cross streets/roads

					c)	Slow apparatus

					d)	Be prepared for controlled stop

					e)	Yield to traffic on the right

					f)	Proceed through intersection

						when safe to do so

�		LESSON OUTLINE				INSTRUCTOR NOTES



				2)	2 intersections where stop is required

					a)	Approach with vehicle under 

						control

					b)	Observe cross streets/roads

					c)	Slow apparatus

					d)	Bring apparatus to smooth stop

					e)	Yield to traffic that has right of 

						way

					f)	Proceed through intersection

						when safe to do so

			e.	Railroad crossing

				1)	Approach crossing with vehicle under

					control

				2)	Bring apparatus to complete stop 

				3)	Look in both directions

				4)	Cross tracks when safe to do so

			f.	Curve -right or left

				1)	Approach curve at safe speed with 

					apparatus under control

				2)	Slow apparatus, if necessary

				3)	Stay in proper lane

				4)	Maintain control of apparatus through

					curve

				5)	Accelerate out of curve

			g.	Section of limited access highway

				1)	Conventional ramp entrance

					a)	Approach ramp at safe speed

					b)	Activate turn signal

					c)	Maintain safe ramp speed

					d)	Check side and rearview mirror

						prior to merge

					e)	Adjust speed to merge safely

						with traffic in acceleration lane

�		LESSON OUTLINE				INSTRUCTOR NOTES



				2)	Conventional ramp exit

					a)	Activate turn signal

					b)	Check side and rearview mirror

					c)	Steer into deceleration lane

					d)	Slow apparatus

					e)	Maintain control on exit ramp

				3)	Long stretch to allow lane changes

					a)	Activate turn signal

					b)	Check rearview mirror to make

						sure lane is clear

					c)	Gradually change lanes when 

						safe to do so

			h.	Downgrade that requires down shifting and 

				braking

				1)	Maintain safe speed on approach to 

					downgrade

				2)	Apply brakes to slow apparatus, if 

					necessary

				3)	Shift to next lower gear, if applicable

				4)	Use grade retarder, if available

				5)	Observe engine tachometer to prevent

					engine overspeeding

				6)	Use brakes and shift to lower gear, if

					necessary

				7)	Maintain control of apparatus

			I.	Upgrade that requires shifting to maintain speed

				1)	Maintain safe speed on approach to 

					upgrade

				2)	Accelerate when starting up hill

				3)	Shift to next lower gear when speed 

					slows, or engine rpms fall

				4)	Change gears to maintain proper engine

					rpm

				5)	Remain in proper lane

�		LESSON OUTLINE				INSTRUCTOR NOTES



			j.	Underpass or low clearance or bridge

				1)	Approach underpass or bridge slowly

				2)	Insure that clearance is adequate for

					apparatus

				3)	Stop apparatus and check height, if not

					sure

Spotter should be used



	C.	NFPA 1500, Standard on Fire Department Occupational Safety 	

		and Health Program, Section 4-2 

		(Review NFPA 1500, Section 4-2)

		4-2.2	

		4-2.3	

		4-2.4	

		4-2.5	

		4-2.6	

		4-2.7	

		4-2.8	

		4-2.9	

		4-2.10	

�		LESSON OUTLINE							INSTRUCTOR NOTES



2-3.1.1	Prerequisite Knowledge

	A.	Effect on vehicle control

		1.	Braking reaction time

			a.	Speed directly affects time required to stop

			b.	Driver should know stopping distances for 

				specific apparatus

Total stopping distance:  Sum of 

				Fire Engineer reaction distance and vehicle

				 braking distance

Reaction distance: distance traveled 

	`			while driver transfers foot from accelerator to

			 	brake pedal after perceiving need to stop

Braking distance: distance vehicle 

				travels from time brakes are applied until it 

				comes to a complete stop



		2.	Load (weight) factors

			a.	Loads must be considered by all drivers

			b.	Laws of physics

				1)	When vehicle undergoes change in 

					velocity of direction - transfer takes

					place relative to change 

			c.	Position of load has effect on vehicle

				1)	The lower the load the easier to

					control on turns

	The higher the load the greater the 

					potential for skidding or rollover

				3)	Avoid high speed turns

				4)	Steer smoothly to avoid abrupt changes

				5)	Be extremely careful on slopes and hills 

�		LESSON OUTLINE							INSTRUCTOR NOTES



		3.	General steering reactions

	Be alert to situations in order to prevent rapid

				steering movements and loss of control

			B.	Adjust speed for condition to maintain control

				while maneuvering the vehicle

			C.	Keep both hands on the wheel at all times,

		 		except when shifting or using other controls

			D.	Hands should be positioned at ten and 

				two o’clock

		4.	Speed

			A.	Adjust speed to compensate for conditions

				1)	Weather

				2)	Darkness

				3)	Traffic

				4)	Area

		5.	Centrifugal force

			A.	Force which acts or impels an object out from a

				center of rotation.

			B.	Related factors

				1)	Speed of travel

				2)	Radius of curve

				3)	Road and tire conditions

				4)	Grade

				5)	Super elevation (banked, flat, crowned)

	B.	Applicable laws and regulations

		1.	Identify all applicable laws related to the operation of

			emergency vehicles

			a.	Local

			b.	State

			c.	Federal

		2.	Identify all applicable rules and regulations of the

			department

�		LESSON OUTLINE							INSTRUCTOR NOTES



		3.	General

			a.	Emergency vehicle operators are subject to

				all traffic regulations unless a specific 

				exemption is made.   The exemption(s) would 

				apply to emergency conditions only.

			b.	Legal decisions have held that driver/operators

				who do not obey state, local, or department 

				regulations can be subject to criminal and civil

				prosecution if the apparatus is involved in an

				accident.

			c.	If the Fire Engineer is negligent and is 

				involved in an accident, both the driver/operator

				and the department may be held responsible

			d.	Follow all laws regarding direction of travel,

				direction of turns, and parking unless under 

				emergency conditions

			e.	Regardless of conditions - stop for school buses

				with flashing lights

			f.	Obey all traffic laws and signals when returning 

				to quarters and non emergency travel.

2-3.1.2	Prerequisite Skills

	A.	Safe vehicle operation

		1.	Emergency and non-emergency defensive driving

			a.	Defensive driver

				1)	Makes allowances for

					a)	Own deficiencies

					b)	Lack of skill and knowledge of

						others

				2)	Recognizes there is no control over

					a)	Unpredictable actions of others

					b)	Weather

				3)	Concedes right-of-way

				4)	Makes concessions to avoid collisions

				5)	Looks ahead and watches situations

					develop�		LESSON OUTLINE							INSTRUCTOR NOTES



			b.	Defensive driving factors

				1)	Proper attitude

					a)	Remain calm and drive in a 

						safe manner

					b)	Reckless driving is never

						acceptable

					c)	Aggressive attitudes are a 

						menace to other vehicles,

						pedestrians, and other fire

						fighters on the apparatus

				2)	Anticipation of other drivers actions

					a)	Other drivers may panic at 

						sound of siren

					b)	Some ignore warning signals

					c)	Never assume other driver

						will react in a rational manner

					d)	Always expect the unexpected

				3)	Focus fixation

	Tendency to steer towards a

						 spot where attention is focused

					b)	Don’t focus on distractions

				4)	Visual lead time

					a)	Aim high in steering - get the

						the big picture

					b)	Allows Fire Engineer to 

						become more aware of 

						conditions that may require

						slowing or stopping

		2.	Safe driving during adverse weather

			a.	Slippery road surfaces

				1)	Increase stopping distances 3-15 times

					more than normal

				2)	Try brakes in area free of traffic

				3)	If apparatus skids - release brakes

					immediately�		LESSON OUTLINE							INSTRUCTOR NOTES



				4)	Adjust speed to road and weather

					conditions so that apparatus can be 

					stopped and maneuvered safely

			b.	Vehicle skids

				1)	Caused by:

					a)	Driving too fast

					b)	Failing to appreciate weight

						shifts

					c)	Failing to anticipate obstacles

				2)	If apparatus goes into skid

					a)	Release brakes immediately

					b)	Steer in the direction of skid

			c.	Snow and ice

				1)	Snow tires and chains will 

					a)	reduce stopping distance

					b)	Increase grip for starting

					c)	Increase hill climbing ability

				2)	Still necessary to maintain lower

					speeds even with chains

				3)	Pump brakes gently on snow and ice

					stopping distance

			d.	Fog

				1)	Visibility is at its worst in fog

				2)	Drive slowly using low beams

				3)	Avoid sudden stops by tapping on brake

					pedal

				4)	Never assume a clear road except for

					distance that you can actually see

	B.	Operate passenger restraining devices

		1.	Fasten seat belts

		2.	Make sure that all personnel are seated and belted 

			before moving apparatus

�		LESSON OUTLINE							INSTRUCTOR NOTES



2-3.2	Use automotive gauges and controls

	A.	Monitor gauges while operating the pumper

	B.	All applicable controls will be used during the performance of 

		the driving and operations functions required by this standard

2-3.2.1	Prerequisite Knowledge

	A.	Identification and operation of automotive gauges and proper 

		operation limits

		1.	Gauges are required to ensure proper operation of 

			engine and components and to warn of malfunctions 

			when gauges do not show normal operating ranges

		2.	Necessary when under way and when operating on the

			fire ground

		3.	Some gauges are duplicated

			a.	Dashboard

			b.	Pump panel

		4.	Speedometer

			a.	Shows vehicle speed

		5.	Odometer

			a.	Shows miles traveled

		6.	Tachometer

			a.	Measures engine RPM (revolutions per minute)

			b.	Provides the Fire Engineer with information

				on how to operate the vehicle efficiently without

				harming the engine

			c.	Provides the Fire Engineer with information on 

				engine operation when pumping 

			d.	Provides an indication of safe operating limits of

				the engine

				1)	Consult technical manuals for proper 

					operating range

�		LESSON OUTLINE							INSTRUCTOR NOTES



		7.	Oil pressure gauge

			a.	Measures oil pressure

			b.	Indicates that oil is being supplied to the engine 

				at the proper pressure

			c.	Normal operating pressures are specified in 

				operations and maintenance manuals

			d.	Significant deviations from normal pressures

				is an indication of a problem

			e.	Consult technical manuals for proper operating 

				range

		8.	Ammeter

			a.	Measures and shows the amount of current

				drawn from the battery to operate electrical 

				equipment, or the amount of current being 

				supplied to the battery for charging

			b.	Consult technical manuals for proper operating 

				range

		9.	Voltmeter

			a.	Indicates battery conditions - low or high

			b.	Provides a relative indications of battery 

				condition by showing the amount of drop in 

				voltage that is measured when some of the 

				more demanding electrical accessories are 

				used.

			c.	Indicates the top voltage available when the

				battery is fully charged

			d.	Consult technical manuals for proper operating 

				range

		10.	Air pressure gauge

			a.	Indicates air pressure available to operate air

				brakes

			b.	Consult technical manuals for proper operating

				range

�		LESSON OUTLINE							INSTRUCTOR NOTES



		11.	Water temperature gauge

			a.	Indicates temperature of engine coolant

			b.	Provides an indication of when the engine is 

				overheating

			c.	Consult technical manuals for proper operating 

				range

		12.	Fuel gauge

			a.	Indicates the level of fuel in the tank

		13.	Transmission oil temperature, if applicable

			a.	Shows temperate of transmission oil

			b.	Consult technical manuals for proper operating 

				range

2-3.2.2	Prerequisite Skills

	A.	Operate vehicle controls

		1.	Set parking brake

		2.	Place transmission gear selector in neutral

		3.	Turn master switch on

		4.	Turn on ignition switch

		5.	Engage starter switch

		6.	After start-up observe engine gauges and warning lights

			for proper readings

			1)	Run engine at 800 to 1,000 rpm to obtain proper

				operating temperatures and gauge readings

		7.	Turn on all necessary lights, communications 

			equipment, and warning equipment

		8.	Select proper gear range

		9.	Move vehicle forward

		10.	Come to a complete stop

		11.	Shift into reverse

		12.	Come to a complete stop

		13.	Place transmission selector in neutral

		14.	Apply parking brake

�		LESSON OUTLINE							INSTRUCTOR NOTES



		15.	Allow engine to idle for at least 2 minutes before shut

			down

			a.	Immediate shutdown results in engine 

				temperature increase

			b.	May result in damage to heads, exhaust

				manifolds, and turbocharger

			c.	Engine temperature should stabilize before

				shutdown

		16.	Reduce engine speed to low idle

		17.	Shut of all lights and other equipment

		18.	Turn ignition switch off

		19.	Place electrical master switch in the off position

2-3.3	Back a fire department vehicle from a roadway

	A.	Into a restricted space on right and left side

		1.	Measures driver/operators ability to drive past a space

			and to back the apparatus into the space without having 

			to stop and pull forward

		2.	Spotter must be used

	Restricted space 12 ft in width (Unless vehicle is 

			exceptionally wide, variance must requested.)

		4.	Exercise requires a 90 degree right and left hand turns

			from roadway

		5.	Vehicle must be parked

			a.	Without having to stop and pull forward

			b.	Without striking obstructions

		6.	Steps

			a.	Fire Engineer should drive forward and pass 

				the dock on the left

			b.	Stop the apparatus

			c.	Back the apparatus into the dock

			d.	Repeat the steps by driving forward with the

				dock on the right

�		LESSON OUTLINE							INSTRUCTOR NOTES



2-3.3.1 Prerequisite Knowledge

	A.	Vehicle dimensions (see technical manual for specific vehicle)

		1.	Length - inches

		2.	Width - inches

		3.	Wheel base - inches

		4.	Overall height - inches

	B.	Turning characteristics (see technical manual for specific 

		vehicle)

		1.	Turning circle - feet

2-3.3.2	Perquisite Skills

	A.	Use mirrors for backing

		1.	Make sure all mirrors are adjusted properly

		2.	Sit straight with both hands on the steering wheel

		3.	Move head from side to side to check mirrors

		4.	Make sure that you can see the spotter

		5.	Back apparatus following the directions of the spotter

		6.	If you cannot see the spotter - stop

		7.	Check each mirror from time to time while backing, but

			always look for the spotter.

2-3.4	Maneuver a fire department vehicle around obstructions

	A.	Measures ability to steer apparatus in close limits without 			stopping

	B.	Spotter must be used

	C.	On a roadway around obstructions

	D.	Move in forward and reverse

	E.	Maneuver through obstructions without

		1.	Stopping to change direction of travel

		2.	Striking obstructions

	F.	Steps

		1.	Drive apparatus forward in a straight line with the

 			markers on the left

		2.	Stop the apparatus just beyond the last marker

		�	LESSON OUTLINE							INSTRUCTOR NOTES



		3.	Back the apparatus between the markers by passing to 

			the left of marker number 1, to the right of maker 

			number 2 and the left of marker number 3

		4.	After clearing maker number 3 stop the apparatus

		5.	Drive forward between the markers leaving marker 

			number three on the left, marker number 2 on the right 

			and marker 3 on the left

2-3.5	Turn a fire department vehicle 180 degrees within a confined space

	A.	Measures driver/operators ability to turn apparatus around in a 

		confined space

	B.	Spotter must be used

	C.	Vehicle must be stopped and backed up to complete turn

	D.	Continuous U-turn is not allowed

	E.	Vehicle must be turned 180 degrees without striking obstructions

		within an area measuring

	F.	Steps

		1.	Move apparatus through 12 ft opening in one of the 50 ft 

			legs  (Unless vehicle is 	exceptionally wide, variance 

			must requested.)

		2.	Turn the apparatus 180 degrees and return through the

			same opening

		3.	No limitation on the number of times the vehicle may 

			be maneuvered

2-3.6	Maneuver fire department vehicle in areas with restricted horizontal and 	vertical clearances

	A.	Measures driver/operators ability to steer apparatus in a straight

		line, judge distances from wheel to object, and stop on a finish

		line.

	B.	Operator accurately judges ability of vehicle to pass through

		openings

	C.	Operator accurately judges ability of vehicle so that no

		obstructions are struck

	D.	Steps

Drive forward and reverse through the prop without 

			striking anything

�		LESSON OUTLINE							INSTRUCTOR NOTES



2-3.8	Operate systems and equipment

	A.	Operate in accordance with

		1.	Manufacturers instructions and specifications

		2.	Department policies and procedures

		3.	Technical order

	B.	Systems

		1.	Set relief valve

			a.	Pump in operation

			b.	All lines flowing at desired flow rate

			c.	Set relief valve at desired relief pressure

			d.	Check to make sure discharge pressure is 

				maintained

		2.	Set pressure governor

			a.	Set governor for desired discharge pressure

			b.	Check to make sure discharge pressure is

				maintained

	C.	Equipment

		1.	Operate each piece of equipment that is carried on the

			vehicle

2-3.6.1	Prerequisite Skills

	A.	Judging vehicle clearances

		1.	Skill development

			a.	Practice judging distances while driving and

				maneuvering at slow speeds.

			b.	Stop periodically get out of vehicle and look at

				actual distances

			c.	Perform maneuvers that will develop skill at 

				judging distance to the:

				1)	Front

				2)	Back

				3)	Height

				4)	Width/sides

			d.	Use spotter





��REVIEW 



I.	Discuss key lesson points.

II.	Ask questions on the material covered.

III.	Review material that may be unclear.

IV.	Administer test or quiz.

V.	Critique test or quiz.



SUMMARY



I.	Summarize what has been covered.

II.	Relate what has been covered to the next lesson.



�ROCKWELL RURAL FIRE DEPARTMENT 

TRAINING DIVISION



LESSON PLAN 3



Personnel Classification:	Fire Engineer- Pumper



Subject:	Pumper - General



NFPA 1002 Objectives



	3-1.2

	3-1.3

	3-1.4

	3-1.5



Training Materials/Equipment:



	Fully equipped and operational pumper.



References:



	IFSTA, Fire Department Pumping Apparatus, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma State University.



	IFSTA, Fire Stream Practices, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma 	State University.



	IFSTA, Water Supplies for Fire Protection, 4th Edition, 1988, Fire Protection Publications, 	Oklahoma 	State University.



	NFPA 1002: Fire Vehicle Operator Professional Qualifications, 1993 National Fire Protection 	Association, Quincy, Massachusetts



NFPA 1500: Standard on Fire Department Occupational Safety and Health Programs, 1992 

National Fire Protection Association, Quincy, Massachusetts



Additional Information:



	IFSTA Firefighter Videotape Series - Fire Pump Operation and Maintenance, Fire Protection 	Publications, Oklahoma State University





• Review lesson outline to ensure understanding of contents and procedures.

• Review references for lesson.

• Use additional references and your knowledge to enrich lesson outline.

• Ensure that all equipment needed, including any audio�visual equipment, is available.

• Review lesson at end of session to ensure student understanding.

• Ensure that the topics and objectives of the lesson have been adequately covered

.��INTRODUCTION AND OBJECTIVES



I.	Greet class

II.	State purpose of the lesson

III.	Establish relation to previous and following lessons

IV.	Review NFPA 1002 objectives for this lesson

V.	Review any additional materials for this lesson



PRESENTATION



		LESSON OUTLINE				INSTRUCTOR NOTES



3-1.2	Perform routine tests, inspections and service functions

		See Lesson Plan 1, 2-2.1

3-1.3	Practical driving exercises

		See Lesson Plan 2, 2-3.3 through 2-3.6

3-1.4	Position a fire department pumper

	A.	At a fire hydrant

		1.	Hard suction hose

			a.	Consider length of hard suction hose

			b.	Hose may be connected either to hydrant or 

				pumper first

			c.	Position pumper to make final connection

		3.	Soft suction hose

			a.	Consider length of soft suction hose

			b.	Hose may be connected either to hydrant or 

				pumper first

			c.	Position pumper to make final connection

			d.	Hose must not have kinks or sharp bends

	B.	At a static water supply source

		1.	Consider lift and horizontal distance to water source

		2.	Consider stability of ground to support pumper

			a.	Initially

			b.	During a long period of pumping

		3.	Connect hard suction to intake

3-1.5	Operate a fire department pumper over a predetermined route

		Covered in Lesson Plan 2



��REVIEW 



I.	Discuss key lesson points.

II.	Ask questions on the material covered.

III.	Review material that may be unclear.

IV.	Administer test or quiz.

V.	Critique test or quiz.



SUMMARY



I.	Summarize what has been covered.

II.	Relate what has been covered to the next lesson.



�ROCKWELL RURAL FIRE DEPARTMENT 

TRAINING DIVISION



LESSON PLAN 4



Personnel Classification:	Fire Engineer- Pumper



Subject:	Water Supply



NFPA 1002 Objectives	



	3-2.1

	3-2.1.1



Training Materials/Equipment:



	Classroom, chalkboard, references, etc.



References:



	IFSTA, Fire Department Pumping Apparatus, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma State University.



	IFSTA, Fire Stream Practices, 7th Edition, 1989, Fire Protection Publications, Oklahoma 	State University.



	IFSTA, Water Supplies for Fire Protection, 4th Edition, 1988, Fire Protection Publications, 	Oklahoma State University.



	NFPA 1002: Fire Vehicle Operator Professional Qualifications, 1993 National Fire Protection 	Association, Quincy, Massachusetts



NFPA 1500: Standard on Fire Department Occupational Safety and Health Programs, 1992 

National Fire Protection Association, Quincy, Massachusetts



NFPA 291: Recommended Practice for Fire Flow Testing and Marking of Hydrants, 1995

	National Fire Protection Association, Quincy, Massachusetts





Additional Information:



	IFSTA Firefighter Videotape Series - Fire Pump Operation and Maintenance, Fire Protection 	Publications, Oklahoma State University



	IFSTA Firefighter Videotape Series - Developing Fire Flow/Hydraulics, Fire Protection 	Publications, Oklahoma State University.�Instructor Tasks



• Review lesson outline to ensure understanding of contents and procedures.

• Review references for lesson.

• Use additional references and your knowledge to enrich lesson outline.

• Select and prepare any additional audio�visual aids that may assist in the presentation of the lesson.

• Ensure that all equipment needed, including any audio�visual equipment, is available.

• Review lesson at end of session to ensure student understanding.

• Ensure that the topics and objectives of the lesson have been adequately covered

.��INTRODUCTION AND OBJECTIVES



I.	Greet class

II.	State purpose of the lesson

III.	Establish relation to previous and following lessons

IV.	Review NFPA 1002 objectives for this lesson

V.	Review any additional materials for this lesson



PRESENTATION



		LESSON OUTLINE				INSTRUCTOR NOTES



3-2.1	Estimate fire flow based on the following:

	A.	Location

		1.	Building, structure, vehicle, vessel (tank, container, etc.)

			a.	Amount of fire

			b.	Size (building, vessel)

			c.	Construction

			d.	Contents

		2.	Exposures

		3.	Rule of thumb formula for estimating initial fire flow

			a.	Length x Width of Building / 3 = gpm

			b.	Example

				1)	60 ft x 30 ft = 1800/3 = 600 gpm

	B.	Alternative sources of water

		1.	Fire hydrants

		2.	Static sources

		3.	Tankers

�		LESSON OUTLINE				INSTRUCTOR NOTES



3-2.1.1	Prerequisite Knowledge

	A.	Components of a water distribution system

		1.	Source of water

			a.	Wells

			b.	Rivers/streams

			c.	Lakes/dams

			d.	Ground - wells

		2.	Storage

			a.	Elevated storage tanks

			b.	Standpipe storage tanks

			c.	Reservoirs

		3.	Pumps

			a.	Required to maintain pressure and move water

		4.	Distribution system

			a.	Primary feeders

				1)	Large pipes

				2)	Carry large quantities of water

			b.	Secondary feeders

				1)	Network of intermediate size pipe

				2)	Reinforces grid by forming loops that 

					interlock primary feeders

			c.	Distributors

				1)	Small internal grid arrangement

				2)	Serve consumers

				3)	Supply fire hydrants

	B.	Types of supply systems

		1.	Gravity system

			a.	Water source located at higher elevation

			b.	Elevation provides pressure to move water 

				through the system

		2.	Direct pumping system

			a.	Requires a series of pumps to provide pressure 

				and move water through the system

�		LESSON OUTLINE				INSTRUCTOR NOTES



		3.	Combination

			a.	Gravity and pumps are used to supply the 

				system

	B.	Problems related to small diameter and dead-end mains

		1.	Small diameter pipe

			a.	4 inch and smaller pipe do not have the capacity 

				to supply fire flows of 500, 750 and 1,000 gpm

			b.	6 inch has limited capacity for short distances

			c.	8 inch preferred to supply fire hydrants

		2.	Dead end mains

			a.	Long lengths of small diameter pipe cannot 

				supply adequate fire flows to hydrants

			b.	Maximum length of dead end supply to hydrants

				at 1,000 gpm

				1)	4 inch	50 feet

				2)	6 inch	380

				3)	8 inch	1,550

	C.	Low pressure

		1.	May result in inadequate supply

		2.	Some systems may supply large quantities at 

			low pressures

		3.	Most reliable way to know is to conduct flow tests

			to determine available water at various locations

	D.	Private water supply systems

		1.	May or may not be reliable

		2.	May have limited capacity

		3.	May have limited duration

		4.	Hose threads may not be compatible

		5.	Determine strengths and weaknesses through

			pre fire planning

�		LESSON OUTLINE				INSTRUCTOR NOTES



	E.	Hydrant coding systems

		1.	Some systems may be coded using NFPA 291,

		 	Standard on Fire Flow Testing and Marking of 

			Hydrants

		2.	Color Coding system

			a.	1,500 gpm or greater 		light blue

			b.	1,000 gpm to 1,499 gpm	green

			c.	500 gpm to 999 gpm		orange

			d.	less than 500 gpm		red

			e.	Caps and bonnets should be painted

			f.	Periodic flow tests be conducted so that coding 

				is accurate - no specific times for testing

			g.	Caution should be used with coding system

				1)	During peak demand periods quantity

					may be less than indicated

	F.	Reliability of static water sources

		1.	May or may not be water due to season or demand

		2.	Water level may vary by season or demand

		3.	May not be accessible when level is low

		4.	If primary source, check frequently



��REVIEW 



I.	Discuss key lesson points.

II.	Ask questions on the material covered.

III.	Review material that may be unclear.

IV.	Administer test or quiz.

V.	Critique test or quiz.



SUMMARY



I.	Summarize what has been covered.

II.	Relate what has been covered to the next lesson.



�ROCKWELL RURAL FIRE DEPARTMENT 

TRAINING DIVISION



LESSON PLAN 5



Personnel Classification:	Fire Engineer- Pumper



Subject:	Sprinklers and Standpipes



NFPA 1002 Objectives	



	3-3.1

	3-3.1.1



Training Materials/Equipment:



	Fully equipped fire department pumper and training facility equipped with sprinkler or standpipe 	system



References:



	IFSTA, Fire Department Pumping Apparatus, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma State University.



	IFSTA, Fire Stream Practices, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma 	State University.



	IFSTA, Water Supplies for Fire Protection, 4th Edition, 1988, Fire Protection Publications, 	Oklahoma State University.



	NFPA 1002: Fire Vehicle Operator Professional Qualifications, 1993 National Fire Protection 	Association, Quincy, Massachusetts



NFPA 1500: Standard on Fire Department Occupational Safety and Health Programs, 1992 

National Fire Protection Association, Quincy, Massachusetts



Additional Information:



	IFSTA Firefighter Videotape Series - Fire Pump Operation and Maintenance, Fire Protection 	Publications, Oklahoma State University





• Review lesson outline to ensure understanding of contents and procedures.

• Review references for lesson.

• Use additional references and your knowledge to enrich lesson outline.

• Ensure that all equipment needed, including any audio�visual equipment, is available.

• Review lesson at end of session to ensure student understanding.

• Ensure that the topics and objectives of the lesson have been adequately covered

.��INTRODUCTION AND OBJECTIVES



I.	Greet class

II.	State purpose of the lesson

III.	Establish relation to previous and following lessons

IV.	Review NFPA 1002 objectives for this lesson

V.	Review any additional materials for this lesson



PRESENTATION



		LESSON OUTLINE				INSTRUCTOR NOTES



3-3.1	Supply water to sprinkler or standpipe systems

	A.	Sprinkler system

		1.	Points to remember

			a.	Pumper should be able to supply the necessary

				volume and pressure to the system

			b.	Select a good water supply source 

			c.	Sprinkler control valve must be open for 

				operation to be effective

		2.	Steps

	Locate fire department connection for the 

					sprinkler system 

			b.	Locate a water supply source

			c.	Position pumper for best advantage of:

				1)	Water source

				2)	Fire department connection

			d.	Connect supply line from water source to 

				pumper

				1)	Select size based on anticipate volume

					required

				2)	Larger is better

			e.	Charge the supply line

			f.	Connect one or two 2-1/2 inch hose lines to

				fire department connection

			g.	Charge the hose lines to the fire department

				connection

			h.	Increase discharge pressure to 150 psi

�		LESSON OUTLINE				INSTRUCTOR NOTES



			i.	Monitor and adjust discharge pressure when 

				conditions change.

			j.	Shut down only when directed by Command.

	B.	Standpipe system

		1.	Points to remember

			a.	Pumper should be able to supply the necessary

				volume and pressure to the system

			b.	Select a good water supply source

			c.	System may be wet or dry

			d.	Dry system will have to be filled when first 

				connected

		2.	Steps

	Locate fire department connection for the 

				standpipe system 

			b.	Locate a water supply source

			c.	Position pumper to best advantage

				1)	Water source

				2)	Near fire department connection

			d.	Connect supply line from water source to 

				pumper

				1)	Select size based on anticipate volume

					required

				2)	Larger is better

			e.	Charge the supply line

			f.	Connect one or two 2-1/2 inch hose lines to

				fire department connection

			g.	Charge the hose lines to the fire department

				connection

			h.	Increase discharge pressure to 150 psi

			I.	Adjust discharge pressure based on the 

				following:

				1)	Height of fire floor

					a)	Add 5 psi for each floor

					b)	Elevation loss is .5 psi per foot

					c)	Average height of floor = 10 ft

�		LESSON OUTLINE							INSTRUCTOR NOTES



				2)	Friction loss in standpipe system

					a)	Add 25 psi

				3)	Friction loss for standpipe hose line, 

					based on size and length

				4)	Communication with crew on fire floor

			I.	Monitor and adjust discharge pressure when 

				conditions change.

			j.	Shut down only when directed by Command

3-3.1.1	Prerequisite Knowledge

	A.	Pump discharge pressure

		1.	Sprinkler systems

			a.	Calculate engine discharge pressure to provide

				150 psi at the sprinkler connection

		2.	Standpipe systems

			a.	Calculate engine discharge pressure based on

				the following:

				1)	Height of fire floor

					a)	Add 5 psi per floor

				2)	Number and size of hose lines used on

					fire floor

					a)	Calculate friction loss based on

						diameter, length and desired

						nozzle pressure

				3)	Friction loss in standpipe system

					a)	Use 25 psi for standpipe system

				4)	Total all friction loss figures to 

					determine pump pressure 

	B.	Hose layouts

		1.	Will vary with each type of occupancy and system

		2.	Small sprinkler and standpipe systems have only one

			hose connection

		3.	Large systems may have more than one hose 

			connection

�		LESSON OUTLINE				INSTRUCTOR NOTES



		4.	May be forward or reverse lay depending upon:

			1)	Location of sprinkler or standpipe connection

				a)	Some connections are located on

					building

				b)	Some connections are located a

					distance from the protected building

			2)	Location of water source

		5.	Layout should be made based on:

			1)	Anticipated volume (gpm) required

			2)	Pre fire plan estimates

	C.	Location of fire department connection

	D.	Operating principles of sprinkler systems as defined in:

		1.	NFPA 13, Standard for the Installation of Sprinkler

		 	Systems

		2.	NFPA 13D, Standard for the Installation of Sprinkler

			Systems in One and Two Family Dwellings and Mobile

			Homes

		3.	NFPA 13R, Standard for the Installation of Sprinkler

 			Systems in Residential Occupancies Up to and Including 			Four Stories in Height

	E.	Fire department operations in sprinklered occupancies as 

		defined in:

		1.	NFPA 13E, Recommendations for Fire Department

 			Operations in Properties Protected by Sprinkler and 

			Standpipe Systems.

	F.	Operating principles of standpipe systems as defined in:

		1.	NFPA 14, Standard for the Installation of Standpipes 

			and Hose Systems





��REVIEW 



I.	Discuss key lesson points.

II.	Ask questions on the material covered.

III.	Review material that may be unclear.

IV.	Administer test or quiz.

V.	Critique test or quiz.



SUMMARY



I.	Summarize what has been covered.

II.	Relate what has been covered to the next lesson.



�ROCKWELL RURAL FIRE DEPARTMENT 

TRAINING DIVISION



LESSON PLAN 6



Personnel Classification:	Fire Engineer- Pumper



Subject:	Operations



NFPA 1002 Objectives	



	3-4.1

	3-4.1.1

	3-4.1.2

	3-4.2

	3-4.3

	3-4.4



Training Materials/Equipment:



	Fully equipped pumper, pressurized water source, static water source, foam concentrate, foam 	eductors and nozzle, chalkboard, or overhead projector



References:



	IFSTA, Fire Department Pumping Apparatus, 7th Edition, 1989, Fire Protection Publications, 	Oklahoma State University.



	IFSTA, Fire Stream Practices, 7th Edition, 1989, Fire Protection Publications, Oklahoma 	State University.



	IFSTA, Water Supplies for Fire Protection, 4th Edition, 1988, Fire Protection Publications, 	Oklahoma State University.



	NFPA 1002: Fire Vehicle Operator Professional Qualifications, 1993 National Fire Protection 	Association, Quincy, Massachusetts



NFPA 1500: Standard on Fire Department Occupational Safety and Health Programs, 1992 

National Fire Protection Association, Quincy, Massachusetts



Additional Information:



	IFSTA Firefighter Videotape Series - Fire Pump Operation and Maintenance, Fire Protection 	Publications, Oklahoma State University



�Instructor Tasks



• Review lesson outline to ensure understanding of contents and procedures.

• Review references for lesson.

• Use additional references and your knowledge to enrich lesson outline.

• Select and prepare any additional audio�visual aids that may assist in the presentation of the lesson.

• Ensure that all equipment needed, including any audio�visual equipment, is available.

• Review lesson at end of session to ensure student understanding.

• Ensure that the topics and objectives of the lesson have been adequately covered

.��INTRODUCTION AND OBJECTIVES



I.	Greet class

II.	State purpose of the lesson

III.	Establish relation to previous and following lessons

IV.	Review NFPA 1002 objectives for this lesson

V.	Review additional objectives for this lesson



PRESENTATION



		LESSON OUTLINE				INSTRUCTOR NOTES



3-4.1	Produce effective hand or master streams from

	A.	Produce an effective fire stream using the following sources

		1.	Internal tank

		2.	Pressurized source

		3.	Static source

	B.	For each of the items listed above the:

		1.	Pump must be safely engaged

		2.	The vehicle safety devices are set

		3.	Pressure control devices are set

		4.	Produce effective hand stream		

			a.	Rated flow of nozzle is achieved	

		5.	Produce effective master streams

			a.	Rated flow of nozzle is achieved

�		LESSON OUTLINE				INSTRUCTOR NOTES



3-4.1.1	Prerequisite Knowledge

	Formulas used to Solve Fire Department Pumper Hydraulic Problems

	A.�seq level2 \h \r0 �	Common letters and abbreviations used as symbols that are used in fire service hydraulics

		�seq level2 \*arabic�1�.	EL	elevation loss

		�seq level2 \*arabic�2�.	r	radius

		�seq level2 \*arabic�3�.	A	area

		�seq level2 \*arabic�4�.	d	diameter

		�seq level2 \*arabic�5�.	p	a constant (3.1416)

		�seq level2 \*arabic�6�.	g	gravity

		�seq level2 \*arabic�7�.	(	square root

		�seq level2 \*arabic�8�.	h	height

		�seq level2 \*arabic�9�.	L	length

		�seq level2 \*arabic�10�.	AL	appliance loss

		�seq level2 \*arabic�11�.	FL	friction loss

		�seq level2 \*arabic�12�.	V	volume

		�seq level2 \*arabic�13�.	P	flow pressure

		�seq level2 \*arabic�14�.	gpm	gallons per minute

		�seq level2 \*arabic�15�.	psia	pounds-per-square-inch absolute

		�seq level2 \*arabic�16�.	psig	pounds-per-square-inch gauge

		�seq level2 \*arabic�17�.	s	distance

		�seq level2 \*arabic�18�.	t	time

		�seq level2 \*arabic�19�.	PDP	pump discharge pressure

		�seq level2 \*arabic�20�.	NP	nozzle pressure

�		LESSON OUTLINE				INSTRUCTOR NOTES



	B.�seq level2 \h \r0 �	List of equations

		�seq level2 \*arabic�1�.	Area of a circle

			�seq level3 \*alphabetic�a�.	A = (r2

		�seq level2 \*arabic�2�.�seq level3 \h \r0 �	Capacity of a large cylindrical tank

			�seq level3 \*alphabetic�a�.	Gallons = d26L

				�seq level4 \*arabic�1�)	Where:

					d = diameter in ft.

					6 is a constant  

					L = length in ft.

			�seq level3 \*alphabetic�b�.�seq level4 \h \r0 �	V = (r2L

				�seq level4 \*arabic�1�)	A longer but accurate method for finding cubic feet in the tank

				�seq level4 \*arabic�2�)	Where:

					p = 3.1416

					r = radius

					L = length

		�seq level2 \*arabic�3�.�seq level3 \h \r0 ��seq level4 \h \r0 �	Gallons per minute from an orifice

			�seq level3 \*alphabetic�a�.	gpm = 29.7d2(P

				�seq level4 \*arabic�1�)	Where:  

					d = orifice diameter

					P = psi (pitot tube and gauge reading

					29.7 = a constant

		�seq level2 \*arabic�4�.�seq level3 \h \r0 ��seq level4 \h \r0 �	Water flow

			�seq level3 \*alphabetic�a�.	Q = gpm/100

		�seq level2 \*arabic�5�.�seq level3 \h \r0 �	Friction loss in hose

			�seq level3 \*alphabetic�a�.	FL = CQ2 L

			b.	FL = friction loss in psi

			c.	C = friction loss coefficient (Table 4.3 IFSTA, Fire Streams, 7th Edition)

			d.	Q = Flow rate in hundreds of gpm

				1)	Q = gallons per minute/100

			e.	Length of hose in hundreds of feet

				1)	L = length of layout/100

�		LESSON OUTLINE				INSTRUCTOR NOTES



		�seq level2 \*arabic�6�.�seq level3 \h \r0 �	Nozzle reaction

			�seq level3 \*alphabetic�a�.	NR = 0.0505Q(NP

				�seq level4 \*arabic�1�)	NR = nozzle reaction

					Q  = flow (GPM)

					NP = nozzle pressure; (psi at base of nozzle)

					0.0505 is a constant

		8.	Friction loss coefficients for single hose lines*

			a.	For use with the formula FL = CQ2L

			b.	Size/Type of hose		Coefficient

				1-1/2 inch			24

				1-3/4 inch			15.5

				2 inch				8

				2-1/2 inch			2

				3 inch				0.8

				4 inch				0.2

				5 inch				0.08

				6 inch				0.05

				*Table 4.3 IFSTA, Fire Streams, 7th Edition

		9.�seq level3 \h \r0 �	Required pump discharge pressure

			�seq level3 \*alphabetic�a�.	PDP = NP + FL

				�seq level4 \*arabic�2�)	PDP = pump discharge

 					NP = nozzle pressure 

					FL = friction loss

		10.�seq level3 \h \r0 ��seq level4 \h \r0 �	PDP with back pressure and pressure "gain"

			�seq level3 \*alphabetic�a�.	PDP = NP+FL+0.5(h)

				�seq level4 \*arabic�1�)	h = ft. above or below the pump

					0.05 is a constant

�		LESSON OUTLINE				INSTRUCTOR NOTES



	C.	Hydraulic calculations for friction loss

		Find the nozzle or pump discharge pressures

		1.	Given

			�seq level3 \*alphabetic�b�.	Length of hose = 400 ft.

			�seq level3 \*alphabetic�c�.	Size of hose = 2-1/2 in.

			�seq level3 \*alphabetic�d�.	Size of nozzle = 2-1/2 in.

			�seq level3 \*alphabetic�e�.	Type of nozzle = variable gallonage fog nozzle

			�seq level3 \*alphabetic�f�.	Gpm = 250

			�seq level3 \*alphabetic�g�.	Nozzle pressure = 100 psi

		�seq level2 \*arabic�7�.�seq level3 \h \r0 �	Solution

			�seq level3 \*alphabetic�a�.	Friction loss formula

				1)	FL = CQ2L

				2)	FL = 2 x 2.52 x 1

				3)	FL = 2 x 6.25 x 1

				4)	FL = 12.5 psi

				5)	FL = 12.5 psi / 100 feet

			�seq level3 \*alphabetic�b�.�seq level4 \h \r0 �	Formula for quantity based on the gpm flowing through the nozzle

				�seq level4 \*arabic�1�)	Quantity Q) = gpm

						          100

				�seq level4 \*arabic�2�)	Q = 250

					      100

				�seq level4 \*arabic�3�)	Q = 2.5

			�seq level3 \*alphabetic�c�.�seq level4 \h \r0 �	Multiply the friction loss (FL) per 100 feet by the length of hose (HL) per 100 ft. to find total friction loss for the hose

				�seq level4 \*arabic�1�)	Total Friction Loss = FL x HL

				2)	Total Friction Loss = 12.5 x 4

				3)	Total Friction Loss = 50 psi

			�seq level3 \*alphabetic�d�.�seq level4 \h \r0 �	Pump discharge pressure equals friction loss plus nozzle pressure

				�seq level4 \*arabic�1�)	PDP = FL+NP

				�seq level4 \*arabic�2�)	PDP = 50+100

				�seq level4 \*arabic�3�)	PDP = 150

�		LESSON OUTLINE				INSTRUCTOR NOTES



	D.�seq level2 \h \r0 ��seq level3 \h \r0 ��seq level4 \h \r0 �	Find water flow in gallons per minute

		�seq level2 \*arabic�1�.	Given

			�seq level3 \*alphabetic�a�.	Diameter of the orifice (d): 1-1/4 inch

			�seq level3 \*alphabetic�b�.	Nozzle pressure p):  49 psi

			�seq level3 \*alphabetic�c�.	Formula: gpm = 29.7d2(P

		�seq level2 \*arabic�2�.�seq level3 \h \r0 �	Solution

			�seq level3 \*alphabetic�a�.	Gpm = 29.7d2(P

			�seq level3 \*alphabetic�b�.	Gpm = 29.7 x 1.252 (49

			�seq level3 \*alphabetic�c�.	Gpm = 29.7 x 1.56 x (49

			�seq level3 \*alphabetic�d�.	Gpm = 46.40 x 7

			�seq level3 \*alphabetic�e�.	Gpm = 324.8

�		LESSON OUTLINE				INSTRUCTOR NOTES



	E.�seq level2 \h \r0 ��seq level3 \h \r0 �	Find friction loss in the supply and attack lines

		�seq level2 \*arabic�1�.	Given

			�seq level3 \*alphabetic�a�.	Length and size of lines = 300 ft. of 2-1/2 in. supply line wyed into three 200 ft. of 1-1/2 in. lines

			�seq level3 \*alphabetic�b�.	Gpm flow = 100 gpm from each nozzle

			�seq level3 \*alphabetic�c�.	Friction loss FL) in wye = 10 psi

			�seq level3 \*alphabetic�d�.	Constant for 1-1/2 in. conversion = 13.5

			�seq level3 \*alphabetic�e�.	Formulas needed

				�seq level4 \*arabic�1�)	Q = gpm

					       100

				�seq level4 \*arabic�2�)	FL = CQ2L

		�seq level2 \*arabic�2�.�seq level3 \h \r0 ��seq level4 \h \r0 �	Solution

			�seq level3 \*alphabetic�a�.	First find FL in the 1-1/2 inch line

				�seq level4 \*arabic�1�)	Q = gpm

					        100

				�seq level4 \*arabic�2�)	Q = 100

					       100

				�seq level4 \*arabic�3�)	Q = 1

				�seq level4 \*arabic�4�)	FL = CQ2L

				�seq level4 \*arabic�5�)	FL = 24 x 1 x 2

				�seq level4 \*arabic�6�)	FL = 48 psi / 200 feet

�		LESSON OUTLINE				INSTRUCTOR NOTES



			�seq level3 \*alphabetic�b�.�seq level4 \h \r0 �	Second, find the FL for the 2-1/2 inch line

				�seq level4 \*arabic�1�)	Q = gpm

					       100

				�seq level4 \*arabic�2�)	Q = 300

					       100

				3)	Line 1 = 100 gpm

					Line 2 = 100 gpm

					Line 3 = 100 gpm

					Total flow = 300 gpm

				4)	Q = 3

				�seq level4 \*arabic�3�)	FL = CQ2L

				�seq level4 \*arabic�4�)	FL = 2 x 32 x 3

				�seq level4 \*arabic�5�)	FL = 2 x 9 x 3 

				�seq level4 \*arabic�6�)	FL =54 psi / 300 feet

			�seq level3 \*alphabetic�c�.�seq level4 \h \r0 �	Total friction loss (TFL)

				�seq level4 \*arabic�1�)	48 psi - 1-1/2 inch

				2)	54 psi - 2-1/2 inch

				3)	102 psi total friction loss (FL)

			d.	Friction loss (FL) in wye = 10 psi if the flow is 					over 350 gpm

	F.�seq level2 \h \r0 ��seq level3 \h \r0 ��seq level4 \h \r0 �	Find friction loss in siamesed lines

		�seq level2 \*arabic�1�.	Given

			�seq level3 \*alphabetic�a�.	Size and length of hose:  two 2-1/2 in. lines each 1,000 ft., into one 2-1/2 in. 100 ft. long

			�seq level3 \*alphabetic�b�.	Gpm flow:  250

			�seq level3 \*alphabetic�c�.	Nozzle type = variable gallonage fog nozzle

			�seq level3 \*alphabetic�d�.	Formulas

				�seq level4 \*arabic�1�)	Q = gpm

					       100

				�seq level4 \*arabic�2�)	FL = CQ2L

�		LESSON OUTLINE				INSTRUCTOR NOTES



		�seq level2 \*arabic�2�.�seq level3 \h \r0 ��seq level4 \h \r0 �	Solution

			�seq level3 \*alphabetic�a�.	First, calculate the friction loss for the single line

				�seq level4 \*arabic�1�)	Q = gpm

				                    100

				�seq level4 \*arabic�2�)	Q = 250

					       100

				�seq level4 \*arabic�3�)	Q = 2.5

				�seq level4 \*arabic�4�)	FL = CQ2L

				�seq level4 \*arabic�5�)	FL = 2 x 2.52 x 1

				�seq level4 \*arabic�6�)	FL = 2 x 6.25 x 1

				�seq level4 \*arabic�7�)	FL = 12.5 psi / 100 feet

			b.	Calculate the friction loss of the two 2 - 1/2 lines

				1)	FL = CQ2L

				2)	FL = 0.5 x 2.5 x x 10

				3)	FL = 0.5 x 6.25 x 10

				4)	FL = 31.25

			c.	Friction loss coefficients for multiple hose lines*

				For use with the formula FL = CQ2L

				Number/Size of hose		Coefficient

				Two 2-1/2			0.5

				Three 2-1/2			0.22

				Two 3 inch			0.2

				*Table 4.5 IFSTA, Fire Streams, 7th Edition

			d.�seq level4 \h \r0 �	Total friction loss (TFL)

				1)	12.5 psi - 2-1/2 inch hose line

				2)	31.25 psi - both 2-1/2 inch hose lines

				3)	43.75 psi total friction loss (TFL)

	G.�seq level2 \h \r0 ��seq level3 \h \r0 ��seq level4 \h \r0 �	Find friction loss in wyed lines

		�seq level2 \*arabic�1�.	Given

			�seq level3 \*alphabetic�a�.	Size and length of hose:  200 ft. of 2-1/2 in. lines wyed into two 200 ft. 1-3/4 in. lines

			�seq level3 \*alphabetic�b�.	Gpm flow:  100 gpm at each nozzle

			�seq level3 \*alphabetic�c�.	Nozzle type:  constant flow fog nozzle

			d.	Conversion factor for 1-3/4 in. = 5.95

�		LESSON OUTLINE				INSTRUCTOR NOTES



			e.	Formulas

				�seq level4 \*arabic�1�)	Q = gpm

					       100

				2)	L = hose length

						100

				3)	FL = CQ2L

		�seq level2 \*arabic�2�.�seq level3 \h \r0 ��seq level4 \h \r0 �	Solution

			�seq level3 \*alphabetic�a�.	First find FL for 1-3/4 in. lines

				�seq level4 \*arabic�1�)	Q = gpm

					       100

				�seq level4 \*arabic�2�)	Q = 100

					       100

				�seq level4 \*arabic�3�)	Q = 1

				�seq level4 \*arabic�4�)	FL = CQ2L

				�seq level4 \*arabic�5�)	FL = 15.5 x 12 x 2

				�seq level4 \*arabic�6�)	FL= 31 psi / 200 feet

			�seq level3 \*alphabetic�b�.�seq level4 \h \r0 �	Second, find FL for the 2-1/2 line

				�seq level4 \*arabic�1�)	Q=gpm

					     100

				�seq level4 \*arabic�2�)	Q=200

					    100

				�seq level4 \*arabic�3�)	Q=2

				�seq level4 \*arabic�4�)	FL = CQ2L

				�seq level4 \*arabic�5�)	FL = 2 x 22 x 2

				�seq level4 \*arabic�6�)	FL = 2 x 4 x 2

				�seq level4 \*arabic�7�)	FL=16 psi / 200 feet

			c.�seq level4 \h \r0 �	Total friction loss (TFL)

				1)	31 psi -1-3/4 inch hose line

				2)	16 psi - 2-1/2 inch hose line

				3)	47 psi total friction loss (TFL)

�		LESSON OUTLINE				INSTRUCTOR NOTES



	H.�seq level2 \h \r0 ��seq level3 \h \r0 ��seq level4 \h \r0 �	Find friction loss for standpipe line

		�seq level2 \*arabic�1�.	Given

			�seq level3 \*alphabetic�a�.	4 inch standpipe

			b.	Gpm flow:  125 gpm

			c.	Size of hose 1-3/4 inch

			�seq level3 \*alphabetic�b�.	Length of hose:  200 ft. each line

			�seq level3 \*alphabetic�c�.	Type of nozzle:  Variable gallonage fog nozzle

			�seq level3 \*alphabetic�d�.	4th floor

			�seq level3 \*alphabetic�e�.	Formulas

				�seq level4 \*arabic�1�)	Q=gpm

					     100

				�seq level4 \*arabic�2�)	FL = CQ2L

		�seq level2 \*arabic�2�.�seq level3 \h \r0 ��seq level4 \h \r0 �	Solution

			�seq level3 \*alphabetic�a�.	First, find friction loss

				�seq level4 \*arabic�1�)	Q=gpm

					     100

				�seq level4 \*arabic�2�)	Q=125

					     100

				�seq level4 \*arabic�3�)	Q=1.2

				�seq level4 \*arabic�4�)	FL = CQ2L

				�seq level4 \*arabic�5�)	FL = 0.324 x 1.22 x 0.4

				�seq level4 \*arabic�6�)	FL = 0.324 x 1.44 x 0.4

				�seq level4 \*arabic�7�)	FL = 0.22 psi / standpipe

			b.	Elevation loss

				1)	Elevation pressure = 5 psi x # of floors

				2)	Elevation pressure = 5 psi x 4 floors

				3)	Elevation pressure = 20 psi

			c.	Friction loss in hose

				1)	Q = gpm

					        100

				2)	Q = 125

					       100

				3)	Q = 1.25

				4)	FL = CQ2L

				5)	FL = 15.5 x 1.252 x 2

				6)	FL = 15.5 x 1.6 x 2

				7)	FL = 49.6

		LESSON OUTLINE				INSTRUCTOR NOTES



			d.�seq level4 \h \r0 �	Total friction loss (TFL)

				1)	0.22 psi - standpipe

				2)	20 psi - elevation

				3)	48.4 psi - 1-3/4 inch line

				3)	68.6 psi total friction loss (TFL)

	I.	Find estimated remaining available volume from hydrant while

		pumping

		1.	Given

			a.	Static intake pressure:  50 psi

			b.	Psi drop when one line is open:  5 psi

			c.	Gpm of one line:  250 gpm

			d.	Estimates needed

				1)	The amount of water that is still available after one line is supplied is based on the following percentages:  

					0-10% - 3 times the amount of water being delivered

					11-15% - 2 times the amount of water

		2.�seq level3 \h \r0 ��seq level4 \h \r0 �	Solution

			�seq level3 \*alphabetic�a�.	Divide the static pressure by the psi drop when the line is open

			�seq level3 \*alphabetic�b�.	This will calculate percentage of drop

				�seq level4 \*arabic�1�)	Percent drop = static pressure ¸ psi drop when one line is open

				�seq level4 \*arabic�2�)	Percent drop = 50¸5

				�seq level4 \*arabic�3�)	Percent drop = 10%

				�seq level4 \*arabic�4�)	A 10% drop shows that 3 times the amount of water used is still available

				�seq level4 \*arabic�5�)	250 gpm x 3 = 750 gpm still available

�		LESSON OUTLINE				INSTRUCTOR NOTES



	J.	Mental Calculation of Correct Pump Discharge Pressure, GPM, 	Friction Loss, and Nozzle Pressure

		Often at a fire scene there is no time to develop the equations needed to supply hoselines correctly; quick reference approximations



	Size of hose in.)		Rule-of-thumb gpm)

		1-1/2				100

		1-3/4				200

		2-1/2				250

		3				500

		4				1,000

		5				1,500



	Nozzle				Optimum nozzle

					   pressure (psi)

	Fog - handline				100

	Fog - master stream			100

	Solid stream - handline			50

	Solid stream - master stream		80



	Device				Friction loss psi)

	Ladder pipes				10

	Deck guns				10

	Wye					10

	Siamese				10



	2-1/2 in. handline		Friction loss psi)

	flows gpm)

		200				10

		250				15

		300				20

�		LESSON OUTLINE				INSTRUCTOR NOTES



�seq level1 \h \r0 �	K.	Calculation of Nozzle Reaction of Hand and Master Streams

		1.	One of the basic laws of physics, Newton's third law, 

			states that for every action there is an equal and 

			opposite reaction

		2.	Water flowing out of nozzle will cause a backward 

			reaction

		3.	Since the reaction force is dependent upon amount of 

			water flowing through hose, it will therefore depend on 

			the size of the nozzle used and the nozzle pressure

		4.	Formulas

			a.	For straight-tipped solid stream nozzles

				1)	NR = 1.5d2NP

				2)	NR = nozzle reaction in lb.

					 d = nozzle diameter in.

					NP = nozzle pressure in psi at the 

					nozzle

			b.�seq level3 \h \r0 �	For fog pattern nozzles

				1)	Not based on standard formula because 

					nozzle diameter does not flow a 

					concentrated core of water

				2)	The formula is calculated as follows

					NR = 0.0505QÖ¾NP

				3)	Where

					a)	NR = nozzle reaction in lb.;

						Q = flow in gallons per minute;

						NP = nozzle pressure in psi, at 	

						the base of the nozzle

�		LESSON OUTLINE				INSTRUCTOR NOTES

											

	L.	Computing Maximum Lift of a Fire Department Pumper

Drafting water is the process of using water from a static 

			source, such as a pond, lake, or basin

Since water source is static, pump operator's job is force

	 		water into the pump to be used on the fire ground

		3.	Process

			a.	For each 1 in. of mercury vacuum created, 	

				water will be pushed into the non-collapsible 	

				hose (or hard sleeve) a distance of 1.13 ft.

			b.	Lift measured from surface of static source to 	

				centerline of pump, at sea level, will allow water 

				to be pushed to a height of

				1)	14.7 psi x 2.304 ft./lb. = 33.86

				2)	29.7 in. of mercury x 1.13 ft./lb./ = 33.81

			c.�seq level3 \h \r0 �	The perfect vacuum necessary for the 	theoretical lift of 33.9 ft. is almost impossible to 	

				achieve, even in a laboratory.

			d.	Additional loss in optimum lift is accounted for 	

				due to friction in the suction hose

			e.	Head loss, water temperature, atmospheric 	

				pressure at the site location and condition of the 	pump all contribute to lessening the theoretical 	

				height that a pumper may raise water.

			f.	Limits practical lifts to

				1)	28 ft. for an excellent rating

				2)	25 ft. for a good rating

				3)	Pumpers should not be tested at a lift 	

					greater than 10 ft.

				4)	A primer on a fire department pumper 	

					must be capable of raising water 10 ft. 	

					into a dry pump through 20 ft. of 	

					appropriate size hose in not more than 	

					30 seconds

				5)	For effective operation, lift should be no 	higher than 10 ft.

�		LESSON OUTLINE				INSTRUCTOR NOTES



			g.�seq level3 \h \r0 �	Most pumpers in service lift somewhat less than 	these figures because

				1)	Atmospheric pressure is higher on clear, 	fair days and lower  on cloudy or stormy 	days

			h.�seq level3 \h \r0 �	The pressure change will influence the 	maximum lift

				1)	Altitude changes atmospheric pressure 	

					by dropping approximately 1 in. of 	

					mercury (1/2 psi) for every 1,000 ft. of 	

					altitude above sea level

�		LESSON OUTLINE				INSTRUCTOR NOTES



3-4.1.2	Prerequisite Skills

	A.	Methods of power transfer

		1.	Mechanical linkage

			a.	This is not very common as a main method but is usually included as part of the pump's emergency back-up

			b.	It is operated from the pump itself

			c.	Manual override should be practiced frequently

		2.	Electrical or hydraulic

			a.	Common methods of power transfer

			b.	Procedure (before leaving the cab)

				1)	Disengage clutch

				2)	Place the road transmission in neutral

				3)	Place the clutch in proper gear

		3.	The normal arrangement is for power transfer case to be 	controlled from inside cab of the apparatus.

			a.	If road transmission is not placed in correct 	gear, pump will not turn at needed rpm to 	operate effectively

			b.	Check that transmission is in correct gear; 	observe speedometer reading after pump is 	engaged

			b.	With the pump engaged, speedometer 	reading 		will be between 10 to 15 mph, depending on the			apparatus

		4.	Locks

			a.	To prevent a manual transmission from slipping 					out of gear, or an automatic transmission gear 					selector from moving during pumping 						operations, lock is provided on 							transmission or shift lever to hold it in proper 					gear for pumping

�		LESSON OUTLINE				INSTRUCTOR NOTES



	B.	Priming Systems

		1.	Because centrifugal pumps have slippage; cannot prime 	themselves

		2.	A source of vacuum or negative pressure needed to 	draft

		3.	Positive displacement pumps

			a.	Largely used as priming pumps; not as main 	source of pressure

			b.	Work on the principle that when pressure is 	applied to a confined liquid, same outward 	pressure is equally transmitted within the liquid 	in all directions

			c.	There are two basic types of positive 	displacement pumps

				1)	Piston pumps

					a)	All pistol pumps contain a piston 	that moves back and forth 	inside a cylinder

					b)	As the piston is driven forward, 	air within the cylinder is 	compressed; creates a higher 	pressure inside pump than the 	atmospheric pressure in 	discharge manifold

					c)	This pressure causes the 	discharge valve to open and air 	to escape through discharge 	lines

					d)	This action continues until 	piston completes its travel on 	forward stroke and stops

�		LESSON OUTLINE				INSTRUCTOR NOTES



					e)	At the point that pressures 	equalize; discharge valve 	closes

					f)	As the piston begins the return 	stroke, area in cylinder behind 	piston increases; pressure 	decreases, creates partial 	vacuum.

					g)	At this time, the intake valve 	opens, allows air from suction 	hose to enter pump

					h)	Atmospheric pressure forces 	water to rise within hose until 	piston completes its travel; 	intake valve closes

					i)	More air is discharged until all 	the air has been removed; 	water enters

					j)	The pump is now considered to 	be primed

				2)	Rotary gear pump

					a)	Consists of two gears that rotate in a tightly meshed pattern inside a watertight case

					b)	Gears are constructed so they contact each other; in close proximity to the case

					c)	With this arrangement, watertight and airtight pockets are formed by the gears within case as they turn from intake to outlet

					d)	Total amount of water that can be pumped depends on size of pockets

�		LESSON OUTLINE				INSTRUCTOR NOTES



				3)	Rotary vane pump

					a)	The rotor is mounted off-center inside housing

					b)	The vanes are free to move within slot where they are mounted

					c)	As the rotor turns, vanes are forced against housing by centrifugal force; rotor usually has an rpm of 1,000 to 1,500

					d)	When surface of vane that is in contact with the casing becomes worn, centrifugal force causes it to extend further; automatically maintains a tight fit

					e)	This self-adjusting feature makes rotary vane pump much more efficient at pumping air than a standard rotary gear pump

					f)	As rotor turns, air is trapped 	between rotor and casing in the 	pockets formed by adjacent 	vanes

					g)	As vanes turn, pocket becomes 	smaller; compresses air and 	causes pressure to build up

					h)	Pocket becomes even smaller 	as vanes progress toward 	discharge opening

�		LESSON OUTLINE				INSTRUCTOR NOTES



					i)	Pressure reaches its maximum 	level, forcing trapped air out of 	pump

					j)	Water forced into pump by 	atmospheric pressure until 	pump fills with water

					k)	At this point, pump is primed

	C	Drafting Operations

		1.	Draft procedure

			a.	Select proper water source capable of drafting 	operation

			b.	Maneuver apparatus to draft site

			c.	Stop before reaching water source to connect 	hard suction hose and strainer to pumper

			d.	Attach strainer to hard suction hose

			e.	Attach hard suction hose to intake

			f.	Move to final draft position

			g..	Minimize lift distances

			h.	Surround strainer with at least 24 in. of water on 	all sides

			i.	Properly place pump in gear

			j.	Prime pump

			k.	Systems check

				1)	Check couplings on hard suction hose 	for airtight seal

				2)	Check that all drains are closed

				3)	Check that intake relief valve outlet is 	capped

				4)	Check that circulator valve or booster 						cooling valve is completely turned off (if 					applicable)

�		LESSON OUTLINE				INSTRUCTOR NOTES



	D	Pressure relief systems

		1.	Automatic pressure control

			a.	The volume of water moving through pump may 	change suddenly when a nozzle is shut down 	rapidly or when setting is changed on a variable 	gallonage nozzle

			b.	The fire fighter on the nozzle cannot tolerate 	any sudden changes in pressure. 

			c.	During the critical stages of the attack, a sudden 	change in pressure can be disastrous

			d.	A shutdown of one line can mean surge on 	others so that some type of automatic pressure 	regulation is essential to ensure safety of 	personnel operating hoselines; directs excess 	pressure to intake side of pump

		2.	Relief valve

			a.	The main action is to relieve excess pressure 	within the pump discharge

			b.	An adjustable spring-loaded pilot valve actuates 	the relief valve to bypass water from discharge 	to intake chamber of pump

			c.	Rerouting permits pump to continue in operation 	when pressure rises above the working pressure

			d.	When the discharge pressure rises higher than 	allowed by the pilot valve setting, the spring in 	the pilot valve moves; permits water to dump 	back into pump intake

�		LESSON OUTLINE				INSTRUCTOR NOTES



		3.	Pressure governor

			a.	For centrifugal pumps only

			b.	It is pressure actuated to adjust engine throttle

			c.	The main feature of a pressure governor is that 	it regulates power output of engine to match set 	pump discharge requirements

			d.	When the pressure in the discharge chambers 	of the pump exceeds pressure necessary to 	maintain safe fire streams, engine speed is 	reduced; speed of impellers dependent on 	engine speed

	E.	Pump Gauges

		1.	Vacuum gauge

			a.	The gauge is usually calibrated from 0 to 600 	psi positive pressure; 0 to 30 in. of vacuum on 	the negative side

			b.	This gauge provides an indication of vacuum 	present at intake of pump during priming or 	when pump is operating from draft

			c.	It also provides an indication of residual 	pressure when pump is operating from a hydrant 	or is receiving water through a supply line from 	another pump

		2.	Pressure gauge

			a.	A pressure gauge is calibrated to 	measure 600 psi unless pumper is equipped to 	supply high-pressure fog streams, in which case 	the gauge may be calibrated up to 1,000 psi

			b.	The pressure gauge registers the pump 	discharge pressure

�		LESSON OUTLINE				INSTRUCTOR NOTES



			c.	On a centrifugal pump, may also be a 	compound gauge; both intake and discharge of 	centrifugal pump will register negative pressure 	during priming

			d.	Pressure gauges can be connected to individual 	discharge lines

			e.	An individual line gauge is the only way to be 	certain that the pump has been adjusted 	properly

		3.	Flowmeter

			a.	Flow meters virtually eliminate possibility of 	operator error; provide an accurate reading of 	water flow in gallons per minute

			b.	The number displayed on the flowmeter requires 	no further calculation; reflects how much water 	is moving through discharge valve

			c.	NFPA 1901 allows flow meters to be used 	instead of pressure gauges on all 2-1/2 in. or 	larger outlets

	F.	Transfer Valve

		1.	Found on two stage pumps

		2.	May be manual or power operated

		3.	Function is to change pump from series to parallel or

			from parallel to series operation

		3.	Two positions

			a.	Series

			b.	Pressure

		3.	When pump is use at more than one half of rated 				capacity, parallel operation should be used

			a.	Example: When a 1,000 gpm pump is pumping

				more than 500 gpm - parallel operation should 					be used

�		LESSON OUTLINE				INSTRUCTOR NOTES



	G.	Auxiliary Cooling Systems

		1.	The primary function of auxiliary coolers is to control the 	temperature of cooling water in the apparatus engine 	during pumping operations

		2.	Two types:  marine and immersion

			a.	Marine

				1)	Inserted in one of the hoses used in 	engine cooling system; engine coolant 	must travel through it as it circulates 	through system

				2)	Coolant from radiator passes through 	tubes in cooler; colder water from fire 	pump comes in contact with metal tubes

				3)	Colder water conducts heat away from 	tubes; reduces temperature of coolant 	flowing through them

				4)	A valve on the pump panel is used to 	control the amount of water being 	supplied to auxiliary cooler

			b.	Immersion

				1)	Mounted with radiator coolant passing 	through body of the cooler

				2)	Water from fire pump passes through 	tubing mounted inside the cooler; 	immersed in coolant

				3)	As cooler water from fire pump passes 	through tubing, heat from coolant is 	absorbed by tubing and dissipated in 	water from pump

				4)	Valve on pump panel used to control 	degree of cooling desired

�		LESSON OUTLINE				INSTRUCTOR NOTES



	H 	Nozzles

		1.	Solid stream

			a.	Flow is constant and determined by tip size

			b.	Only control is shutoff

				1)	Flow can be varied somewhat by 	partially closing shutoff; creates 	extreme turbulence and destroys stream

				2)	For normal fire fighting operations, 	should be operated fully open

			c.	Pressures

				1)	Handlines - 50 psi at tip (standard)

				2)	Master streams - 80 to 100 psi at tip

			d.	This type of nozzle is rarely used for interior 	operations; may be used to great advantage in 	exterior, defensive operations 

			e.	Solid-stream nozzles produce little or no spray

			f.	Internal blades called vanes designed into 	nozzle to create a straighter stream

�		LESSON OUTLINE				INSTRUCTOR NOTES



		2.	Basic types of fog nozzles

			a.	Most common type is peripheral jet

				1)	Adjustable pattern, usually from straight 	stream to about 120o

				2)	Of more importance to the 	driver/operator, most, except for very 	old models, are constant flow; they 	deliver same gpm in all patterns

				3)	Adjustable flows are very common

					a)	1-1/2 in. flows commonly vary 	from 30-120 gpm

					b)	2-1/2 in. flows commonly vary 	from 120-250 gpm

					c)	2-1/2 in. turbojet operated in flush position flows about 325-350 gpm

					d)	Stream is not good, but if 	heavy, blitz-type stream is 	needed, this may be used.

				4)	Department has standard operating procedures specifying 

					a)	normal gpm setting for all adjustable-flow nozzles

					b)	Settings are not changed without notifying driver/operator

				5)	If 1-1/2 in. are normally set on 95 gpm, can be changed to either 60 or 120 without much effect on tip pressure

				6)	The most standard and desired pressure is 100 psi

			b.	For fixed-flow nozzles, Fire Engineer should know rated flow

�		LESSON OUTLINE				INSTRUCTOR NOTES



		3.	Flows

			a.	The critical factor regarding flows is that 	Fire Engineer must be familiar with nozzles in 	use by department

			b.	Where adjustable flow nozzles are used, must 	be a standard operating procedure regarding 	flow settings and changes of flow settings

		4.	Automatic nozzles

			a.	Automatic nozzles require different way of 	thinking, both for Fire Engineer and nozzle 	person

			b.	Features

				1)	Slide shutoff valve enables nozzle 	person to vary flow without destroying 	stream characteristics

				2)	Other automatic nozzles use a ball-type 	shutoff; produce very poor streams 	when partially shut off

				3)	These may be so poor that nozzle operators will refuse to control flow from nozzle; ask Fire Engineer to control it from pump

�		LESSON OUTLINE				INSTRUCTOR NOTES



3-4.2	Pump a supply line in a relay pumping operation

	A.	Source pumper

		1.	Connect to water supply

		2.	Connect supply line to relay pumper

		3.	Start flow of water when signaled by relay pumper

		4.	When relay is established - increase pressure and 

			maintain desired intake pressure to relay pumper

	B.	Relay pumper

		1.	Connect hose line from source pumper

		2.	Connect discharge lines to other pumper or appliance

		3.	Signal source pumper to start flow

		4.	Pump out of gear

		5.	Open discharge valve

		6.	When water flows out of discharge - engage pump

		7.	Close discharge valve

		8.	Open valves to charge attack lines

		9.	Adjust throttle for proper pump pressure

		10.	

	C.	Flow and pressure based on

		1.	Size of hose line

		2.	Length of hose line

	D.	Shut down in reverse order

		1.	Relay pumper shuts down first

�		LESSON OUTLINE				INSTRUCTOR NOTES



3-4.3	Produce a foam fire stream				

	A.	Objective is to produce properly proportioned foam	

	B.	Steps for using an external eductor

		1.	Assemble necessary equipment

			a.	Foam concentrate

			b.	Foam eductor

				1)	Eductor and nozzle must have same

					gpm rating

			c.	Foam nozzle

			d.	Hose

		2.	Connect equipment

			a.	Connect eductor to pump discharge

			b.	Connect hose line to eductor

			c.	Connect nozzle to hose line

				1)	Length of hose line should not exceed

					manufacturers recommendations

			d.	Open foam concentrate and insert pickup tube

			e.	Place pump in gear and open discharge valve

			f.	Increase pump pressure to that required for the

				eductor

	C.	Steps for using a pump proportioner with foam tank (if equipped)

		1.	Two kinds of systems

			a.	Around the pump proportioner

				1)	With pump in gear

					a)	Open bypass valve

					b)	Set metering valve for percent

						foam concentration

					c)	Attach hose line or lines

			b.	Balanced pressure proportioner

				1)	With pump in gear

					a)	Activate foam concentrate

						pump

					b)	Set metering valve for percent

						foam concentrate

					c)	Attach hose line or lines�		LESSON OUTLINE					INSTRUCTOR NOTES



3-4.4	Change water supply source while pumping an attack line

	A.	Objective is to maintain flow to attack line while changing from

		apparatus water tank to external water source

	B.	Steps

		1.	Connect pumper to external water source

		2.	Deploy attack line

		3.	Place pump in gear

		4.	Pump attack line using tank water

		5.	Adjust pump for proper discharge pressure and flow

		6.	Open suction valve to take water from external source

		7.	Close tank valve

		8.	Pump attack line using external water source

�REVIEW 



I.	Discuss key lesson points.

II.	Ask questions on the material covered.

III.	Review material that may be unclear.

IV.	Administer test or quiz.

V.	Critique test or quiz.



SUMMARY



I.	Summarize what has been covered.

II.	Relate what has been covered to the next lesson.







	� PAGE �1�	



	� PAGE �5�	



	� PAGE �15�	



	� PAGE �34�	







	� PAGE �35�	





	� PAGE �42�	





	� PAGE �48�	












