Electrical Measurement & Measuring Instruments (TEE -302)










L
T
P










3
1
0

Objective:  This Subject contains information regarding different type of Analog Instrument, their working principle and application. 

Books:

B1. “Electrical & Electronics Measurement & Instrument” By A.K.Sawhney, 

(Dhanpat Rai & Sons, India)

B2. “Electrical Measurement & Measuring Instrument” By W. Golding & F.C.Widdis
(A.W.Wheeler & Co. Pvt. Ltd., India)

B3. “Electronic Instrument & Measurement Technique” By W.D.Cooper.

B4. “Electrical Measurement” By Forest K. Harries (Willey Eastern Pvt. Ltd. India)

B5. “Basic Electrical Measurement” By M.B.Stout (PHI, India)

	S.No.
	Topics
	No. Of  Lecture
	Page No.

	1.
	Units, Dimensions and Standards:
Introduction to MKS system, SI System, SI Units, Standards of EMF, Resistance, Capacitance and Inductance, Methods of Measurement , Measurement system , Classification of Instrument system , Characteristics of Instrument & Measurement system , Errors in Measurement & its Analysis.

 
	6
	B1: Page No.
161-199

	2.
	General Theory of Analog Measuring Instruments:
Operating Torque, Damping &Controlling Torque , T/W ratio, Pointers & Scales, Principles of operation of various types of Electromechanical indicating /registering instruments viz. PMMC, Dynamometer ,Induction , Thermal etc. for D.C. & A.C.  Measurement of V, I, W, frequency, Phase & Power Factor etc. Energy meter, their sources of error & Compensation, Shunts & Multipliers, Multimeter. 

	9
	B1: Page No.

222-244, Page No.

292-383

	3.
	Potentiometers:
Basic Potentiometer circuit, multiple ranges Potentiometer, constructional details of potentiometers, Application of D.C. potentiometer, and self balancing potentiometers.
A.C. potentiometer, polar and co-ordinate types.

	5
	B1: Page No.

558-584

	4.
	Bridges:
Sources and Detector, General equation for bridge balance, Measurement of R,L,C,M,F etc. by Wheatstone, Kelvin, Maxwell, Hay’s, Anderson, Owen, Heaviside, Campbell, Schering, Wien Bridge, Bridge sensitivity, Errors, Wagner Earthing Device

	6
	B1: Page No.

585-626

	5.
	Magnetic Measurements:
Flux Meter, B-H curve, Hystersis Loop, permeameters, A.C.testing  of Magnetic materials, Separation of iron losses, Iron loss measurement by wattmeters and Bridge methods, Ballistic Galvanometer 

	4
	B1: Page No.

660-697

	6.
	Instrument Transformer:
Theory and construction of current and Potential Transformer, ratio and phase angle errors and their minimization, characteristics of CTs. & PTs. 

Introduction to Measurement of speed, frequency and Power Factor

	6
	B1: Page No.

384-429, Page No.

495-515

	7
	Power and Energy Measurements:
Electrodynamics wattmeter, Three Phase wattmeter, Power in three phase System, Errors & remedies in wattmeter and Energy meter

	5
	B1: Page No.

430-494

	8.
	Digital Measurement of Electrical Quantities:
Concept of digital Measurement, Block Diagram study of  digital voltmeter, frequency meter, Power analyzer and harmonics analyzer, Electronic multimeter, Basic CRO circuit (block Diagram ), Cathode ray tube (CRT) & its component, Application of CRO in measurement, Lissajous Pattern.
	7
	B1: Page No.

784-879


