NFPA Diamond

[image: image1.png]








Health  (Blue)


CHEMICAL NAME





Fire Hazard (Red)





Flash Point Temp.


4-Below 73 F


3-Below 100 F


2-Below 200 F


1-Above 200 F


0-Will not burn





Reactivity (Yellow)





4-May Detonate


3-Shock or heat may detonate


2-Violent Chem. Reaction


1-Unstable if heated


0-Stable





OXY-Oxidizer


ACID-Acid


ALK-Alkali


COR-Corrosive


W-Use no water


RAD-Radiation haz.





4-Deadly


3-Extreme danger


2-Hazardous


1-Slightly hazardous


0-Normal Material





Specific Hazard  (((white)








