PAGE  
43

Navigating the Future – Surgery Using Computer

Prof. P S John 

President CAOS-India, President CAOS-Asia
Regional Representative CAOS International

Prof. & Head, Dept. of Orthopaedics, Medical College, Kottayam
Computer Assisted Orthopaedic Surgery (CAOS) is getting popular and accepted in the various parts of the world. There have been many initiatives that have know brought these technologies from the research room all the way to clinical use and commercial developments. In some parts of Central Europe, Computer Assisted Surgery tools are being used on a routine basis, but there are continuing challenges in the clinical adoption and routine use of these surgical tools. Computer Assisted Orthopaedic Surgery – based technologies are the surgical toolbox of the future and represent a spectrum of devices, including 3 dimensional image guided and non-image based navigation systems, intra operative fluoroscopic navigation, Robotic assistive tools, and new intra operative visualization devices. CAOS tools couple simulations with real time evaluations of surgical performance. 

Currently we have a limited ability to couple pre-operative planning with surgical implementation or to integrate medical imaging directly into the operating room.  We lack tools, sensors or measurement devices that provide timely and accurate intra operative data like the position of bone, tool and cutting guide orientation or location of implants. The new generation of  CAOS tools will couple and tightly integrate planning and imaging with the surgical intervention, and permit simulation and optimization of a patient-specific pre operative plan and integration of medical images directly into the operating room. They will also provide measurement devices and sensors providing intra operative information to surgeons, as well as become a great educational and training tool. 

Possibilities and Limitations

CAOS tools and technologies can assist and compliment, they do not replace surgeons. With computer assisted devices and tools, surgeons can accomplish surgical tasks neither could do alone. With a recent interest less invasive and minimally invasive joint replacement and the re-discovery of partial joint re-surfacing, CAOS based tools have the potential to impact daily clinical practice the same way that fiber optic technology has revolutionized many orthopaedic subspecialties. 

Balancing these new capabilities are the potential negative aspect of introducing new technologies into clinical practice; the real costs and time expenses for pre-operative or intra operative imaging that may not normally be used in routine practice, costs of the systems themselves, and increased operating time, accuracy and validation and surgeons acceptance. 

CAOS technologies have the potential to be used in different capacities; research tools, training tools, in routine clinical practice, as commercial proposition, and as an enabler for less and minimally invasive surgical techniques. However, the most powerful argument for their use may be that they enabled surgeons to develop techniques that are more accurate, less and minimally invasive. 

Classifications

CAOS tools range from an active robotic system capable of performing surgery autonomously to passive or navigation systems that provide additional information during a procedure, but do not perform the surgical action. The surgeon controls the intervention but acts on information. 

Navigation is analogous to a surgical information system. The spectrum of tools represents the classification system based on control and safety. This is in contrast to the active or robotic system, that works under their own software and hardware control for at least a portion of the procedure. Over the last several years a spectrum of surgical navigation systems have become available. These range from systems that use pre operative images such as CT Scan, to those that use intra operative imaging with fluoroscopy. There are also systems that do not require any images pre operatively or intra operatively; these “image free” navigation systems use information that is collected during surgery, such as centers of rotation of the hip, knee, ankle, and visual information like anatomical land marks. 

Each of these approaches has certain limitations and benefits. Clinical functionality is most important. For instance, CT based systems provide complete and full functionality. Fluoroscopic navigation systems are amenable to any application that already uses fluoroscopic to reduce the radiation exposure time. However navigation functions on the image that is obtained rather than on the patient’s true anatomy. Any limitations in the fluoroscopic images would also carry over into the navigation system. Although image less navigation systems provide the opportunity to do away with any images, the information collected will determine the functionality in the system and may not have the complete the functionality of a CT or image based system. 

Steps to Navigation

There are 3 steps to navigate. The phase is data acquisition pre operatively or during surgery, including pre operative images, fluoroscopic images or kinematic information, such as the determination of center of rotation or anatomic land marks during surgery. 

The next two steps – tracking and registration – are necessary to take that information and use it during surgery. Registration may be a foreign term to some surgeons, but we routinely do this process with any of our surgical interventions. Registration is the ability to relate images such as x-rays, CTs, or MRIs and a patient’s 3 dimensional anatomy to the anatomical position on the surgical field. Registration is the way to teach the navigation systems the same process. 

Several techniques have been developed for this registration process. The early techniques required the use of  pins or fiducials for robotic type devices. However these pins were placed in a second surgical procedure that needed to be done prior to the scanning and were applied in places that were not in the primary surgical field. Due to these drawbacks, developers introduced pin-less type  registration in which the unique shape of the bone was used to achieve the same goal and did not require pins or separate incisions or procedures. This surface based registration has become the gold standard for CT based navigation because of its high level of accuracy and reliability. Using this technique for registration, a surgeon can collect a cloud of surface points on the bone using a tracked probe. The unique shape of the bone is then used to match the pre operative plan with the position of the patient in the operating room. 

In the fluoroscopic navigation, the registration process is, in essence, automatic and is performed online as long as the bone and fluoroscope are tracked when the images are obtained. Registration using imageless system is a matter of identifying the joints’ centers of rotation through kinematic testing or by having the surgeon visually collect important land mark points. Tracking becomes important because we need sensors and measurement devices that can provide feedback during surgery on the orientation and  relative position of the tools to bony anatomy. So that we can act on that information in timely manner. By attaching optical or electro magnetic trackers to regular surgical tools, we convert our current tools to smart tools in which we can know the position and orientation of the tools’ alignment with respect to the bony anatomy of interest, all in real time. 

Intra operative measurement tool

Once you achieved tracking with registration during surgery, you have a real time intra operative measurement tool that can provide timely information to surgeons on the relative position of the tools to the bony anatomy. As a secondary benefit  you have the power of the imaging modality online during the surgery and can access those images during the actual procedure. One way to become comfortable with using a navigation system clinically is to first use the system as an intra operative measurement tool. In other words, the system can be used by surgeon just to measure what you currently do. Measure the accepted technique

or guides that you currently do and use the navigation system to document your current techniques. After you obtain confidence in the use of this system and the information that it provides, you then can use the system to actually navigate parts of your procedure. It is always important to validate the CAOS technique both intra operatively and clinically, remembering that the most important factors are improving patient outcome.   

There is a spectrum of navigation technologies. The clinical functionality you want out of a system determines what type of CAOS system should be just applied. We have all learned in the past that one tool cannot solve all our clinical problems. Probably the CAOS platform of the future will include a spectrum of these tools all in one plat form. What is necessary? Only the surgeon knows for sure. So that what are the costs? Costs include surgeon time both before and during the actual procedure, additional operating room time, additional technician time, and the actual cost of the hardware and the software for the navigation system itself. In the end, however, the most important factors in the adoption of the CAOS technologies will be ease of use for surgeons and operating room staff, and documented improved patient outcomes by obtaining more accurate and reliable alignment and less invasive techniques. 

REFERENCES

1. Amiot LP, Lang K, Putzier M, et al. Comparative results between conventional and computer-assisted pedicle screw installation in the thoracic, lumbar, and sacral spine. Spine 25:606-614, 2000.

2. Bauer A. Robot-assisted total hip replacement in primary and revision cases. Operative Techniques in Orthopaedics 10:9-13, 2000.

3. Bowersox JC, Bucholz RD, Delp SL, et al. Excerpts from the Final Report for the Second International Workshop on Robotics and Computer Assisted Medical Interventions, June 23-26, 1996, Bristol, England. Comput Aided Surg 22:69-101, 1997.

4. Crowl AC, Kahler DM. Closed reduction and percutaneous fixation of anterior column acetabular fractures. Comput Aided Surg 7:169-178, 2002.

5. Jakopec M, Harris SJ, Rodriguez y Baena F, et al. The first clinical application of a "hands-on" robotic knee surgery system. Comput Aided Surg 6:329-339, 2001.

6. Jaramaz B, Digioia AM 3rd, Blackwell M, et al. Computer assisted measurement of cup placement in total hip replacement. Clin Orthop 354:70-81, 1998.

7. Joskowicz L, Milgrom C, Simkin A, et al. FRACAS: a system for computer-aided image-guided long bone fracture surgery. Comput Aided Surg 36:271-288., 1998.
8. Kalfas IH, Kormos DW, Murphy MA, et al. Application of frameless stereotaxy to pedicle screw fixation of the spine. J Neurosurg 83:641-647, 1995.

9. Langlotz F, Nolte LP. CAOS: from theory to the operating room. Techniques in Orthopaedics 18:140-148, 2003.

10. Laine T, Lund T, Ylikoski M, et al. Accuracy of pedicle screw insertion with and without computer assistance: a randomised controlled clinical study in 100 consecutive patients. Eur Spine J 9:235-240, 2000.

11. Merloz P, Tonetti J, Pittet L, et al. Pedicle screw placement using image guided techniques. Clin Orthop 354:39-48, 1998.

12. Nolte LP, Zamorano LJ, Jiang Z, et al. Image-guided insertion of transpedicular screws – a laboratory set-up. Spine 20:497-500, 1995.

13. Ritschl P, Machacek Jr. F, Fuiko R. Computer assisted ligament balancing in TKR using the Galileo system. In: Langlotz F, Davies BL, Bauer A (eds.) Computer Assisted Orthopaedic Surgery. Darmstadt: Steinkopff, 304-305, 2003.

14. Shoda N, Nakajima S, Seichi A, et al. Computer-assisted anterior spinal surgery for a case of recurrent giant cell tumor. J Orthop Sci 73:392-396, 2002.

15. Shoham M, Burman M, Zehavi E, et al. Bone mounted miniature robot for surgical procedures – concept and applications. In: Langlotz F, Davies BL, Bauer A (eds.) Computer Assisted Orthopaedic Surgery. Darmstadt: Steinkopff, 330-331, 2003.

16. Sparmann M, Wolke B, Czupalla H, et al. Positioning of total knee arthroplasty with and without navigation support. A prospective, randomised study. J Bone Joint Surg Br 85:830-835, 2003.

17. Wentzensen A, Zheng G, Vock B, et al. Image-based hip navigation. Int Orthop 27 Suppl 1:S43-S46, 2003.

18. Zamorano LJ, Nolte L, Kadi AM, Jiang Z. Interactive intraoperative localization using an infrared-based system. Neurol Res 15:290-298, 1993.

[image: image1.jpg]


















PAGE  
Journal of the Kerala Orthopaedic Association Vol. 19, No. 2, October 2004

