Household Acids and Bases

Introduction

Many common household solutions contain acids and bases.  Acid-base indicators, such as litmus and red cabbage juice, turn different colors in acidic and basic solutions. They can, therefore, be used to show if a solution is acidic or basic.  An acid turns blue litmus paper red, and a base turns red litmus paper blue.  The acidity of a solution can be expressed using the pH scale.  Acidic solutions have pH values less than 7, basic solutions have pH values greater than 7, and neutral solutions have a pH value equal to 7.

In this experiment, you will use litmus and a pH Sensor to determine the pH values of household substances.  After adding red cabbage juice to the same substances, you will determine the different red cabbage juice indicator colors over the entire pH range.
[image: image1.wmf]
Figure 1

Purpose
To determine the pH of household substances

Materials

	EasyLink interface
	household solutions
	sensor soaking solution

	TI 84+ Graphing Calculator
	7 small test tubes
	250 mL beaker

	DataMate program
	test tube rack
	utility clamp

	pH Sensor
	red and blue litmus paper
	red cabbage juice

	wash bottle
	paper towel
	ring stand

	distilled water
	stirring rod
	


Safety Notes

Safety concerns are handled throughout the procedure where appropriate.  Goggles and aprons are required due to the acidic and basic nature of the compounds.   Any spills should be reported immediately to your teacher so that proper cleanup procedures can be followed.


Procedure
1. Obtain and wear goggles and a lab apron. CAUTION: Do not eat or drink in the laboratory.

Part I  Litmus Tests

2. Label 7 test tubes with the numbers 1-7 and place them in a test-tube rack.

3. Measure 3 mL of vinegar into test tube #1. Refer to the data table and fill each of the test tubes 2-7 to about the same level with its respective solution. CAUTION: Ammonia solution is toxic. Its liquid and vapor are extremely irritating, especially to eyes. Drain cleaner solution is corrosive. Handle these solutions with care. Do not allow the solutions to contact your skin or clothing. Wear goggles at all times. Notify your teacher immediately in the event of an accident.

4. Use a stirring rod to transfer one to two drops of vinegar to a small piece of blue litmus paper on a paper towel. Transfer one to two drops to a piece of red litmus paper on a paper towel. Record the results. Clean and dry the stirring rod each time.

5. Test solutions 2-7 using the same procedure. Be sure to clean and dry the stirring rod each time.  

6. Once all the litmus tests have been completed, throw away the used litmus paper and paper towel in one of the trash cans.


Part II  Red Cabbage Juice Indicator

7. After you have finished the Part I litmus tests, add 3 mL of red cabbage juice indicator to each of the 7 test tubes. Record your observations. Dispose of the test-tube contents in the lab sinks at the end of each bench with the water running.


Part III  pH Tests

8. Prepare the pH Sensor for data collection.

a. Plug the pH Sensor into the EasyLink interface.  Connect EasyLink to the TI-84+ Graphing Calculator through the USB port. 

b. Remove the pH Sensor from the sensor storage solution bottle by unscrewing the lid. Carefully remove the bottle, leaving the 0-ring and cap on the sensor body.

c. Rinse the tip of the sensor with distilled water.  Use a utility clamp to fasten the pH Sensor to a ring stand, as shown in Figure 1.

d. Check to make sure the pH sensor is found by the EasyData program. If it isn’t, please see your teacher.

9. Get one of the 7 solutions in the small container supplied by your teacher. Raise the solution to the pH Sensor and swirl the solution about the sensor. When the pH reading displayed on the main screen of the calculator stabilizes, record the pH value (round to the nearest 0.01 pH unit).

10. Prepare the pH Sensor for reuse. Use a wash bottle filled with distilled water to thoroughly rinse the pH Sensor. Catch the rinse water in a 250-mL beaker.

11. Determine the pH of the other solutions using the Step 11 procedure. You must clean the pH Sensor between tests, using the Step 12 procedure. 

12. When you are done, rinse the sensor with distilled water and return it to the sensor soaking solution. Select QUIT and exit the EasyData program.

Data

	Test
Tube
	Solution
	Blue
Litmus
	Red
Litmus
	Red Cabbage
Juice
	pH

	1
	vinegar
	
	
	
	

	2
	ammonia
	
	
	
	

	3
	lemon juice
	
	
	
	

	4
	soft drink
	
	
	
	

	5
	drain cleaner
	
	
	
	

	6
	detergent
	
	
	
	

	7
	baking soda
	
	
	
	


Data Analysis

1.
Which of the household solutions tested are acids? How can you tell?

2.
Which of the solutions are bases? How can you tell?

3. What color(s) is red cabbage juice indicator in acids? In bases?

4. What was the independent variable in this experiment?  

5. What was the dependent variable in this experiment? 

Results and Conclusions

1. Can red cabbage juice indicator be used to determine the relative strength of acids?  Explain.

2. Can red cabbage juice indicator be used to determine the relative strength of bases?

3. What is the use of the red litmus paper?  What is the use of the blue litmus paper?  Why were both types of litmus paper used for each solution?

4. List advantages and disadvantages of litmus and red cabbage juice indicators.

5. What was the purpose of the pH probe in the experiment?

