## Sheet1
TRAINING PATHWAY
LEVEL 1 C-051-1
START
|  | C-051-1 |  | \
|  |  |  | CONTENT STANDARD | NO. / TASK
|  |  |  | APPLY GENERAL SAFETY REGULATION | SILIBUS BPTV
EXPLAIN OCCUPATIONAL SAFETY
AND HEALTH (OSH)
IDENTIFY ACCIDENTS AT WORKPLACE
| CODE NAME | COURSE NAME |  | AND PREVENTION
| ETE 101 | INDUSTRIAL SAFETY |  | DEMONSTRATION OF FIRE FIGHTING
AND PREVENTION
APPLICATION OF BASIC FIRST AID
APPLICATION OF EQUIPMENT AND
HANDS TOOLS
|  |  |  | CONTENT STANDARD | NO. / TASK
|  |  |  | IDENTIFY QUANTITIES AND UNITS | SILIBUS BPTV
IDENTIFY STRUCTURES UTILIZED IN ELECTRONICS
SELECT ELECTRICAL COMPONENTS
| CODE NAME | COURSE NAME
| ETE 102 | FUNDAMENTAL OF ELECTRICAL |  | IDENTIFY SERIES AND PARALLEL DIRECT CURRENT
|  | ENGINEERING |  | (DC) CIRCUITS
SOLVE L AND C TIME CONSTANTS
SEMESTER 1 |  |  |  | PROPER TECHNIQUES OF CONDUCTING
SVM |  |  |  | ELECTRONIC MEASUREMENTS
|  |  |  | CONTENT STANDARD | NO. / TASK
|  |  |  | EXPLAIN POWER GENERATION SYSTEM | SILIBUS BPTV
EXPLAIN POWER TRANSMISSION SYSTEM
| CODE NAME | COURSE NAME
| ETE 103 | ELECTRICAL POWER SYSTEM 1 |  | EXPLAIN POWER DISTRIBUTION SYSTEM
DISTINGUISH CONDUCTORS AND INSULATORS
|  |  |  | CONTENT STANDARD | NO. / TASK
|  |  |  | OPERATE DIRECT CURRENT (DC) MOTOR | 3.01
| CODE NAME | COURSE NAME
| ETE 104 | DIRECT CURRENT MACHINES |  | OPERATE DIRECT CURRENT (DC) GENERATOR | SILIBUS BPTV
|  |  |  | CONTENT STANDARD | NO. / TASK
|  |  |  | PERFORM GEOMETRICAL DRAWING | SILIBUS BPTV
|  |  |  | PERFORM SINGLE PHASE LAYOUT DRAWING | 1.01
| CODE NAME | COURSE NAME
| ETE 201 | ELECTRICAL ENGINEERING DRAWING 1 |  | PERFORM SINGLE PHASE SINGLE LINE DRAWING | 1.02
|  |  |  | PERFORM SINGLE PHASE WIRING DRAWING | 1.03
|  |  |  | CONTENT STANDARD | NO. / TASK
|  |  |  | CARRY OUT SINGLE PHASE SURFACE WIRING | 2.01
|  |  |  | CARRY OUT SINGLE PHASE CONCEALED WIRING | 2.02
|  |  |  | CARRY OUT SINGLE PHASE CONTINUITY TEST | 5.01
| CODE NAME | COURSE NAME
| ETE 202 | ELECTRICAL DOMESTIC |  | CARRY OUT SINGLE PHASE POLARITY TEST | 5.02
INSTALLATION 1
|  |  |  | CARRY OUT SINGLE PHASE INSULATION TEST | 5.03
SEMESTER 2
SVM |  |  |  | TROUBLESHOOT SINGLE PHASE | 6.01
WIRING/FITTING FAULT
|  |  |  | TROUBLESHOOT SINGLE PHASE APPLIANCES | 6.02
MACHINERY FAULT
|  |  |  | CONTENT STANDARD | NO. / TASK
|  |  |  | CARRY OUT SINGLE PHASE CONDUIT WIRING | 2.03
|  |  |  | CARRY OUT SINGLE PHASE TRUNKING WIRING | 2.04
|  |  |  | INSTALL DISTRIBUTION BOARD | 2.05
AND TERMINATION
|  |  |  | INSTALL DOMESTIC EARTHING SYSTEM | 2.06
| CODE NAME | COURSE NAME
| ETE 203 | ELECTRICAL INDUSTRIAL |  | CARRY OUT SINGLE PHASE EARTHING TEST | 5.04
INSTALLATION 1
|  |  |  | CARRY OUT SINGLE PHASE RESIDUAL CURRENT | 5.05
CIRCUIT BREAKER TEST
|  |  |  | CARRY OUT SINGLE PHASE LOOP TEST | 5.06
|  |  |  | MAINTAIN DC SYSTEM | 7.01
END C-051-1