MINISTRY OF EDUCATION, MALAYSIA

VOCATIONAL COLLEGE STANDARD CURRICULUM

COURSE INFORMATION

| PROGRAMME COURSE NAME | : : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM (SISTEM ELEKTRIK PENYEJUKAN DAN PENYAMAN UDARA) |  |  |
| --- | --- | --- | --- | --- |
| CODE NAME | : | MPP 1033 |  |  |
| LEVEL | : | 1 SEMESTER 2 |  |  |
| CREDIT UNIT | : | 3 |  |  |
| CONTACT HOUR | : | FACE TO FACE | : | 5 |
|  |  | NON FACE TO FACE | : |  |
| MODULE TYPE | : | VOCATIONAL |  |  |
| PREREQUISITE | : | - |  |  |
| CORE REQUISITE | : | - |  |  |

At the end of the course, students should be able to: -

- Perform and Diagnose the Electrical Wiring and Electronic System.

- Check The Load Consumption , The Connection & Of The Circuits & Rectify Defects

- Check & Service The Motor & The Components For Control Circuit

- Test & Confirm The Electrical/ Electronic System

- Check And Trouble Shoot The Electrical & Refrigeration System & Control S System

- Repair and Replace Defective Components in The Refrigeration System

- Repair and Replace Defective Electrical / Electronics Controls.

- Perform Commissioning Tests.

MODULE DESCRIPTION

This course is designed for students to be competent in wiring diagram, identify functions and know different types of electrical diagram, identify related electrical components, check and test all electrical components, identify electronic components, diagnose and rectify all electronic faults, check and test electronic faults. check the load consumption, check and service the components for control circuit, test and confirm the electrical/ electronic system

CONTENT AND LEARNING STANDARDS

| PROGRAMME |  | : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE NAME |  | : | REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM |  |  |
| CODE NAME |  | : | MPP 1033 |  |  |
| CONTACT HOUR ( TRAINING DURATION) | CONTENT STANDARD (WORK ACTIVITIES) |  |  | LEARNING STANDARD (RELATED KNOWLEDGE / APPLIED SKILLS ATTITUDE / SAFETY / ENVIRONMENTAL | PERFORMANCE CRITERIA / ASSESSMENT CRITERIA |  |
| 10 HOURS (2 WEEKS) | - PERFORM AND DIAGNOSE THE ELECTRICAL WIRING AND ELECTRONIC SYSTEM. |  |  | RELATED KNOWLEDGE - Identify wiring diagram. to the nature of work | PERFROMANCE CRITERIA - Wiring diagram is analyse according to blueprint requirement - State types of electrical wiring diagram according to electrical regulation - Electrical components for refrigerator and air-conditioner unit is identify as required - Electrical symbols for refrigerator and air-conditioner unit is identify as required - Trace wiring diagram for refrigerator and air conditioner unit according to standard operating procedure - Apply electrical wiring to practical work in accordance to the job requirement. |  |
|  |  |  |  | - Identify electrical system. - Identify related electrical components. - Check and test all electrical components. - Check all electrical wiring according to diagrams. - Diagnose and rectify all electrical faults. - Replace all defected electrical components. - Run safety precaution. - Identify read and determine. - Identify electronic components. - Diagnose and rectify all electronic faults. - Check and test electronic faults. - Replace all test electronic components according to specification. 1.14 Run safety component. | 1.2.1 Read, write and determine electrical system according to the electrical standard 1.3.1 List and understand RAC electrical components and its functions according to the work performed 1.4.1 Check and replace electrical components according to the proper procedure. 1.4.2 Use electrical meters accordingly 1.5.1 Use appropriate testing equipment to test electrical wiring according to given diagram. 1.6.1 Check and replace faulty electrical components according to proper procedure. 1.7.1 Check and replace electrical components according to proper procedure. - Run safety precaution accordingly. 1.9.1 Read and determine electrical system according to the electrical standard. - List and name electrical components and their functions according to the work performed. 1.11.1 Check and replace electrical components according to the proper procedure. - Use electrical meters accordingly. 1.12.1 Check and replace electronic components using the proper method 1.13.1 Check and replace all test electronic components according to the specification. - Run safety precaution. |  |

CONTENT AND LEARNING STANDARDS

| PROGRAMME |  | : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE NAME |  | : | REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM |  |  |
| CODE NAME |  | : | MPP 1033 |  |  |
| CONTACT HOUR ( TRAINING DURATION) |  | CONTENT STANDARD (WORK ACTIVITIES) |  |  | LEARNING STANDARD (RELATED KNOWLEDGE / APPLIED SKILLS ATTITUDE / SAFETY / ENVIRONMENTAL | PERFORMANCE CRITERIA / ASSESSMENT CRITERIA |  |
| 10 HOURS (2 WEEKS) |  | - CHECK THE LOAD CONSUMPTION , THE CONNECTION & OF THE CIRCUITS & RECTIFY DEFECTS |  |  | RELATED KNOWLEDGE 2.1 Identify live cable from 3 pin plug. - Switch on the unit. - Measure amperage using amprobe. - Run safety precaution. - Switch off the unit. 2.6 Identify electrical connections and components. 2.7 Check all electrical connections and components. - Check continuity. 2.9 Replace defected cable and components according the specification (if necessary). - Run safety precaution. - Switch off the unit. 2.12 Identify electrical connections and components. 2.13 Check all electrical connections and components. - Check continuity. 2.15 Replace defected cable and components according the specification (if necessary). 2.16.Run safety precaution. | PERFORMANCE CRITERIA - Explain and write the basic electric standard based on I.E.E. - Identify and name color-coded cable 3 pin plug according to the electrical standard. - Perform the installation of wiring in 3-pin plug using the proper method. 2.2.1 Switch on the unit using the correct rules. 2.3.1 Use and read amprobe accordingly. 2.4.1 Run safety precaution. - Explain and write the basic electric standard based on I.E.E. - Switch off the unit using the correct rules. 2.6.1 Identify and wire the connection and electrical components based on circuits. - Read and use meters correctly. - Check electrical connections and components according to the proper procedure. 2.8.1 Check continuity on circuits by using the proper equipment and rules. 2.9.1 Replace cables and components according to the specification. 2.10.1 Run safety factors. 2.10.2 Use correct procedures. Check and replace accordingly. - Explain and write the basic electric standard based on I.E.E. 2.11.2 Switch off the unit using the correct rules. 2.12.1 Identify and wire the connection and electrical components based on circuits. - Read and use meters correctly. - Check electrical connections and components according to the proper procedure. 2.14.1 Check continuity on circuits by using the proper equipment and rules. 2.15.1 Replace cables and components according to the specification. 2.16.1 Run safety factors. 2.16.2 Use correct procedures. Check and replace accordingly. |  |

CONTENT AND LEARNING STANDARDS

| PROGRAMME |  | : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE NAME |  | : | REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM |  |  |
| CODE NAME |  | : | MPP 1033 |  |  |
| CONTACT HOUR ( TRAINING DURATION) |  | CONTENT STANDARD (WORK ACTIVITIES) |  |  | LEARNING STANDARD (RELATED KNOWLEDGE / APPLIED SKILLS ATTITUDE / SAFETY / ENVIRONMENTAL | PERFORMANCE CRITERIA / ASSESSMENT CRITERIA |  |
| 10 HOURS (2 WEEKS) |  | - CHECK & SERVICE THE MOTOR & THE COMPONENTS FOR CONTROL CIRCUIT |  |  | RELATED KNOWLEDGE - Switch off unit. - Remove casing if necessary. - Check electrical terminals of motor. - Switch on the unit and check amperage. - Run safety precautions. 3.6 Perform visual inspection. 3.7 Identify components for control circuit. . 3.8 Check serviceability of components. 3.9 Run safety precaution. | PERFORMANCE CRITERIA - Identify and write the types and functions of motor according to the specifications. - Switch off the system accordingly. - Clean correctly and remove casing accordingly. - Perform testing to ensure motor terminals using the correct procedure. 3.4.1 Test and run the unit and check amperage with the proper rules according to the specifications. - Run all safety precautions. 3.6.1 Explain and write the basic electric standard based on I.E.E. 3.6.2 Use and read use meter correctly. 3.6.3 Perform a visual inspection based on the specifications. 3.7.1 Identify and name components for control circuit 3.7.1 List type of control components and the functions such as : D.O.L ( Direct On Line ), hermostat / Digital thermostat, Inverter / Multi Frequency Driver 3.8.1 Check components using the correct procedures. 3.9.1 Run all safety precautions. |  |

CONTENT AND LEARNING STANDARDS

| PROGRAMME |  | : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE NAME |  | : | REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM |  |  |
| CODE NAME |  | : | MPP 1033 |  |  |
| CONTACT HOUR ( TRAINING DURATION) |  | CONTENT STANDARD (WORK ACTIVITIES) |  |  | LEARNING STANDARD (RELATED KNOWLEDGE / APPLIED SKILLS ATTITUDE / SAFETY / ENVIRONMENTAL | PERFORMANCE CRITERIA / ASSESSMENT CRITERIA |  |
| 10 HOURS (2 WEEKS) |  | - TEST & CONFIRM THE ELECTRICAL/ ELECTRONIC SYSTEM |  |  | RELATED KNOWLEDGE - Switch on the unit. - Ensure are working in a good condition: - Electrical and Electronic component - Record and tabulate readings. - Run all safety precaution. | PERFORMANCE CRITERIA 4.1.1 Switch on the system according to the proper procedure - Check and apply unit to working good condition. - Ensure electrical and electronic components are in a good condition - Ensure and check that the wiring system is in a good condition. - Check the continuity of all electrical parts accordingly. - Write and read electrical meters using the correct method. - Record and tabulate service form. 4.4.1 Run all safety precautions |  |

CONTENT AND LEARNING STANDARDS

| PROGRAMME |  | : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE NAME |  | : | REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM |  |  |
| CODE NAME |  | : | MPP 1033 |  |  |
| CONTACT HOUR ( TRAINING DURATION) |  | CONTENT STANDARD (WORK ACTIVITIES) |  |  | LEARNING STANDARD (RELATED KNOWLEDGE / APPLIED SKILLS ATTITUDE / SAFETY / ENVIRONMENTAL | PERFORMANCE CRITERIA / ASSESSMENT CRITERIA |  |
| 10 HOURS (2 WEEKS) |  | - CHECK AND TROUBLE SHOOT THE ELECTRICAL REFRIGERATION & AIR CONDITIONING SYSTEM & CONTROL S SYSTEM |  |  | RELATED KNOWLEDGE - Perform visual inspection. - Identify and determine all refrigerator components fault. - Observed safety precaution. - Perform visual inspection. - Switch on the unit. - Performed to check pressure, temperature, leakage and dented tube according to service manual. - Record and tabulate the result. - Identify and determine all refrigeration system faults. - Switch off the unit. - Performed remedy faults. - Observed safety precaution. - Perform visual inspection. - Switch on the unit - Switch off the unit - Identify all electrical/electronic faults. - Check and remedy all electrical/ electronic components and wiring. - Observed safety precaution. - Perform visual inspection. - Switch on the unit. - Identify refrigeration control. - Determine refrigeration control faults. - Check the refrigeration control such as sensing bulb position. - Switch off the unit. - Remedy refrigeration control faults. - Record results. - Observed safety precaution. | PERFORMANCE CRITERIA 5.1.3 Visual inspection is done by observation according specification. 5.1.2 List and use proper tools according standard operating procedures. 5.2.1 Switch on the unit to check components fault so that damage can be identified. 5.2.2 Perform correct inspection so that the components are not damaged. - Determine faults correctly so that components fault can be repaired. - Switch off the unit when the components fault are detected. - Observe safety precaution according OSHA Standard. - Visual inspection is done by observation according specification. - Ability to Switch on the unit for inspection the work done. - Use proper tool and equipment to suitable with the work done. - Check pressure in refrigerator system to detect fault. - Check temperature in refrigerator system to detect fault. - Check leakage in refrigerator system to detect fault. - Check dented tube in refrigerator system. - Ability to correct procedures so that the component fault can be improved. - Performed to record and tabulate the results according job requirement. 5.8.1 Determine faults correctly so that damage can be corrected accurately. 5.9.1 Ability to Switch off the unit when component fault is detected. 5.10.1 Repair or replace component fault so that the system can be function. - Observe safety precautions according OSH Standard. - Read and interpret wiring/schematic diagram according manual manufacturing - Write and describe the basic electrical and electronic in order to identify the components. 5.13.1 Identify the unit run to detect the damage by inspection and observation. - Identify the system stop to work safe 5.15.1 Identify all type and function electrical and electronic component so that damage can be detected more quickly and accurately. - Use multi meter so that to read the current, resistance and voltage according manual manufacturing. - Check all electrical components according to diagram so that damage can be repaired quickly. - Determine electrical and electronic fault safety precaution according OSH Standard. - Identify the type and function of refrigeration components according service manual. - Check refrigeration control using visual inspection. - Perform correct procedures to control refrigeration function properly. - Determine faults correctly so that damage can be corrected accurately. 5.22.1 Check the refrigeration control such as sensing bulb position as required. 5.23.1 Perform correct procedures so that the faulty component can be improved. - Remedy faults correctly so that refrigeration system to function properly. - Record results that information and repair or replace damaged components can be stored. - Observed safety precaution according OSH (Occupational Safety and Health) standard. |  |

CONTENT AND LEARNING STANDARDS

| PROGRAMME |  | : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE NAME |  | : | REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM |  |  |
| CODE NAME |  | : | MPP 1033 |  |  |
| CONTACT HOUR ( TRAINING DURATION) |  | CONTENT STANDARD (WORK ACTIVITIES) |  |  | LEARNING STANDARD (RELATED KNOWLEDGE / APPLIED SKILLS ATTITUDE / SAFETY / ENVIRONMENTAL | PERFORMANCE CRITERIA / ASSESSMENT CRITERIA |  |
| 10 HOURS (2 WEEKS) |  | - REPAIR AND REPLACE DEFECTIVE COMPONENTS IN REFRIGERATION & AIR CONDITIONING SYSTEM |  |  | RELATED KNOWLEDGE - Perform visual inspection. - Switch on the unit. - Identify the defective component in refrigeration system. - Switch off the unit. - Repair and replace defective components in refrigeration system according to specification - Test run refrigerant system. - Perform to record the results. 6.8 Observed safety precaution. | PERFORMANCE CRITERIA 6.1.1 Check refrigerator system to detect damage to the system by inspection and observation. - Determine components faults so that damage can be corrected accurately. - Ability to switch on the unit to make inspection to work done. 6.2.2 Determine the refrigeration components faults so that damage can be corrected accurately 6.3.1 Perform correct procedures so that the faulty component can be improved. 6.4.1 Identify the refrigeration system stop to work safe. 6.5.1 Ability to repair and replace so that components to function properly. 6.5.2 Use proper tools and equipment so that prevent damage. 6.6.1 Ability to test run the system so that the system to good condition. - Record that information and repair or replace damaged components can be stored. 6.8.1 Observed safety precaution according OSH Standard. |  |

CONTENT AND LEARNING STANDARDS

| PROGRAMME |  | : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE NAME |  | : | REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM |  |  |
| CODE NAME |  | : | MPP 1033 |  |  |
| CONTACT HOUR ( TRAINING DURATION) |  | CONTENT STANDARD (WORK ACTIVITIES) |  |  | LEARNING STANDARD (RELATED KNOWLEDGE / APPLIED SKILLS ATTITUDE / SAFETY / ENVIRONMENTAL | PERFORMANCE CRITERIA / ASSESSMENT CRITERIA |  |
| 10 HOURS (2 WEEKS) |  | - REPAIR AND REPLACE DEFECTIVE ELECTRICAL / ELECTRONICS CONTROLS. |  |  | RELATED KNOWLEDGE - Perform visual inspection. - Switch on the unit. - Identify the defective electrical/ electronic control and components in refrigeration system. - Switch off the unit. - Repair and replace electrical/electronic control and component in refrigeration system according to specification. - Record results. 7.7 Observe safety precaution. | PERFORMANCE CRITERIA - Check electrical / electronic component and control in order to ensure that damage to repair. - Identify the unit run to detect the damage by inspection and observation 7.3.1 Determine electrical / electronic components and faults so that components can be repaired properly. 7.3.2 Perform correct procedures so that the faulty component can be improved 7.4.1 Identify the system stop to work safe 7.4.1 Perform proper tools and electrical equipment that are not easily damaged - Repair and replace electrical / electronic control and component in refrigeration system to function properly. 7.6.1 Record results that information according specification requirement. - Observed safety precaution according OSH |  |

CONTENT AND LEARNING STANDARDS

| PROGRAMME |  | : | REFRIGERATION AND AIR CONDITIONING TECHNOLOGY |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE NAME |  | : | REFRIGERATION AND AIR CONDITIONING ELECTRIC SYSTEM |  |  |
| CODE NAME |  | : | MPP 1033 |  |  |
| CONTACT HOUR ( TRAINING DURATION) |  | CONTENT STANDARD (WORK ACTIVITIES) |  |  | LEARNING STANDARD (RELATED KNOWLEDGE / APPLIED SKILLS ATTITUDE / SAFETY / ENVIRONMENTAL | PERFORMANCE CRITERIA / ASSESSMENT CRITERIA |  |
| 15 HOURS (3 WEEKS) |  | - PERFORM COMMISSIONING TESTS. |  |  | RELATED KNOWLEDGE - Read and interpret service manual and electrical diagram. - Test and run refrigeration and air conditioning unit. 8.3 Check pressure, temperature amperage, vibration-noise leakage according to service manual. - Record and tabulate results according to refrigeration check unit. - Observed safety precaution. | PERFORMANCE CRITERIA - Read and interpret service manual in order to operate the system with good refrigeration. - Read and interpret electrical diagram according to factory standards. - Analyses testing results so that information can be obtained quickly damage. - Check pressure, temperature, vibration-noise, leakage according to service manual. - Use meters and gauges in order to take accurate readings. - Record and tabulate results according factory standard. - Observed safety precaution according OSHA (Occupational and safety standard). |  |