TOPIC 2: 

Technology Assessment and Equipment Assets Management

CONTENTS:

1. Technology Assessment (TA)

1.1 Introduction

1.2 Prerequisite for TA

1.3 TA Process

1.4 TA and Clinical Engineering (CE)

2. Equipment Assets Management

2.1 Introduction

2.2 Equipment Management Process

2.3 Case study

1.
TECHNOLOGY ASSESSMENT(TA)

1.1 Introduction

As medical technology continues to evolve, the impact is on:

· patient outcome, 

· hospital operations, and

· financial resources.

The deployment of medical technologies is now on a relatively fast track.  New devices, diagnostic procedures, equipment, and systems of health-care delivery are continually being produced and flow rapidly to the mainstream hospitals.

This process has caused additional burden to the hospitals.  Equipment acquisition is well accepted function for most of the clinical engineering department but TA is in it’s infancy.

TA is essential if obsolete health care technology to be replaced and new technology is to be properly infused in to the hospital.

TA  - an integral part of an ongoing technology planning and management program at the hospital, addressing the needs of the patient, the user, and the support team.

The manager who is knowledgeable about the organisation’s culture, equipment user’s needs, the environment within which the equipment will be applied, equipment engineering, and emerging technological capabilities will be successful in implementing and managing technological changes.

In the TA process, the CE/TM professional wears two hats: manager and that of the engineer that allows one to be a key leader and contributor in to the decision making process of the Medical Technology Advisory Committee (MTAC).

Ad hoc teams may incorporate representatives of equipment users, equipment service providers, physicians, purchasing agents, administration, and other members from the institution as applicable.

1.2
Prerequisite for TA

Medical technology is a major strategic factor in positioning and creating a positive community perception of the hospital.

Exciting new biomedical devices and systems are continually being introduced at a time when the pressure on hospitals to contain expenditure is mounting,

For hospitals to remain cost-effective and competitive, it is essential that any medical technology chosen or selected based on the “knowledge” gathered about it’s performance, value and availability.

Hospitals require TA program to forecast the deployment of medical technology and the capacity to continually evaluate its impact on the hospital. Example, the position of chief technology officer (CTO).

Without TA analysis, hospital may purchase sophisticated biomedical equipment only to discover that some needs or features were not included or not yet approved for delivery, or that the installation has not been adequately planned.

Hospitals perform TA activities to project needs for new assets and to better manage existing assets.

Interdisciplinary team is required and ability to integrate information from disciplines such as clinical, technical, financial, administrative, and facility in a timely manner is critical for a successful TA.

Medical equipment has a life-cycle that can be defined as :

(1) the innovation phase, which includes the concept, basic and applied research and development, and 

(2) the adoption phase, which begins with the clinical studies, through diffusion, and wide-spread use.

These phases are different from each other in the scope of professional skills involved, their impact on patient care, compliance with regulatory requirements, and the extent of required operational support.

In evaluating the applicability of a device or a system for use in the hospital, it is important to note in which phase of its life cycle the equipment currently resides.

1.3
Technology Assessment Process

More and more hospitals are faced with the difficult phenomena of a capital equipment requests list that is much larger than a capital budget allocation.

The most difficult decision, then, is the one that matches clinical decision with financial capability.

Following issues are often raised:

· how to avoid costly technology mistakes;

· how to wisely target capital money for technology;

· how to avoid medical staff conflicts as they relate to technology;

· how to control equipment-related risks; and

· how to maximize the useful life of the equipment or systems while minimizing the cost of ownership.

A hospital’s clinical engineering department can assist in providing the answers for these questions.

TA is a component of technology planning that begins with the analysis of the hospital’s existing technology base.

Clinical Engineers must have a full understanding of the mission of their particular hospitals, a familiarity with the health care system, and the cooperation of the hospital administrators and the medical staff.

To aid the TA process, the following tools need to be utilized:

(1) access to national database services, directories and libraries;

(2) visits to scientific and clinical exhibits;

(3) a network of key industry contacts; and

(4) a relationship with peers in the country and internationally.

The need for involvement in the technology planning and management program becomes evident when the problems cited below are frequently encountered:

· Recently purchased equipment or its functions are underutilized.

· Ongoing user problems with equipment.

· Excessive maintenance costs.

· Inability to comply with standards or guidelines for equipment management.

· High percentage of equipment awaiting repair.

· Equipment operator training inefficiency due to shortage of  allied health professionals.

A closer look at the symptoms behind these problems may reveal the following:

· A lack of central clearinghouse to collect, indexes, and monitors all technology-related information for future planning purposes.

· The absence of procedures for identifying emerging technologies for potential acquisition.

· The lack of systematic plan for conducting TA resulting in the inability to maximize the benefits from deployment of available technology.

· The inability to benefit from the organization’s own previous experience with a particular type of technology.

· The random replacement of medical technologies, rather than systematic plan  based on a set of well developed criteria.

· The lack of integration of technology acquisition into the strategic and capital planning of the hospital.

Objective of a TA process:

(1) accumulate information on medical equipment,

(2) facilitate systematic planning,

(3) create an administrative structure supporting assessment process and its methodology,

(4) monitor the replacement of outdated technology,

(5) improve the capital budget process by focusing on long-term needs relative to the acquisition of medical equipment.

1.4
TA and CE

Increasing pressures for greater attention to quality, fiscal containment, and risk control must be matched with skillful projection of emerging healthcare technology.

Impact on the hospital’s bottom line can be achieved with a well-organized TA program.

The role of clinical engineers and other health care technology managers is threaded throughout the TA program.

Clinical engineers and other technology managers are qualified to participate in every phase of equipment life cycle from its introduction into clinical investigation to its final retirement.

Clinical engineers match the skills with their knowledge of their hospital’s technology deployment phases ranging from capital budget planning, equipment evaluation, and performance validation, to user training, inventory control, repair, and maintenance services, and incident investigation.

The clinical engineers involvement improves planning for new equipment and the management of the existing equipment inventory, thus impacting quality of care, financial management or cost-effectiveness, and risk management.

Technology Planning and management program


Technology assessment process


2. 
EQUIPMENT ASSETS MANAGEMANT

2.1
Introduction

Initially called “equipment management” and “technology management” by ECRI.

An accountable, systematic approach will ensure that cost-effective, efficacious, safe and appropriate equipment is available to meet the demands of quality patient care.

Requires managing medical equipment resources that result in measurable outputs that are monitored and measured.

Equipment assets management encompasses the traditional duties of the hospital clinical engineering department.  This includes:

· involvement in equipment acquisition and other life-cycle issues,

· technical support for equipment,

· supplying equipment information and training,

· monitoring and evaluating equipment, and

· documenting equipment

· analysis of specific financial and clinical indicators

· compliance with regulatory and accreditation requirements.

Asset management information assist in the preparation of following hospital reports:

· monthly profit and loss,

· employee productivity,

· cost accounting,

· departmental utilization,

· effect of clinical practice patterns on resources,

· use of hospital resources in relation to patient outcome,

· analysis of charges,

· comparative data from other hospitals,

· profitability forecasts, and 

· clinical procedures pricing.

2.2
Equipment Management Process

Attributes of equipment management process:

Acquisition

· Involvement in the process of determining the need of equipment.

· Prepare bid specification and support negotiation.

· Resolve all facility planning issues.

· Careful and detailed pre-purchase evaluation and selection.

· Develop and perform acceptance testing.

Technical Support

· Establish a complete equipment inventory – control records, operating and service manuals list, testing and QA indicators.

· Incoming equipment acceptance testing and application of control number tagging, assist in incident investigation (and handling system along with a medical device reporting system).

· Supervise corrective as well as preventive maintenance of all equipment – in house or outside vendors.

· Equipment repair – including management and integration of outside service vendor activities.

· Day- to-day assistance to equipment users, promoting improvement in clinical use of equipment.

Information and Training

· Disseminate user’s manuals and other information.

· Process and track hazard, recall and regulatory data.

· Initial and ongoing training on safe and effective use of annual patient care equipment.

· Investigate equipment-related incidents, hazards, and problems. Discovered errors incorporated into staff training.

Monitoring and Evaluation

· Develop, implement, and participate in QA and RM activities.

· Periodically assess equipment management program’s effectiveness with combination of objective and subjective data.

· Develop effective communication and feedback between relevant personnel in the hospital.

Documentation

· Activities above must be documented to meet regulatory, accreditation, and problem-solving requirements to minimize liability.
Disposition

· Recommendations for assistance in disposition of equipment by replacement, refurbishment, upgrading, or declared obsolescence. 

2.3
Case Study: Privatised Biomedical Engineering Maintenance Service in Ministry of Health Hospitals.

Scope of Service the Privatised Biomedical Engineering Maintenance Service in MoH Hospitals as follows:

	Scope of Services

	(a) To carryout a comprehensive program of planned and scheduled maintenance for all medical and laboratory equipment.  

To provide effective and responsive repair on all medical equipment and provision of on-call and emergency services

To carry out Acceptance Testing as well as safety and performance characteristics on all incoming new equipment

	(b) To provide mechanisms to avoid failure or breakdown during diagnosis or therapy.

	(c) To carryout all works necessary to provide uptime guarantee on maintenance uptime.  

	(d) To implement the Hospital Engineering Quality Assurance plan.  

	(e) To establish a computerised documentation system which include equipment control record (KEW 312) 

To provide quarterly reports on maintenance activities to MOH and Hospital Administration

To notify departments of warranty expirations.

	(f) To dispose / remove unwanted medical equipment.

	(g) To implement procedures for dealing with hazardous matter and handling contaminated equipment. 

	(h) To co-operate in the investigation of related incidents.

	(i) To train users on daily user maintenance procedure

(excludes clinical procedure related to the equipment)

	(j) To maintain a stock of genuine spares

	(k) Establish a library of user and service manuals


The Master Agreed Procedure (MAP) Summary as follows:

BEMS/001 Planned Preventative Maintenance [5.1]*

This procedure covers all the biomedical equipment and ensures that preventative maintenance is carried out to ensure the equipment is safe and working to the manufacturer requirements.


BEMS/0002 Corrective Maintenance including Routine Corrective, Breakdown and Emergency Maintenance [5.1]


The procedure will ensure that the equipment is repaired in the most efficient manner possible.

BEMS/0003 Acceptance Testing [5.1]

The procedure to be followed to ensure that the equipment, when delivered and installed, performs to the manufacturer’s specifications.

BEMS/0004 Mechanisms to Avoid Failure or Breakdown During Use [5.2]

The procedure to be followed to set mechanisms in place to avoid failure or breakdown during use. This includes periodic review of maintenance records, training of staff and the monitoring of Health Alerts.

BEMS/005 Uptime Guarantee [5.3]

The procedure cover the mechanisms required to fulfill the Uptime requirements.

The Concession Companies will put procedures in place to maximise the Uptime of the biomedical equipment by carrying out preventive maintenance and ensuring a rapid response to requests for service.

BEMS/006 Quality Assurance Program (QAP) [5.4]

            The procedure details the development of a Quality Assurance Program in line with  MOH QAP. The concession companies to submit QAP progress reports to MOH.

BEMS/0007 Maintenance Management Information System (MMIS) [5.5]

The procedure details the implementation of MMIS to manage all the aspects of the BEMS Service.  The MMIS will store all the data required to enable effective management of the BEMS.

BEMS/0008 Management of Warranties [5.1]

The procedures to be followed in managing biomedical equipment warranties. The Concession Company will ensure that all the warranty provision are adhered to by the equipment supplier and that any defects noted prior to the expiration of the warranty are remedied.

BEMS/0009 Decommissioned Medical Equipment [5.6]

The procedures to be followed when the MOH requires equipment to be decommissioned. The Biomedical Service will co-ordinate the disposal/removed of all biomedical equipment which has been identified for disposal.

BEMS/0010 Process for Handling hazardous / Contaminated Equipment            [5.7]

The procedures to be followed for the handling hazardous or contaminated equipment. This covers equipment that is contaminated with body fluid, HIV or Hepatitis, as well as radioactive sources.

BEMS/0011 Incidents and Hazards [5.8]

The procedures to be followed to in investigating incidents and hazards with the MOH. The Concession Company will record incident and co-operate with the MOH in investigating incidents and hazards.
BEMS/0012 User Training [5.9]

Details the training that will be provided to the equipment users. The Concession Companies will ensure that the users understand how to operate the equipment in a safe manner, and how to perform any user maintenance.

BEMS/0013 Stock of Genuine Spares [5.10]

Details the procedures for obtaining suitable spare parts for the biomedical equipment. The intention of this procedure is to ensure that quality spares are used, thus ensuring minimal downtime.

BEMS/0014 On-Site Library [5.11]

Details the provision of a library of reference material and documentation. This is to ensure that appropriate reference material is available for the Biomedical Engineer.

BEMS/0015 Workshop Set-up

Detail procedures to ensure there are adequate workshop facilities to enable repairs to be completed.

BEMS/0016 Utilities/Services

Details the interrelation between the five service in maintaining the Uptime guarantee.

BEMS/0017 Advisory Service

Details the BEMS Advisory service. From time to time the Biomedical Engineering Service will be requested to supply maintenance related advice to the MOH and the hospitals directly.

BEMS/0018 Biomedical Minor Works

Details the procedure to be followed for any minor works the Biomedical Engineering Service may be required to perform. This cover any upgrades or service development related to Biomedical Engineering Maintenance.

BEMS/0019 Procurement of Medical Equipment

Details the procedures to be followed to provide support to the MOH in the procurement of biomedical equipment.

*[5.xx] denotes corresponding elements of TRPI-Schedule 1, Section 5.

Capital


Budget





Strategic


Planning





Long-Term


Budget





Operating


Budget





Assets


Management





Equipment Procurement





Equipment


Planning





Technology Assessment





Interest in


Technology Acquisition





Capital Budget Committee





Construction and


Renovation Committee





Computer Standards 


Committee





Medical Technology


Advisory Committee





Product Standards


Committee





Administrative


Approval





Material


Management





Technology


Management





Initial Planning, Evaluation


And Assessment








1
14
GSR/KBEB 3234 Perspective in Healthcare Technology/Topic2 -TA


