TOWARDS A BALANCED ENERGY STRATEGY

Kotur S. Narasimhan

Consultant, 10928, Greenaire Pl Richmond VA 23233

ABSTRACT

World over, consumption of energy resources is disproportionate to the known reserves.  Even though coal accounts for more than 90 percent of the known fossil energy sources, its share in meeting the energy needs is significantly low.  Any deliberate attempt to increase the use of coal will be met with economic constraints controlled by environmental considerations. On the other hand, it is well recognized that hydrogen, with its zero emission potential, is the ultimate energy source.  Absence of free hydrogen source and want of economical way to derive it from water is holding its domination on the energy scene.  Technological developments are however, being pursued towards this end of hydrogen based energy scenario.  Such efforts can be complemented and hastened by operating all conventional steam cycle power plants to their full capacity and make use of surplus power to generate hydrogen for use as transportation fuel.

By such a practice, it is observed that additional 620 million megawatt hour energy generation is annually possible by operating 335 plants situated in 42 states to 85 percent capacity.  This is equivalent to 340 million barrels of oil on the basis of 75 percent conversion efficiency for hydrogen generation.  In 15 states the oil replacement capacity can exceed 10 million barrels.  Oil replacement potential will proportionately increase by increasing capacity utilization (some plants are run at 98%) and improving conversion efficiency (90% is possible with solid polymer electrolytes).  Additional 38 percent oil replacement value is possible.  While toxic emissions from automobile exhaust can be eliminated totally, the net generation of carbon dioxide will apparently increase.  Such an increase is however be comparable to other means of using coal for hydrogen generation.  More importantly, its generation will be restricted to a few locations as against thinly dissipating the same all over the country by way of automobile exhaust.  This would enable application of any carbon sequestration process very practical. 

_____________

TOWARDS A BALANCED ENERGY STRATEGY

Kotur S. Narasimhan

Consultant, 10928, Greenaire Pl Richmond VA 23233

Environmental considerations in terms of restricting emissions of carbon dioxide and oxides of sulfur and nitrogen have relegated lowest priority to abundant coal as a primary energy source over the much scarce oil & natural gas.  It has also been realized that hydrogen, with its apparent zero emissions potential, is undoubtedly the future source of energy.  But, the absence of a free source of hydrogen and the unfavorable economics of its large-scale production from water is holding the shift in energy usage pattern.  At the same time, significant technological developments are being made in the recent years on various aspects of hydrogen generation, storage, transportation and use.  Specific efforts relate to hydrogen as the fuel to run internal combustion engines as well as automobiles run by fuel cells based on hydrogen.   Widespread use of hydrogen for transportation only can make a visible impact on the environment. This is particularly true with developed countries. Leading example is the United States America.  A study has been made to improve the prevailing situation by increasing the use of abundant coal as a primary energy source at the same time hasten the switch over to hydrogen as an end-use-energy-source specifically for transportation.  This strategy is proposed towards a balanced use of primary energy resources.  

[image: image1.wmf]FIGURE 1: HYDROGEN COST RELATED TO PRODUCTION PROCESS

0

10

20

30

40

50

60

70

0

5

10

15

20

25

FACILITY SIZE, Million Nm

3

/d

HYDROGEN COST, Dollars per gigajoule

SOLAR ENEGY

ELECTROLYSIS

GASIFICATION

METHANE REFORMATION

NEEDED HYDROGEN 

GENERATION CAPACITY RANGE

BIOMASS


Technical feasibility of using hydrogen as a transportation fuel is known from the world war times1.  Not only has it been demonstrated to efficiently run internal combustion engines on hydrogen even commercial aviation was practiced.  Much research & development has taken place since then.  A Department of Energy (DOE) sponsored survey carried out by the National Renewable Energy Laboratory (NREL),2 summarizes the status of the economics of hydrogen production, storage, transport, and end-use technologies.

Based on the information contained in the DOE report cost of hydrogen produced by different processes is compared.  Figure 1 gives the cost in dollars per giga-joule and as a function of production capacity.  The cheapest process today is steam or non-catalytic oxidation of methane for which the raw material is natural gas.  The present analysis however relates to the use of abundant coal in the absence of scarce petroleum feed stock or natural gas.  Options left then are to use of coal through gasification route or the electrolysis of water.  The latter roughly costs twice the former.  But, to the extent already installed capacity can bemade use of for the production of electricity that much additional capital for the expensive gasification plants need not be sought.

[image: image2.wmf]FIGURE 2: IMPACT OF PROCESS ON CARBON DIOXIDE GENERATION  

0

10

20

30

40

50

60

KRW(AIR)

BGC/LURGI

SHELL

ELECTROLYTIC

KRW(O2)

TEXACO

PROCESS FOR HYDROGEN 

WEIGHT OF CO

2

/UNIT WEIGHT OF H

2


The installed capacity of the Utilities as of the year 1999 was 639,324 MW (Table 1) 3.  Conventional steam generating plants account for 382,270 MW, of which exclusively coal-based plants alone has the potential to provide 277,780 MW.  The balance has dual provision for coal, gas or oil.  The estimated power generation during the year 2000 from the steam based plants is 1994 billion kWh.  This accounts for 60% of the installed capacity.  The low capacity utilization is mostly due to demand fluctuations in a year, since the power once generated has to be consumed.   However, if these plants are run to their capacity, the surplus power generated can be used to produce hydrogen for use as transportation fuel.  By such a practice, petroleum products can be conserved to some extent.  Even though there would be a net increase in the quantity of carbon-dioxide emission, its generation will be localized effectively to a fewer points as against thinly dissipating its emission over the entire country by way of automobile exhaust.  Thus, it will be more practical to effectively implement carbon sequestration technologies when fully established.

By increasing the electricity generation from the current 60% of the conventional steam based plants to 85% the surplus power available is of the order of 850 billion kWh.  Theoretically, 94 kWh (of which 79 kWh is required as electrical energy) makes 1,000 ft3 of hydrogen4.  Assuming a process efficiency of 75% for the conventional electrolytic units, 1,000 ft3 of hydrogen requires 106 kWh of electricity and an additional 24 kWh as heat.  A unit weight of hydrogen is equivalent to 2.58 weight of gasoline.  100 billion kWh of energy is equivalent to 55 million barrels of transportation fuel at 75% conversion efficiency (Appendix A).  Thus, 850 billion kWh can provide 455 million barrels or 1.28 million barrels per day (MMBD) of petroleum fuel.   This is 15% of the current motor gasoline consumption or roughly, 60% of the diesel fuel used by the trucks in the country.

This estimated petroleum fuel replacement could further be enhanced by (a) operating coal-based plants beyond 85% capacity and (b) use of advanced solid polymer electrolyte with which the conversion efficiency of upto 90% for hydrogen generation is expected.  Thus, additional 38% of petroleum fuels can be conserved if power plants are run to 98 percent capacity.

[image: image3.wmf]INSTALLED 

CAPACITY

TOTAL 

PLANTS

ADDITIONAL 

ENERGY 

POSSIBLE @ 

85% 

UTILIZATION

REPACEMENT 

PETROLEUM 

FUEL

INSTALLED 

CAPACITY

TOTAL 

PLANTS

ADDITIONAL 

ENERGY 

POSSIBLE @ 

85% 

UTILIZATION

REPACEMENT 

PETROLEUM 

FUEL

MW

NO.

MWhe

BARRELS

MW

NO.

MWhe

BARRELS

1

PA

22,184

23

56,406,690

31,023,679

23

SC

5,276

9

11,090,233

6,099,628

2

IL

17,573

24

54,026,447

29,714,546

24

OK

5,934

5

8,989,495

4,944,222

3

OH

24,447

28

52,048,616

28,626,739

25

NY

4,276

13

8,217,837

4,519,810

4

IN

22,887

28

50,091,632

27,550,398

26

AZ

6,338

6

8,186,501

4,502,575

5

GA

15,679

12

46,132,534

25,372,893

27

DE

1,511

2

6,148,924

3,381,908

6

MI

14,571

21

33,864,974

18,625,735

28

MA

2,552

3

4,842,105

2,663,158

7

KY

16,772

22

30,194,655

16,607,060

29

CO

5,197

14

4,839,175

2,661,546

8

MO

12,619

20

27,826,138

15,304,376

30

NE

3,168

7

4,759,847

2,617,916

9

MD

8,079

7

27,159,122

14,937,517

31

WY

6,075

9

4,727,458

2,600,102

10

FL

13,173

11

27,080,289

14,894,159

32

AK

3,993

5

4,540,006

2,497,003

11

AL

13,412

9

26,729,037

14,700,970

33

MS

2,451

3

4,237,221

2,330,472

12

TN

11,814

7

26,392,724

14,515,998

34

ND

4,295

7

3,804,372

2,092,405

13

NC

13,282

14

26,144,699

14,379,584

35

NV

2,770

3

3,803,425

2,091,884

14

VA

8,186

9

24,794,199

13,636,810

36

NM

4,295

4

3,649,410

2,007,175

15

WV

14,977

13

19,408,497

10,674,673

37

WA

1,510

2

2,780,433

1,529,238

16

MN

5,859

16

15,466,825

8,506,754

38

MT

2,514

3

2,427,962

1,335,379

17

TX

20,131

17

14,553,170

8,004,244

39

NH

2,030

3

2,186,865

1,202,776

18

NJ

2,770

5

12,786,635

7,032,649

40

CT

679

1

1,923,879

1,058,134

19

IA

6,126

19

12,560,258

6,908,142

41

SD

612

2

939,248

516,586

20

WI

7,515

17

12,203,254

6,711,790

42

OR

561

1

613,134

337,223

21

KS

5,940

9

12,078,264

6,643,045

22

LA

5,154

4

11,837,646

6,510,705

APPENDIX B

              STATEWISE POTENTIAL FOR PETROLEUM PRODUCT SUBSTITUTION                                

STATE

STATE

335

340,882,467

ALL

SL 

NO.

SL 

NO

283,149

619,786,304


Substitution of petroleum fuels by hydrogen generated through augmentation of unused steam generation capacity eliminates toxic emissions from road vehicles altogether. Apparently, there would be an increase in the quantum of carbon dioxide emitted.   But, at the same time it is important to note that specific generation of carbon dioxide, weight per weight of hydrogen obtained, is comparable to other processes to get hydrogen from coal5.  This is seen in Figure 2.   Further, in the changed scenario, the points of carbon dioxide emissions would be restricted to a few in number from thousands spread allover the country.  Hence, the application of any technology to sequester carbon dioxide becomes more feasible.

With this proposition of using the unused capacity of the power plants to generate hydrogen there is an option to set up electrolytic plants within power station limits and transport hydrogen or at independent locations convenient for distribution to consumer points.  For the later case, network already exists for the transmission of power. 

Further, ready availability of hydrogen at a coal based power plant will open another avenue to use hydrogen as a reducing agent to contain NOx.  An evaluation of its technical feasibility and economic viability in comparison with the process of Selective Catalytic Reduction (SCR) would be an interesting proposition.

These encouraging aspects of hydrogen cogeneration in steam based conventional power plants towards environmental safeguard, prompts establishing demonstration pilot projects.  Such a step will be a forerunner to wide spread usage of hydrogen as fuel in the future and will complement development of fuel cell based vehicles.  This can be in the first instance being in some exclusively coal-based power plants where sufficient spare capacity is available.    In this context, a detailed analysis of the performance of 450 utilities based fully or partly on coal during the years 1997 & 1999 reveals the following6.  Additional annual energy generation possible from among 335 plants situated in 42 states is 620 million MWh assuming these plants are run to 85% capacity utilization.  This is equivalent to 390 million barrels of oil on the basis of considerations detailed above at 75 percent conversion efficiency.  In 15 of these states oil replacement capacity exceeds 10 million barrels (Appendix B).  Hydrogen plant capacity linked to these plants mostly below 5 million Nm3 per day with median around 3.  This is well within the established designs of electrolytic plants (Ref. Fig 1).  Oil replacement potential will proportionately increase by increasing capacity utilization (some plants are run at 98%) and improving conversion efficiency (90% is possible with solid polymer electrolytes).  

CONCLUSIONS:  Operating all the conventional steam cycle power pants in the country to full capacity and using the surplus electricity to generate hydrogen to substitute some petroleum fuels for transportation is feasible.  A step in this direction would initiate the use of coal to substitute oil and pave way to commercial use of hydrogen as end-use-energy-source.

[image: image4.wmf]SOURCE

INSTALLED 

CAPACITY

ESTIMATED 

GENERATION IN 

2000

CAPACITY 

UTILIZATION

ANNUAL 

ADDITIONAL 

GENERATION 

POSSIBLE @85% 

UTILIZATION

MW

billion kWh

percent

billion kWh

ALL

639,324

3,068

54.8

1,692

CONVENTIONAL STEAM

382,270

1,994

59.6

852

COAL

277,780

1,718

70.6

350

NATURAL GAS

104,490

276

30.2

502

TABLE 1                                                                                                              

CAPACITY UTILIZATION OF UTILITIES


[image: image5.wmf]Quadrillion         

Btu

Percent

Motor gasoline

19.6

16.236

16.46

Other Oils

8.4

9.664

9.80

Distillate Fuel Oil

3.7

7.152

7.25

Jet Fuel

1.7

3.286

3.33

Residential Fuel Oil

0.78

1.508

1.53

Sub Total

34.18

37.846

38.37

(Consumption of diesel for truck transportation)

4.9

9.471

9.60

22.2

22.953

23.27

Utilities

943.2

19.645

19.92

Rest

104.8

2.183

2.21

Sub Total

1048

21.828

22.13

739

7.898

8.01

772

8.099

8.21

98.624

100.00

A2: Electricity  generation

Total installed capacity

639.324

Coal based

274.9093

Estimated total generation, billion kWh

3,785

Utilities

3,068

Coal

56

Nuclear

24

Natural gas

9

Hydropower

9

Oil

2

During the year 2000, 56% of 3,068 billion kWh electricity 

generated was from coal; Installed utility capacity (1999) 639.324 

gigawatts; Capacity utilization

71.3

90% of the 1,048 million tons of coal was consumed by the utilities 

to produce 1,718 billion kWh electricity; Specific rate of coal 

consumption 

1821.459

Theoretically, 79 kWh electriity and 15 kWh energy in the form of 

heat is required to obtain 1000 ft

3

 of hydrogen; @ 75% conversion 

efficiency.  Therfore, 100 kWh electricity can provide hydrogen

1000

or

5.57

As transportation fuel, 1kg of hydrogen covers 30 km, whereas 1 kg 

of gasoline covers 11.6 km; Thus, 1 unit weight of hydrogen is 

equivalent to 2.58 unit weight of gasoline.  On an average, 1 gallon 

of gasoline is 6.15 lbs.  Therfore, 5.57 lbs hydrogen

2.337

250 billon kWh electricity can substitute gasoline

5.8425

@ 42 gallons per barrel

0.139107

or daily rate of availability

0.381115

Total

A.1.5: RENEWABLES (billion kWh)

A.1.2: NATURAL GAS (trillion cubic ft of dry gas)

million barrels

lbs

gasoline

billon gallons

billion barrels 

Percent

percent

kWh per short ton

ft

3

A.3: Computations

Percent

Percent

Percent

Percent

Gigawatts

Gigawatts

Billion kWh

Billion kWh

APPENDIX A

A.1: Estimated primary energy consumption in 2000 



A.1.3: COAL (million short tons per year)

A.1.1: Petroleum products in million barrels per day (MMBD)

A.1.4: NUCLEAR (billion kWh)


REFERENCES

1. Peter Hoffmann, “The Forever Fuel: The Story of Hydrogen”, West View Press / Boulder, Colorado (1981)

2. C.E.G. Padró and V. Putsche, “Survey of the Economics of Hydrogen     

Technologies” National Renewable Energy Laboratory, (1999)

3. California Energy Comission, “1999 Electricity Generation Emissions Report (A Report to the Legislature)”, (1999)

4. L.O. Williams, “Hydrogen Power: An Introduction to Hydrogen energy and         its Applications”  Pergamon Press (1980)

5. David N. Ruzic, “www.starfire.ne.uiuc.edu/ne201/course/topics/gasification

6. www.epa.gov/airmarkets/emissions/index.html#reports
7. www.eia.doe.gov/index.html

About the Author:  Dr. Kotur S. Narasimhan was the Director of Central Fuel Research Institute (CFRI), Dhanbad, India during 1992 - 1998.  Earlier, He was a scientist at the Regional Research Laboratory, Bhubaneswar (RRL-B), India.  Both CFRI and RRL-B are the constituent laboratories of the Council of scientific & Industrial Research, Government of India.  He has more than 100 research publications to his credit and edited several monographs and symposium proceedings.  His current interests are Energy, Environment and Economics applied to use of coal and mineral resources.
�





�








�








PAGE  
7

