
STATUS OF NOx EMISSIONS FROM COAL FIRED UTILITIES

Kotur S. Narasimhan

(10928 Greenaire pl, Richmond VA 23233 USA)

ABSTRACT

A study is made on the emissions of oxides of nitrogen (NOx) from power plants in the country in order to:

(i) Assess the impact of coal based units on the environment 

and 

(ii) Gauge the utility of NOx reduction technologies that are currently in vogue.

86 percent of 5.5 million tons of NOx emitted during the year 1999 came from exclusively coal-based units.  Such emissions ranged from 0.12 lbs/mmBtu to 1.8 lbs/mmBtu in sharp contrast to oil and gas fired units that had a shorter range.  419 coal-based units equipped with NOx control measures emitted 2.14 million tons (0.4 lbs/mmBtu on average) compared to 2.64 million tons (0.58 lbs/mmBtu on average) from 634 units that had no control.  

Most of the coal-based units having controls acquired them during the years 1995-1999.  A comparison of NOx emissions from them before and after the retrofit has brought out some interesting observations.  The extent of reduction achieved with the same technology in similar units has varied considerably.   Not only in many of the installations has the reduction fallen short of expectations but also in several of them the result is even negative.  A significant number of coal-fired units without any control had NOx levels equal to or lower than the median values of similar units with controls imposed. The impact of the operating technologies can therefore, be only considered as unit specific.  These anomalies might have arisen due to incompatibility of the system design to the fuel characteristics - both physics and chemistry.

Eventually it may be necessary to reduce NOx to below 0.1 lbs/mmBtu.  For this purpose a combination of technologies may be required involving Selective Catalytic Reduction (SCR), Coal Reburn (CR) and some others unique to each case.  A better understanding of the relation between system design and fuel characteristics could minimize the number of technologies needed.

________________

Emission of oxides of nitrogen (NOx) from fossil fuel utilities is a major environmental concern.  The Environmental Protection Agency (EPA) has therefore been steadily reducing the regulatory standards on allowable NOx in the exit flue gases from power stations.  It is only a matter of time that power producers may be bound to control NOx levels below 0.1 lbs/mmBtu.  Against this near ideal scenario, what is the present status?  What are the available technology options to achieve such a desired shift? 

Formation of NOx during combustion of fossil fuels is a complex process that is yet to be fully understood.  Experience to-date shows that NOx level in flue gases is linked to many factors like the type of boiler, level of oxygen, design and arrangement of burners, physics and chemistry of fuel burnt and the implicit temperature profile with in the system.  However, a quantitative relationship of these factors to predict its concentration under a given set of conditions is not yet possible.  Notwithstanding this limitation, efforts are continuously under way to reduce NOx emission from utilities run on fossil fuels.  As a result more units are employing one or a combination of several contemporary technologies available for the purpose.  An analysis is carried out to assess the impact of such technologies commercially in use to measure the extent of their success.

The EPA is regularly monitoring all the utilities in the country for NOx emissions.  2036 operating units for which data is available emitted around 5.5 million tones of NOx during the year 1999. 86% of this emission came from 1053 units run exclusively on coal.  A total of 804 units are equipped with NOx control measures of which 419 are coal based.  419 coal-based units with control emitted 2.14 million tons (with an average emission of 0.4 lbs/mmBtu) compared to 2.64 million tons (with an average emission of 0.58 lbs/mmBtu) from 634 units without any control.  Therefore, any technological success in reducing NOx will have to be measured in terms of its impact on coal-based utilities.

Figure 1 gives the range of NOx generated in lbs/mmBtu from these units classified into different categories.  Coal based units are sub-divided under three classes of (i) Tangential fired units (T), (ii) Cyclone units (C) and (iii) other pulverized coal based (mostly wall fired) units (W).  To reflect the effect of NOx control measures, the range of NOx for each class is shown separately for the untis with and without NOx control.  The number of units encountered in each class and relative share of NOx generated is indicated in the figure.  This analysis is based on the information reported by EPA1.  The range-bars in the figure are divided at the respective median values. The average NOx emissions for gas, oil and coal based utilities were 0.23, 0.30 and 0.60 lbs/mmBtu respectively. The average values were observed to be very close to the respective median values.

[image: image1.wmf]FIGURE 5: IMPACT OF COAL REBURN - MAJOR TRIALS

0

0.25

0.5

0.75

1

1.25

1.5

0

0.25

0.5

0.75

1

1.25

1.5

UNCONTROLLED NOx, Lb/mmBtu

REDUCED NOx, Lb/mmBtu

NELSON (BIT. COAL, CYCLONE)

NELSON (SUB BIT. COAL, CYCLONE)

KODAK (COAL, CYCLONE)

MILLIKEN (COAL, TANGENTIAL)

DENVER (GAS, WALL FIRED)

LNB

LNC'S

SCR

SNCR

REBURN

Perceived shift in the median value of NOx due to control is 62 percent for gas, 35 percent for oil and 10 percent for tangentially fired coal-based units.  For others (mostly wall fired units) the effect is 28 percent.  For the small number of cyclone furnaces operating with control measures, this shift is 16 percent.  Reduction in NOx level for all units taken together in each class is 54.5% for gas, 38.8% for other fuels (includes diesel and mixed fuels), 31.4% for oil, 31.1% for rest (mostly wall-fired units), 17.8% for cyclone and 10% for tangential units. It is also significant that a number of units with no control (17 of 81 cyclones, 90 of 246 tangential and 74 of 307 others) had NOx equal to or lower than the respective median values with controls enforced.  All these facts imply that the effect of NOx control technologies have had much less impact on coal based units.

Almost all, 353 out of 419 units operating now with NOx control measures acquired them during the years 1995 - 1999. The available information on the annual average emission before and after the addition of the control measure has been analyzed to assess the impact of the technologies employed on their efficacy to contain NOx emissions.  A list of technologies that are applied to reduce NOx in different systems is given in Table 1.  Effectiveness of these technologies as observed to reduce from a given uncontrolled level to a lower value is shown in Figures 2, 3 and 4.   Solid lines (and solid squares for SCR in Figure 3) in these figures represent the expected behavior. Data for this representation of expected behavior is obtained from Cost Tool provided by EPA and available on their Website 2.  

[image: image2.wmf]FIGURE 1: NOx EMISSION PATTERN FROM US UTILITIES IN 1999

(C: CONTROLLED; U: UNCONTROLLED; % SHARE OF TOTAL NOx)

 COAL (CYCLONE)

COAL (REST)

 U 81 (12.4%)

 C 5 (0.7%)

 U 307 (21.2%)

 C 236 (22.6%)

 C 178 (15.5%)

COAL  (TANGENTIAL)

U 85 (1.5%)

C 86 (1.3%)

OTHER FUELS  

U  131 (2.7%)

C 76 (1.5%)

OIL 

U 384 (5.7%)

 C 223 (1.0%)

GAS

 U 246 (14.1%)

0

0.25

0.5

0.75

1

1.25

1.5

1.75

2

NOx EMISSION, lbs/mmBtu


Low NOx Burners (LNB is the widely used technology as it covers a total of 162 units.  Figure 2 shows the effect of employing LNB.  LNB is found to be effective in 83 percent of tangentially fired units whereas for wall-fired units the effectiveness was 58 percent.  

Figure 3 shows the effect of Low NOx Concentric Burners (LNC's) developed for tangential furnaces, the second widely used technology covering 84 units.  The effectiveness of LNC's has varied considerably from 58 percent to 80 percent depending on the configuration with LNC2 being the least effective.  

Figure 4 gives all other technologies used to a lesser extent, including chemical methods.  The results of Selective Catalytic Reduction (SCR) as observed with gas based units are considered for comparison since widespread use of the technology is not known with coal-based units.  However, the results of large- scale demonstration of SCR in coal-fired units (solid squares) are also included3.   

[image: image3.wmf]TOTAL

WITH 

NEGATIVE 

EFFECT

WITH NO 

CHANGE

LOW NOx BURNER 

LNB

42

5

2

83

LOW NOx CONCENTRIC LEVEL 1 

LNC 1

33

6

1

79

LOW NOx CONCENTRIC LEVEL 2 

LNC 2

26

8

3

58

LOW NOx CONCENTRIC LEVEL 3 

LNC 3

25

2

3

80

OTHERS 

O

25

9

8

32

OVER-FIRE AIR 

OFA

7

3

0

57

LOW NOx BURNER 

LNB

120

38

12

58

LOW NOx BURNER+OVER FIRE AIR 

LNBO

40

10

3

68

SELECTIVE NON-CATALYTIC REDUCTION 

SNCR

11

0

0

100

ALL OTHERS 

O

24

3

1

83

SELECTIVE CATALYTIC REDUCTION 

SCR

23

15

4

17

TABLE 1

IMPACT OF NOx REDUCTION TECHNOLOGIES

(DATA SOURCE: EPA

1

) 

TECHNOLOGY

ABREVIATION

NUMBER OF UNITS

EFFECTIVENESS 

(PERCENT)

TANGENTIAL

WALL FIRED

COAL FIRED UTILITIES WITH NOx REDUCTION FACILITY

GAS FIRED UTILITIES


[image: image4.wmf]FIGURE 2:IMPACT OF LNB TECHNOLOGY

0

0.2

0.4

0.6

0.8

1

1.2

1.4

0

0.2

0.4

0.6

0.8

1

1.2

1.4

UNCONTROLLED NOx, lb/MMBtu

RESULTING NOx, MMBtu

LNBO(DB)

LNB(DB)

LNB(T)

LNB

LNB+OFA


[image: image5.wmf]FIGURE 3: IMPACT OF LNC TECHNOLOGY

0

0.2

0.4

0.6

0.8

1

1.2

1.4

0

0.2

0.4

0.6

0.8

1

1.2

1.4

UNCONTROLLED NOx, lbs/mmBtu

REDUCED NOx, lbs/mmBtu

LNC1

LNC2

LNC3

LNC1

LNC2

LNC3

 

As far as SCR is concerned, the effect is expected to be independent of fuel since it is used to remove NOx from flue gases after formation.  A statistical analysis of the effectiveness of the commercially used technologies shown in figures 2 to 4 is also given in Table 1.

Majority of the units responded positively to the technologies adopted, with an exception for SCR applied to gas fired units. However, the extent to which NOx reduction took place varied considerably.  The cluster of points above the diagonal in these figures reflects the lack of effectiveness of these technologies. Invariably all technologies except SNCR, have to an extent failed in their purpose when used commercially.

REBURN TECHNOLOGY:  Partial use of the same or an alternative fuel (coal, oil or gas) - in staged combustion is yet another technology considered to be effective in NOx reduction.  Even though this technology is yet to be commercially used, large-scale demonstration has been conducted as part of the Department of Energy (DOE) sponsored nationwide Clean Coal Technology program.  The results of these four demonstration projects4 are shown in Figure 5.  Two of these involved cyclone furnaces at Nelson-Dewey (110 MW)5 and Kodak (50 MW)6, one tangentially fired at Milliken (150 MW)6 and another wall-fired unit with gas in Denver (158 MW)7. The dotted lines in this figure show the trend of effectiveness of technologies shown in Figures 2,3 and 4.  Limited results available on coal or gas reburn indicate that this could be as effective as other technologies except SCR.   

[image: image6.wmf]FIGURE 4: IMPACT OF OTHER TECHNOLOGIES

0

0.2

0.4

0.6

0.8

1

1.2

1.4

0

0.2

0.4

0.6

0.8

1

1.2

1.4

UNCONTROLLED NOx, lbs/mmBtu

REDUCED NOx, lbs/mmBtu

SCR

LNCB

O

OFA

SNCR

SCR(GAS)

SNCR

SCR

[image: image7.wmf]FIGURE 6: EFFECT OF REBURN FUEL PERCENTAGE

0

10

20

30

40

50

60

70

80

0

5

10

15

20

25

30

35

40

REBURN FUEL, %

NOx REDUCTION, %

GAS CYCLONE (0.97 - 1.25)

GAS T-FIRED (0.5 - 0.75)

GAS WALL (0.73)

COAL CYCLONE  KODAK (1.22 - 1.36)

COAL CYCLONE  NELSON DEWEY (0.82)

COAL T-FIRED MILLIKEN (0.35)


While a 50% reduction in the uncontrolled NOx level is possible, actual reduction obtained is dependent on the percentage of heat going in the reburn fuel.  For coal-fired units up to 30 percent of the heat needs to be diverted in the reburn stream for maximum reduction.  The effect of reburn fuel percentage on the reduction achieved during the four demonstration projects is shown in Figure 6.  Solid lines in the figure show the predicted behavior based on model studies carried out by McDermott Technology Institute8.  The effect of percentage heat in reburn stream is fully not understood since the range of this variable studied in the demonstration projects was restricted to keep the percentage of un-burnt carbon in fly ash within limits. 

To summarize the status of NOx reduction practices in coal fired utility boilers the following can be said:

· The uncontrolled NOx emission in coal-based utilities has a range of 0.1 lbs/mmBtu to 1.8 lbs/mmBtu.  This is wider than the range observed for oil or gas based units.

· Impact of NOx reduction technologies is unit specific.  In many instances the expected results are not achieved.  Several examples of negative results are seen for all the technologies in use with the exception of SNCR.  This is also true for SCR applied to gas based units.

· Commercially used technologies on exclusively coal-based units have had less impact in reducing NOx when seen in comparison with units run on other fuels.

· A significant number of coal-fired units without any control had NOx levels equal to or lower than the median values of similar units with controls imposed.  

· All these anomalies in exclusively coal-fired units viz., (a) wide range of NOx concentrations in units without any control (b) varying extent of reduction in NOx for the same technology in similar type of boilers and (c) significant number of units without any control having comparable or lower NOx concentrations of other similar units having controls, suggest that the fuel characteristics - both physics and chemistry -may play an overriding role.

· Reburn technology, though not commercially used, may be as effective as any other technology.  

These observations indicate that none of the technologies so far known, either alone or in combination, can be definitive in meeting the ultimate limit of 0.1 lb NOx/mmBtu.  Systems that are amenable to NOx reduction will definitely require SCR if the uncontrolled NOx is below 0.3 lbs/mmBtu.  If the uncontrolled NOx level is higher than 0.3 lbs/mmBtu, a combination of technology with SCR will be necessary. If the trends shown in Figure 5 are any indication of realizing a 50% reduction in NOx level, coal reburn followed by SCR can be effective up to 0.6 lbs/mmBtu of uncontrolled NOx. For higher uncontrolled NOx levels added measures, like a burner technology may be needed. Thus NOx reduction program becomes a multi-stage operation with a number of technologies depending on the uncontrolled level of NOx.  However, if the compatibility of system design with fuel characteristics is the key in achieving low NOx levels without any control it may be possible to reduce the number of technologies required to achieve the desired results.  For this a further detailed investigation to delineate the reasons for varying success with a given technology on the extent of reduction obtained in different units.

REFERENCES:

1. www.epa.gov/docs/acidrain/edata.html
2. www.epa.gov/docs/acidrain/nox/noxtech.htm
3. www.epa.gov/docs/acidrain/nox/scrfinal.pdf
4. Reburning Technologies for the Control of Nitrogen Oxides Emissions from Coal Fired Boilers, Department of Energy, Topical Report 14 (1999)

5.
www.lanl.gov/projects/cctc/resources/pdfs/eerco/00000071.pdf
6.
www.lanl.gov/projects/cctc/resources/pdfs/colrb/00000086.pdf
7.
www.lanl.gov/projects/cctc/resources/pdfs/milkn/mcrfinal.pdf
8.
www.mtiresearch.com/expernce.html
About the Author:  Dr. Kotur S. Narasimhan was the Director of Central Fuel Research Institute (CFRI), Dhanbad, India during 1992 - 1998.  Earlier, He was a scientist at the Regional Research Laboratory, Bhubaneswar (RRL-B), India.  Both CFRI and RRL-B are the constituent laboratories of the Council of scientific & Industrial Research, Government of India.  He has more than 100 research publications to his credit and edited several monographs and symposium proceedings.  His current interests are Energy, Environment and Economics applied to use of coal and mineral resources.


- 1 -

