· South entry building:

- Install 3 microlams



$1,200.00

-Stucco around framing at store front

$ 350.00

-Drywall inside frame 


$ 180.00

-Cut block and demolition


$ 300.00

-Refill concrete when take block out

$ 50.00

-Install store front



$5,200.00

· North east building:

-1st engineer took out 1st layer ceiling, 2nd ceiling wall for checking block wall. Labor price 



$200.00

-Repair drywall, repair ceiling. 

$380.00

-Painting. 




$ 80.00

-Door dimension and window dimension correct by mortar additive and screen. 




$350.00

-Repair crack and fill east side block

$180.00

-Door and door framing, hardware

$3,200.00

-Window and window framing

$1,500.00








Total:
 

$13,170.00

