Estimate of Renovation / Improvement for Server Room in DCO Office Complex under Punjab Intranet Project at District Sargodha.
1. Dismantling C.C K X 4



1 x 12 x 20 x ½ = 40 CFT.



1 x 3 ½ x ¾ x 1/6 = 40 CFT.

         Total = 40 CFT.

         @ 1393 / 20 % CFT.


             557-00

2. Removing Door in the Chowkat.

1 No. @ 82 / 50 each




    83-00

3. Removing Window of say lights.

1 No. @ 65 / 45 each




    65-00

4. C. C K X 4 Plain.

As item No. 1 = 40 CFT.

@ 8009 / 75 % CFT.




3204-00

5. Removing Cement or Lime Plaster.

2 x 1 (12 + 20) 7 = 448 sqr.

@ 52 / 50 % SFT.





  235-00

6. Laying floor of coloured glazed tiles 1/4' thick laid over 3/4' thick.

1 x 12 x 20 = 240 sqr.

1 x 3 ½ x ¾  = 3   sqr.

Total = 243 sqr.



2 x 1 (12 + 20) 7 = 448 SFT.




Total = 691 SFT.




@ 5912 / - % SFT.



         40852-00

7.  P / F Aluminium Door Complete. Alcop

1 x 4 x 7 = 20 sqr.

@ 250 / - P - SFT.




           7000-00

8. P / F  Aluminium Window Bronze Compete. Alcop.

1 x 4 x 4 = 16 sqr.

@ 230 / -  P - SFT.




           3680-00

9. P / F  Ms. Grill Complete.

1 x 4 x 4 = 16 sqr.

@ 82/90  P - SFT.




           1326-00

10. P / F  Glass Partition 12 mm thick in the frame of Aluminium. Complete as approved.

1 x 12 x 7 = 84 sqr

@ 250 / -  P - SFT.




         16800-00

11. P / F  False Ceiling of Plaster of Paris Complete.

1 x 12 x 20 = 240 sqr.

2 x 1 (20 + 12) 1 = 64 sqr.

Total = 304 sqr.

@ 50 / - P - SFT.




         15200-00

12. Electric Heavy Load Power wiring auto trip I / C Circuit Breakers etc. Tera Saki Japan.

1 Job 






         50000-00

13. Provision of Flip Curtains (Blinders).

1 x 5 x 5 = 25 sqr

@ 100 / - P - SFT.




           2500-00

14. Provision of Glass Tables.

Size. 3 x 2 ½  with 10 mm thick glass.

5 Nos. @ 6000 / - each 



         30000-00

15. Provision of Office Glass Tables.

Size. 4 x 2 ½ with 10 mm thick glass.

2 Nos. @ 8000 / - each



         16000-00

16. Provision of Glass Router Cabin.

1 No. @ 4000 / - each



           4000-00

17. Provision of Fire Alarm and Smoke Detector.

1 Job @ 2000 / - each



           2000-00

18. Bracket fans 16’ Sweep GFC etc.

4 Nos. @ 2000 / - each 




8000-00

19. Fixing of A.C Split Type.

1 Job @ 1500 / - each 




1500-00

20. Provision of Security Camera.

2 Nos. @ 3000 / - each 




6000-00

21. Provision of Door Closer Japan.

3 Nos. @ 1500 / - each 




4500-00

22. Provision of Chairs.

i. Office Chairs.

ii. Computer Chairs.

6+6 @ 2000 / - each



         24000-00

23. Alluminum Safe.

2 @ 4,500 / - each





9000-00

 Total = 246,500-00

Add 5 % Contingency





        12,325-00










      258,825-00

   Say Rs. 250,000-00


- 1 -


