RTIS Cabinets

Standardization Details

Introduction:


This document has been written with the intention of giving some extra information and details to mount the RTIS system cabinets in a standard way. This information includes the way the units should be mounted in the rack, and also all the bold number information specific to each unit present in the cabinet.

The cabinets

[image: image1.png]0 e

0 e

o
v
7
7

eefe|z £[ee|z 2|efe|x

2lefe|= 2[efe]2 2[z|e|=





Figure-1 RTIS cabinets

Bolt information:


This section is giving the builder all the bolt number information so that the units are added to the cabinets at the exact same place for all RTIS system around the country. Each unit is detailed with its top bolt, bottom bolt, top screw bolt and bottom screw bolt. The table enumerates each unit starting from the top of the cabinet and descending all the way to the bottom. Bolt number 1 is the first bold starting from the top to the botton.

N.B.: All the MPS shelves bolt information are for the middle rack.

The 710 cabinet

Front

Unit name
Top Bolt
Top screw Bolt
Bottom screw Bolt
Bottom Bolt

Wolf 3015 Power panel 1
4
4
6
6

Wolf 3015 Power panel 2
7
7
9
9

MPS Shelf 1
11
11
14
14

MPS Shelf 2
17
17
20
20

MPS Shelf 3
24
24
27
27

MPS Shelf 4
30
30
33
33

MPS Shelf 5
37
37
40
40

MPS Shelf 6
43
43
46
46

Cat 5 panel
49
49
51
51

Single-board PC shelf
52
54
73
75

Wolf 3015 Power panel 3
76
76
78
78

Zyfer GPS
79
79
81
81

HP switch 1
82
82
84
84

HP switch 2
85
85
87
87

Tag Panel 1
88
88
90
90

Serial Switch shelf 1
91
93
100
102

Wolf 3015 Power panel 4
106
106
108
108

HP switch 3
112
112
114
114

HP switch 4
115
115
117
117

Tag Panel 2
118
118
120
120

Serial Switch shelf 2
121
123
130
132

The 711 cabinet

Front

Unit name
Top Bolt
Top screw Bolt
Bottom screw Bolt
Bottom Bolt

Wolf 3015 Power panel 1
4
4
6
6

Wolf 3015 Power panel 2
7
7
9
9

MPS Shelf 1
11
11
14
14

MPS Shelf 2
17
17
20
20

MPS Shelf 3
24
24
27
27

MPS Shelf 4
30
30
33
33

MPS Shelf 5
37
37
40
40

MPS Shelf 6
43
43
46
46

Cat 5 panel
49
49
51
51

Single-board PC shelf
52
54
73
75

Pullizi Power Panel
77
77
79
79

Serial Switch shelf 1
80
82
89
91

Tag Panel 1
92
92
94
94

Serial Switch shelf 2
95
97
104
106

Pullizi Power Panel
107
107
109
109

Serial Switch shelf 3
110
112
119
121

Tag Panel 2
122
122
124
124

Serial Switch shelf 4
125
127
134
136

The 710 and 711 cabinet

Back

Unit name
Top Bolt
Top screw Bolt
Bottom screw Bolt
Bottom Bolt

MPS Shelf 1
10
11
14
15

MPS Shelf 2
16
17
20
21

MPS Shelf 3
23
24
27
28

MPS Shelf 4
29
30
33
34

MPS Shelf 5
36
37
40
41

MPS Shelf 6
42
43
46
47

Power Bar
136
136
138
138

