	NURSING TECHNOLOGIES

	[image: image1.jpg][




	Tycos Family Practice Blood Pressure Kit

100% Latex free, Tycos offers this family practice kit to accommodate the full range of patients from pediatric to larger adults. The kit features the Tycos classic hand aneroid and three cuffs (Large Adult, Adult, Pediatric) and a zippered storage case. The gauge features a twist air valve for one hand operation. The one-piece cuffs are made from extremely durable washable materials. A phosphor bronze bellows insures accurate inflation. The gauge carries a Lifetime warranty.

	[image: image2.jpg]



	Cardionics E-Scope® II

The second generation E-Scope® II has just been released. It is intended for general clinical use, medical education, Telemedicine and paramedic use in ambulances and medical helicopters. It amplifies the heart, breath, bowel or korotkoff sounds without amplifying outside noise. The E-Scope® II has maximum amplitude or sound pressure level output of 120 dBa without distortion. Additionally, heart or lung sounds are amplified without appreciable amplification of room or background noise. This makes it much easier to hear a low, rumbling murmur or faint AI blows. 

The new E-Scope® II is available with the optional Hand held PDA(Compac- IPAQ) interface to output a visual phonocardiogram. This can be played back and e-mailed to a colleague; a must for teaching. The E-Scope® II features a frequency switch for heart sounds (20-1000 Hz) and breath sounds (70-2000 Hz), a variable volume control (27dB @ 200 HZ peak output for both heart and lung sounds; Maximum output is 124 dB SPL), and has a 2.0 minute auto "off" feature.

	[image: image3.jpg]



	Welch Allyn 97200-MC 3.5v Diagnostic Set

Performing a physical diagnosis is easier with Welch Allyn's medical diagnostic instruments featuring our exclusive Halogen HPX™ lamps that provide brighter, whiter light than standard halogen lamps for true tissue color and long-lasting illumination. Built for durability, ease-of-use and comfort, these instruments will provide you with lasting satisfaction. 

The Welch Allyn® 3.5v Diagnostic Set with Coaxial Ophthalmoscope, MacroView Otoscope, Convertible Handle, and Hard Case

Model 97200-MC features:

• 3.5V Coaxial Ophthalmoscope with patented coaxial optics offering a greater field of view, shadow free spot, and easier entry into the patient's pupil. Special polarizing filter reduces corneal reflection by 99%.

• The 3.5v MacroView(TM) Otoscope with built-in throat illuminator provides 30% more magnification and twice the field of view of traditional otoscopes, along with the ability to adjust the focus. 

• Convertible handle, with chrome-plated brass knurled finish, can be powered by either a NiCad rechargeable battery or 2 C-cell batteries.

• Handle accepts all Welch Allyn 3.5V heads.

	[image: image4.jpg]



	Halogen Examination Penlite

This is the one people rave about. Don’t bother with the cheap throw away units. You get what you pay for! Solid brass construction with replaceable 2.5v halogen bulb and powered by two AAA batteries (included). This makes great gift item.

	[image: image5.jpg]



	Learning Cardiology (Coronary and Heart Disease) Training CD

This CD-ROM covers coronary artery disease with emphasis on cineangiography and valvular

heart disease with emphasis on echocardiography.

This CD-ROM contains a complete description of one of the most common cardiovascular

disorders in the US. There are numerous examples of cath lab views from actual patient showing

narrowed and occluded coronary arteries. There is a complete clinical discussion and rationale for

the diagnosis. 

The second part of this CD-ROM covers Valvular Heart Disease - mitral stenosis, mitral regurgitation, aortic stenosis and aortic regurgitation. The user can review the electrocardiogram, a series of echocardiograms, cath lab data and results, heart sounds, and chest X-Rays.

The authors are Sherman M. Steinzeig, M.D., FACC, Marvin I. Dunn, M.D., FACC, David Wilson,

M.D., FACC from the Division of Cardiovascular Diseases, and Tseng Kuo Shiao, M.D. from the

department of Information Technology at the University of Kansas Medical Center, Kansas City,

Kansas. 



	[image: image6.jpg]



	Learning Electrocardiography Training CD

This CD-ROM contains over 118 clinical EKGs In 9 clinical categories. The tracings are standard 12 lead versions with zoom enlargements of critical areas. In some cases, orthogonal XYZ leads are also included. A detailed interpretation is presented which includes the criteria and the rationale for the diagnosis.

This new version contains an EKG tutorial, a Student Assessment, a section on vectorcardiography and the ability to ZOOM or expand any lead in any EKG for greater detail. 

The tracings are hyperlinked with 10 discussion topics which include: the specialized

conduction system, A-V block, bundle branch block, chamber enlargement, loop rotation, the

EKG in CVA, electrolytes, myocardial infarction, tachycardia, and ventricular pre-excitation. This

CD-ROM will operate on Windows 3.1, Windows95/98 or Windows NT.

The authors are Sherman M. Steinzeig, M.D., FACC, Marvin I. Dunn, M.D., FACC, David

Wilson, M.D., FACC from the Division of Cardiovascular Diseases, and Tseng Kuo Shiao, M.D.

from the department of Information Technology at the University of Kansas Medical Center,

Kansas City, Kansas. 



	[image: image7.jpg]



	Littmann® Master Classic II

The excellent acoustic sensitivity of a patented tunable diaphragm is the hallmark of the low profile Littmann® Master Classic II stethoscope. Award winning design combines high performance with portable convenience in this single sided chestpiece 

- The patented tunable diaphragm conveniently alternates between low and high frequencies without the need to turn over the chestpiece. This allows for same-site auscultation.

- Excellent acoustic seal and comfortable fit with patented Littmann® Snap-Tight soft-sealing eartips.

- Portable convenience of a single-sided chestpiece.

- Comfortably angled, anatomically correct headset.

- Patient-friendly, non-chill rim and diaphragm.

- High-performance, single-lumen tubing in a range of attractive colors.

	[image: image8.png]



	PanOptic Ophthalmoscope Head

The Welch Allyn model 11810 PanOptic ophthalmoscope (shown with available Lithium Ion Handle) offers the best possible viewing of the eye. The PanOptic ophthalmoscope features a 5X larger view of the fundus than achieved with any standard ophthalmoscope in an undilated eye. A 25 degree field-of-view is realized vs. the standard 5 degree field along with a 26% increase in magnification. Affordable new head is compatible with all existing Welch Allyn 3.5V battery handles and wall transformers 

The Welch Allyn PanOptic ophthalmoscope features the patented Axial Point Source optics that increase field of view to 25º and magnification 26% over standard ophthalmoscopes. Revolutionary patient side eyecup helps stabilize optics while reducing ambient light and providing a comfortable seal. The practitioner side focus wheel adjusts from -20 to +20 diopters for accurate examinations. Apetures provided include micro,small,large,slit and half moon. A red free filter comes standard. A cobalt filter is available on model 11820. Please note this item will work with any standard Welch Allyn 3.5v power source.

	[image: image9.jpg]



	5211 ADC Diagnostic 2.7 Volt Otoscope Kit

The ADC Model 5211 is an affordable otoscope that offers high quality optics and workmanship. Features include: A German 2.7V lamp for bright illumination - Bayonet locking otoscope head - Removable 4X magnifying lens - Reostatic on/off switch - Autoclavable, polypropylene ear specula in sizes 2.5mm, 3.5mm and 4.5mm (one of each) - Knurled brass handle with a beautiful satin finish - Ergonomically designed for comfort. 

Compact instrument measures just under 7 1/2" and weighs approximately 7 oz. - Powered by 2 "C" cell batteries (not included) - Comes with a zippered leatherette storage pouch that holds 

the otoscope and included speculas - Inspected in the U.S.A. from foreign components - One Year Quality Performance Guarantee

	[image: image10.jpg]



	New DuraShock DS 45 Sphyg.

The new Welch Allyn DuraShock model 45 integrated aneroid sphygmomanometer is the only gear free shock resistant unit that can withstand the rigors of the a 3 foot fall! This new unit features a snap on gauge that can be placed on multiple cuff sizes for easy use in all size applications. It is half the weight of traditional bulky aneroid gauges. Unit comes complete with two tone one piece latex free cuff. 

Units is complete with squeeze bulb inflation system, cuff (multiple sizes available) and carry case * Large easy to read white on black gauge * Innovative left or right arm cuff design increasing measurement accuracy * Meets AAMI Shock resistant standard * Rotatable gauge snaps directly into cuff for low profile design * Durable one piece cuff lasts 100,000 cycles * Full 10 year warranty on this unit through Welch Allyn 



	[image: image11.jpg]



	Stethographics STG recording software

STG for PC uses microphone port of your PC or laptop to record heart, lung and abdominal sounds. Use the STG to visualize sounds in real time, play back saved sounds, view sounds in time or frequency domains, or use it to automatically identify and count wheezes and crackles in real time. 



	[image: image12.jpg]K




	ADC Digital Thermal Printer for ADVANTAGE™ 6014

The 6014P Digital Thermal Printer prints last reading or entire contents of monitor memory for use with Advantage Advanced monitors, models 6014 and 6016

This unit is powered by 4 "AA" batteries, or optional AC adapter and uses 1" rolls of thermal paper.

	[image: image13.jpg]



	421 Adtemp Tympanic Thermometer

This is the most compact Tympanic thermometer on the market. 

Thermometer features:

• Measures core temperature instantly from the ear reliably and accurately

• Patented technology scans 512 times per second

• Range 93.2°F-109.4°F ± .2°F or 34°C-43°C ± .1°C depending on scale selection

• Probe cover FREE design is less costly and more convenient to use

• Large 6mm display is easy to read

• Ultra compact (4.5” Long, 1.5 oz.) ergonomic design fits comfortably in operator’s hand and patient’s ear

• Fever alarm at 100.4°F

• Complete with Lithium battery, zippered nylon storage/travel case,and operating instructions 



	[image: image14.jpg]



	Androsonix Sensor 2 pack

Androsonix is a single-use sound sensor, for use with the Andromed i-stethos stethoscope. The sensor is affordable, reliable, easy-to-use, highly portable and, above all, non-invasive. It prevents cross contamination in hospitals, filters noise, provides a wider sound spectrum, and reduces the need to move injured patients. The Androsonix comes in the form of a disposable adhesive device which is affixed directly to the patient’s skin. Package is 2 per box.


