LAWRENCEBURG

ADVISORY PLAN COMMISSION

SITE PLAN REVIEW

(154.29)

Staff concerning the proposed planned development has reviewed the following checklist. This list has been marked YES, NO or N/A for non-applicable.

PROJECT NAME    ________________________________________________________________________

PROJECT LOCATION    ____________________________________________________________________

ILP / VARIANCE / GE&F # ______________________

DATE OF PLANS   ______________________

__________             1.     Any area map showing the relationship of the site to existing development in the area. 

                                         Adjoining zoning districts, streets, residential and commercial development, and      

                                         Physical features of the land within (200) feet of the site shall be shown. This 

                                         Includes the F.E.M.A. Flood Insurance Rate Map and Flood Boundary and 

                                         Floodway Map information. 

__________             2.     Names and addresses of all property owners within (200) feet of the site. This

                                         information must be listed on the Area Map or the Site Plan.

__________             3.     Names and addresses of the owners of the site and the nature of the developer’s 

                                         interest if the developer is not the owner.

__________             4.     The size of the site including its legal description (metes and bounds), and a current

                                         certified survey showing existing contours ( to be determined at the preapplication

                                         conference ).

__________             5.     A site plan, drawn to scale, showing building locations and Finish Floor Elevations,                                                                                            

                                         drives, parking areas, utility line locations, proposed contours ( to be determined at                 

                                         the pre-application conference ) and dimensioned setbacks.

__________             6.     The intensity of land use(s) indicated by acreage or square footage and percentages

                                         thereof for the following:

a) building coverage;

b) drives, walkways, and parking areas ( all non-building impervious surfaces ) and

                                         c)     open space.  

__________             7.     The use and height of all buildings and other structures.

__________             8.     The form of ownership of the proposed development.

__________             9.     The provisions for open space, landscaping and buffering requirements.

__________            10.     Preliminary storm water management and sediment control plans. Detailed plans will

                                          be required at the time of building permit application, if the site plan review results in

                                          an approval.

__________            11.     If applicable, the provisions for compliance with all subdivision code requirements.

__________            12.     A traffic impact analysis that includes average daily and peak hour estimates, and 

                                          proposed public right-of-way improvements.

__________            13.     Drawings of proposed buildings, scale cross sectional drawings showing proposed

                                          buildings and those on adjacent parcels and distances between them, representative

                                          floor plans indicating uses thereof, and exterior materials and colors that are being

                                          contemplated.

__________            14.     In case of plans which call for development over a period of years, schedule showing

                                          the proposed timing of development phases and when building permit applications 

                                          will be filed.

__________            15.     Any additional information or drawings that the City or applicant believes is pertinent

                                          and will assist in clarifying the application, such as lighting plans, dumpster locations

                                          and preliminary sign program. ( Design, Construction and Materials Specifications

                                          Handbook compliance statement )

__________            16.     Engineer’s statement that storm water velocities leaving the project property ( after

                                          improvements ) do not exceed existing velocities during a twenty-five (25) year storm 

                                          event. This must be stamped and signed off by a licensed engineer.

__________            17.     Signage permit to be handled separate from this review.

__________            18.     Cross-section plans showing cuts and fills. ( intervals to be determined at                     

                                          preapplication conference )

__________            19.     Excavation quantities showing volumes of cuts and fills in cubic yard units.

                                          ( Grading, Excavating and Fills Permit )

__________            20.     Geotechnical engineering report and recommendations. ( to be determined at 

                                          preapplication conference )

__________            21.     ( RULE 5 ) erosion and sediment control plan and permit. ( to be determined at 

                                          pre-application conference )

__________            22.     I.N.D.O.T. Permit 

__________            23.     D.N.R. permit for construction in a floodway

__________            24.     Certified “As-built” Survey is required before occupancy certificate may be issued.  

___________             25.
All parking, hard surface and / or areas of concern shall have appropriately designed oil /                          

                                          water separator incorporated into the on site storm system.

  ___________________                                                              ______________________________________                 

                 Date                                                                                         Mike Clark, City Project Eng./Mgr.

******************************************************************************************

REVIEW 

NOTES & COMMENTS

