F.6 Chemistry Practical

Experiment 22

Title:     Determination of Dissolved Oxygen in a Water Sample (Winkler Method) 

Purpose:  To determine DO in a water sample

Theory : 

In an alkaline solution, dissolved oxygen will oxidize manganese(II) to the trivalent state.

          


The analysis is completed by titrating the iodine produced from potassium iodide by manganese(III)

hydroxide.        
          


Sodium thiosulphate is used as the titrant.

Success of the method is critically dependent upon the manner in which the sample is manipulated.

At all stages, every method must be made to assure that oxygen is neither introduced to nor lost from

the sample. Furthermore, the sample must be free of any solutes that will oxidize iodide or reduce iodine.

Chemicals: Manganese(II) sulphate solution - prepared by dissolving 48g of 

 in 

                                water to give 100 ml solution; 

         Alkaline potassium iodide solution - prepared by dissolving 15g of KI in about 25 ml of 

                                water, adding 66 ml of 50% NaOH, and diluting to 100 ml ;

         Concentrated sulphuric(VI) acid; 0.0125M sodium thiosulphate solution;

         Starch solution (freshly prepared)

Apparatus: 250 ml volumetric flask, 250 ml conical flask; titration apparatus; measuring cylinders;

          magnetic stirrer

Procedure:

1.  Use a 250 ml volumetric flask to collect a water sample. Fill the flask completely with water 

without trapping any air bubbles.

2.  Add 1 ml of manganese(II) sulphate solution to the sample using a pipette. Discharge the solution well below the surface (some overflow will occur).

3.  Similarly introduce 1 ml of alkaline potassium iodide solution. Be sure that no air becomes entrapped. Invert the bottle to distribute the precipitate uniformly. [Hazard Warning: Care should be taken to avoid exposure to any overflow, as the solution is quite alkaline.]

4.  When the precipitate has settled at least 3 cm below the stopper, introduce 1 ml of concentrated sulphuric acid well below the surface. A magnetic stirrer is helpful here.

Expt22…..p.1

5.  Allow the mixture to stand for 5 minutes and then withdraw 100 ml of the acidified sample into a 250 ml conical flask.

6.  Titrate with 0.0125M sodium thiosulphate until the iodine colour becomes faint. Then add 1 ml of starch solution, and continue adding the thiosulphate solution until the blue colour disappears.

7.  Record the volume of thiosulphate solution used and calculate the dissolved oxygen content in the sample in mg dm-3 .

Remarks:

1.  If the water sample has a low DO value, it is recommended to withdraw 200 ml of the acidified 

   sample into a 500 ml flask for titration described in step (5).

2.  This experiment can be further developed into a project to study the extent of water pollution.

(a)  The water sample under investigation is divided into two portions. One portion of the sample is immediately analyzed for dissolved oxygen using Winkler method. The other portion is stored in the dark for 5 days.

(b)  Repeat the analysis with the water sample that has two measurements is the 5-days biochemical oxygen demand (BOD ), measured in mg.dm-3 .

Expt22…..p.2(end)

_922647322.unknown

_922647817.unknown

_922646799.unknown

