[image: image1.wmf]2

1


Department of Information & Communications Technology

Project Work 1:
Laboratory Sheet

Student name: _______________________  Course/Year: __________  Date: __________

Oscilloscope – Additional Measurement Techniques
Objectives

· Measure rms values of sinusoidal voltages
· Measure superimposed ac and dc voltages

· Display two waveforms simultaneously on a dual channel oscilloscope

· Measure phase displacement with a dual channel oscilloscope
· Measure ac current using a sensing resistor (Optional)
· Measure voltage using differential measurement techniques
Equipment
· Digital multi-meter (DMM)

· Dual channel oscilloscope
· Function generator

· Bread board
Components
Resistors: 
82(, 11(, 150(, 1k(, 2k(, 3.3k(, 5.6k(, 6.8k(, 10k( (1/4W, 5%)

Capacitor: 
0.01(F 25V

Reference
User’s Manuals of the oscilloscope and the function generator
Part A - Background

Measuring the rms voltage of a sine wave

An oscilloscope may be used to determine the rms value of a sinusoidal voltage since, for a sine wave, Vrms = 
[image: image16.wmf]C

h

1

O

u

t

p

u

t

G

r

o

u

n

d

F

u

n

c

t

i

o

n

G

e

n

e

r

a

t

o

r

G

r

o

u

n

d

c

l

i

p

P

r

o

b

e

O

s

c

i

l

l

o

s

c

o

p

e

C

h

2

a

b

a

b

V

R

 

 

=

2

k

W

1

1

k

W

Vm and Vm can be measured directly from the CRO screen.  One of the reasons you might do this is for convenience – if you have a waveform already displayed on the screen, it is not necessary to have a voltmeter for taking measurements. Furthermore, there is a good reason for using a CRO to take measurements.  Most meters have a very limited frequency range, they can measure to only a few kHz.  On the other hand, even inexpensive oscilloscopes can measure to the tens of MHz, while top of the line units can measure to hundreds of MHz, or even to the GHz range with digital units.

Measuring Current (Optional)

Oscilloscopes can also be used to measure current, although not directly.  There are however, two indirect ways in which you can measure current.

1. Insert a known resistor (a sensing resistor) into the circuit, measure the voltage across it using an oscilloscope, then use Ohm’s law to compute the current.

2. Use a current probe, which is an accessory that has to be bought separately.

Here, we only concentrate on the current sensing resistor.  For a purely resistive circuit, v = Ri.  Thus, if voltage is sinusoidal, current will be sinusoidal also and vice versa – that is, v and i are in phase.  Therefore, if voltage v is


v = Vm sin (t
then 


i = Im sin (t
Current can thus be determined by measuring Vm and computing Im from Im = Vm/R.  If the rms value of current is needed, it may be determined from the equation Irms = 
[image: image2.wmf]2

1

Im.

For example, consider Figure 1(a).  The load current IL is given by 
[image: image3.wmf]L

L

R

E

I

=

 where E and IL are the rms values of the source voltage and load current respectively.  To measure this current using an oscilloscope, add a sensing resistor RS as in Figure 1(b), measure the voltage across it, convert to rms, then compute current as 
[image: image4.wmf]S

S

L

R

V

I

=

'

.  As long as RS << RL, the accuracy will be good.

[image: image9.wmf]C

h

1

O

u

t

p

u

t

G

r

o

u

n

d

F

u

n

c

t

i

o

n

G

e

n

e

r

a

t

o

r

V

D

MM

G

r

o

u

n

d

c

l

i

p

P

r

o

b

e

O

s

c

i

l

l

o

s

c

o

p

e

6

V

 

p

e

a

k

 

v

a

l

u

e


(a) Circuit



(b)  Measuring current with sensing resistor

Figure 1  Measuring current with an oscilloscope

Dual channel measurements

With a dual channel oscilloscope, you can display two waveforms simultaneously.  This permits you to determine phase relationships between signals, compare wave shapes, and so on.

Differential voltage measurements

Lets consider an earthed circuit, if we need to measure the voltage across a component, we have to place the probe tip at one end and the ground clip at the other end of the component under normal measurement.  However, the ground clip may short out part of the circuit because we connect two points to the ground reference in a circuit.  Differential measurement technique can be used to solve this problem.

Part B –Procedures

RMS values and the frequency response of ac meter and the oscilloscope

1. [image: image10.wmf]C

h

1

O

u

t

p

u

t

G

r

o

u

n

d

F

u

n

c

t

i

o

n

G

e

n

e

r

a

t

o

r

G

r

o

u

n

d

c

l

i

p

P

r

o

b

e

O

s

c

i

l

l

o

s

c

o

p

e

C

h

2

a

b

a

b

V

R

 

 

=

2

k

W

1

1

k

W

Connect the circuit as shown in Figure 2.  Adjust the function generator to 100Hz sine wave with 12Vpeak-to-peak.  Measure and record the rms voltage using the DMM.

Figure 2  Comparison of RMS values and frequency response of DMM and oscilloscope.

2. Following the frequency settings below and record the magnitude of the waveform on screen and the DMM’s readings.

	Frequency (Hz)
	Scope reading (V)
	Actual rms value (Vrms)
	DMM reading (Vrms)

	100
	6
	4.24
	

	1k
	
	
	

	10k
	
	
	

	100k
	
	
	

	1M
	
	
	


Superimposed ac and dc voltage

3. Set the dc offset of function generator to +1.5V.  (If your function generator do not have dc offset, just connect a variable dc power supply or a 1.5V battery in series with the function generator.)  Select ac coupling (to temporarily block the dc component while letting the ac component passes) and adjust the output of the generator to 4Vpeak-to-peak (i.e. Vm = 2V).  Return the coupling to dc.

4. You have superimposed ac and dc voltages.  Record the waveform on the screen.  You should also mark the ground position in Figure 3.

[image: image11.png]'o;'
“ ’VETSINGYI

Hong Kong Institute of Vocational Education

EHREEHEFEPBEEITNXDRK






Volts/Div = 


Time base = 

  Figure 3
5. Compute the rms value for this waveform from 
[image: image5.wmf]2

2

ac

dc

V

V

V

+

=

 where Vdc is the dc component of the waveform and Vac is the rms value of its ac component.

	
	100 Hz
	100 kHz

	Vdc
	
	

	Vac
	
	

	V
	
	


6. Set the DMM to ac voltage measurement and record the reading.  Set the DMM to dc voltage measurement and record the reading.  Are the readings of the DMM in the two mode indicate a correct and steady reading.  Note your observation.

__________________________________________________________________________________________________________________________

_____________________________________________________________

Dual channel measurements

7. Connect the circuit as in Figure 4.  Set the channel select switch to Alt and trigger mode to Auto.

8. Establish the 0V baseline for CH1 by moving its ac-ground-dc switch to ground and adjust its vertical position control until the trace is centered.  Repeat for Ch2.

9. Return both CH1 and CH2 to the ac position and set the triggering to Ch1, positive slope.  Set time base to 20(s/Div.

[image: image12.png]Siomal \ 3.3 k()
ign
generator




Figure 4  Dual channel measurements

10. Set the function generator to a 2.5kHz sine wave with 6Vpeak-to-peak.  Select appropriate settings for vertical scale of CH1 and Ch2.

11. Using the time base variable control if necessary, spread one half cycle of the reference waveform (CH1) over the entire screen.  Measure the displacement between waveforms at their zero-crossover points and convert this displacement to degrees.

[image: image13.png]




Volts/Div = 


Time base = 


Phase displacement = 

   Figure 5 

__________________________________________________________________________________________________________________________

_____________________________________________________________

12. The theoretical displacement is 
[image: image6.wmf]°

-

=

-

90

1

tan

1

RC

w

q

.  Compute ( and compare to the result in step 11.  (( = 2(f)

__________________________________________________________________________________________________________________________

_____________________________________________________________

__________________________________________________________________________________________________________________________

13. Measure the magnitudes of each waveform and write the time varying equation for the two voltages.

	V1m
	

	V2m
	

	v1(t)
	

	v2(t)
	


14. Set the frequency of the function generator to 10kHz and repeat step 11 and 12.

[image: image14.wmf]C

h

1

O

u

t

p

u

t

G

r

o

u

n

d

F

u

n

c

t

i

o

n

G

e

n

e

r

a

t

o

r

V

D

MM

G

r

o

u

n

d

c

l

i

p

P

r

o

b

e

O

s

c

i

l

l

o

s

c

o

p

e

6

V

 

p

e

a

k

 

v

a

l

u

e



Volts/Div = 


Time base = 


Phase displacement =

   Figure 6 

__________________________________________________________________________________________________________________________

_____________________________________________________________

__________________________________________________________________________________________________________________________

_____________________________________________________________

__________________________________________________________________________________________________________________________

_____________________________________________________________

Current measurement with an oscilloscope (15 to 18 Optional)

15. Connect the circuit as in Figure 1(b).  You should note the placement of the sensing resistor.  With the resistor placed as shown, you can connect both ground clips of the oscilloscope directly to the ground of the function generator without fear of ground problems.  Set the output of the function generator to 100Hz sine wave with 6Vpeak-to-peak.

16. Measure the voltage across the sensing resistor using CH2, then convert to rms.

[image: image15.png]




Volts/Div = 


Time base = 


VS = _______________(rms)

   Figure 7 

17. Using Ohm’s law, determine the rms value of the measured load current and compare this current to that measured by the DMM ammeter.

	IL’ (DMM reading)
	

	
[image: image7.wmf]S

S

L

R

V

I

=

'


	


__________________________________________________________________________________________________________________________

_____________________________________________________________

18. The load current that you are trying to measure is 
[image: image8.wmf]L

L

R

E

I

=

 as shown in Figure 1(a).  Using the measured values of RL, compute IL and compare it with the result in step 17.

__________________________________________________________________________________________________________________________

_____________________________________________________________

__________________________________________________________________________________________________________________________

_____________________________________________________________

Differential measurements

19. Connect the circuit of Figure 8.  Set the function generator to 1kHz sine wave with 6Vpeak-to-peak.  

Figure 8  Differential measurement

20. Set Volts/Div to the same value for both channels and ensure that they are in the Cal. position.  Center the traces. 

21. Set the coupling to ac for both channels.

22. Select the differential mode for your oscilloscope.  If your oscilloscope does not have differential mode, use the Add mode and invert CH2.

23. Record the waveform of the difference of Ch1 & Ch2.  What is the ratio of Vab to the function generator’s output voltage.  Does it agree with the theoretical value?



Volts/Div = 


Time base = 

   Figure 9 

__________________________________________________________________________________________________________________________

_____________________________________________________________

Part C – Discussion

1. What conclusion do you draw from the data of step 2 of Part B?

_____________________________________________________________

_____________________________________________________________


_____________________________________________________________

_____________________________________________________________


_____________________________________________________________


_____________________________________________________________

_____________________________________________________________

2. Discuss the results of step 4 to 6 of Part B.  Does the DMM yield the rms value of the waveform?

_____________________________________________________________

_____________________________________________________________


_____________________________________________________________


_____________________________________________________________

_____________________________________________________________


_____________________________________________________________


_____________________________________________________________

3. Give one example that you will use an oscilloscope to take the measurement.

_____________________________________________________________

_____________________________________________________________

_____________________________________________________________


_____________________________________________________________


_____________________________________________________________


_____________________________________________________________

_____________________________________________________________


_____________________________________________________________


_____________________________________________________________

- END -










� EMBED Imagineer.Document  ���














� EMBED Imagineer.Document  ���











ICT Dept.
Project Work 1
Lab. 6 - 1

_997875324.unknown

_997879770.unknown

_997860445.unknown

_997873957.unknown

_997875102.unknown

_997770739.unknown

_997858381.unknown

