[image: image4.png]3t

Mo

Ma - Volmeter

Supply
0





Vocational Training Council

Institute of Vocational Education (Tsing Yi )

Information & Communications Technology

Laboratory Sheet ( DC 2)

Student name: ____________
Course / Year: ________
Subject:________
Date: ________

Measurement Errors: Voltage and Resistance
Objectives: 

· To investigate sources of error in measurements

Apparatus: 

· Digital Multimeter  (DMM) X 2

· dc power supply

.

PartA: Voltage Measurement Error
PROCEDURE: 
1.
Set the DMM to its DC voltage range and use it to set the PSU to 10V as shown in Figure
1.

       [image: image2.png]Power cedemne
Supply .
Unit s

(PSU)

Voltmeter





Figure A1


[image: image1.jpg]


2.
Connect the two lMohm resistors and the DMM as shown in Figure A2.

Figure A2

3.
If the resistors were to act as a simple voltage divider, what would expect the meter to read?







Expected voltage =__________________

4.
Measure the voltage across R2 .







Measured voltage = __________________

5.
Calculate the difference from expected voltage







Difference from expected =______________

6.
Calculate the possible DMM reading error according to the DMM specification. (See appendix A)







DMM error = ______________________

Expected voltage
Measured voltage
Difference from expected
DMM error






7.
Compare this with the possible DMM error according to the DMM specification and comment on any difference found.

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

8.
Use the DMM to measure the value of the resistor and see if this explains your deduction.

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

9.
Use a second DMM to check the PSU voltage without disconnecting your circuit as shown in Figure A2 . Comment the results on any difference found.

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

10.
Connect the second DMM in parallel with the first DMM. Note if there are any changes in voltage readings and try to explain the phenomenon.

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

11. By using the above measured data, can you estimate the input resistance of the DMM ? If yes, devise how.

[image: image3.png]Fig 1

Fig 2





PART  B:  Resistor Measurement Errors ( Discussion)

Any ammeter will have a measurable, but small internal resistance causing a voltage drop across it. If we wish to measure both the current through, and voltage across, a resistor it can be seen from the figures below that:


Fig. 1:
The voltmeter represents an additional load causing the ammeter to read the sum of the meter current and the current through the resistor.

Fig. 2:
The voltmeter reads the voltage across both the resistor and the ammeter.

Questions:

If a multi-range electronic voltmeter presents a constant resistance over its operating range and a multi-range ammeter present a constant resistance over its operating range, estimate whether the configuration shown in Fig. 1 or Fig. 2 is best suited to the following situations:

1.
RL is a small valued resistor with a high current flowing through it. 

2.
RL is a large valued resistor with a low current flowing through it.



SUMMARY

In not less than 100 words, write down what you have learnt from this experiment.




















































































































































